## FERC Approved Standards O&P
Standard Number | Requirement Number | Text of Requirement | Time Horizon | Status | Violation Risk Factors | FROM NERC COMPLIANCE: 2018 CMEP Implementation Plan | FROM NERC COMPLIANCE: High, Medium, or Low Number of Violations in Last XX Years | FROM NERC: High, Medium, or Low Number of Compliance exceptions in Last XX Years | FROM NERC: Generally not included in IRAs | Requirement acts as a control to support compliance with another Requirement | Requirement regulates a high volume of Low Risk activity | Compliance evidence for the Requirement is NOT needed greater than 90 days to achieve reliability | Requirement exists to prove that an event or incident did not happen or to prove a negative | Data retention obligation for the Requirement can be significantly reduced | Requirement is a candidate for coverage in NERC Certification Program (e.g. the Requirement pertains to basic functionality of registered entity) | Other Proposed Criteria from industry (Enforcement History) | Candidate for Retirement (Yes/No) | Candidate for Modification or Consolidation (Yes/No) | Justification for Retirement (or Modification) | BA | DP | DP-UFLS | FRSG | GO | GOP | IA | LSE | NERC | PA | PC | PSE | RC | RE | RP | RRO | RRSG | RSG | TO | TOP | TP | TSP
COM-001-3 | R1. | Each Reliability Coordinator shall have Interpersonal Communication capability with the following entities (unless the Reliability Coordinator detects a failure of its Interpersonal Communication capability in which case Requirement R10 shall apply): 1.1. All Transmission Operators and Balancing Authorities within its Reliability Coordinator Area. 1.2. Each adjacent Reliability Coordinator within the same Interconnection. | Real-time Operations | Active | HIGH |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. |  |  |  |  | Yes |  | Yes |  | This requirement is a basic functional obligation of an RC and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one RC requirement that lists the items a RC must have. This would reduce the administrative burden of managing multiple requirements. | [12 empty] | RC
COM-001-3 | R2. | Each Reliability Coordinator shall designate an Alternative Interpersonal Communication capability with the following entities: 2.1. All Transmission Operators and Balancing Authorities within its Reliability Coordinator Area. 2.2. Each adjacent Reliability Coordinator within the same Interconnection. | Real-time Operations | Active | HIGH |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. |  |  |  |  | Yes |  | Yes |  | This requirement is a basic functional obligation of an RC and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one RC requirement that lists the items a RC must have. This would reduce the administrative burden of managing multiple requirements. | [12 empty] | RC
COM-001-3 | R3. | Each Transmission Operator shall have Interpersonal Communication capability with the following entities (unless the Transmission Operator detects a failure of its Interpersonal Communication capability in which case Requirement R10 shall apply): 3.1. Its Reliability Coordinator. 3.2. Each Balancing Authority within its Transmission Operator Area. 3.3. Each Distribution Provider within its Transmission Operator Area. 3.4. Each Generator Operator within its Transmission Operator Area. 3.5. Each adjacent Transmission Operator synchronously connected. 3.6. Each adjacent Transmission Operator asynchronously connected. | Real-time Operations | Active | HIGH |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. | Yes |  |  |  | Yes | 2015 - 2017: No penalties assessed. | Yes |  | This requirement is a basic functional obligation of a TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one TOP requirement that lists the items a TOP must have. This would reduce the administrative burden of managing multiple requirements. | [19 empty] | TOP
COM-001-3 | R4. | Each Transmission Operator shall designate an Alternative Interpersonal Communication capability with the following entities: 4.1. Its Reliability Coordinator. 4.2. Each Balancing Authority within its Transmission Operator Area. 4.3. Each adjacent Transmission Operator synchronously connected. 4.4. Each adjacent Transmission Operator asynchronously connected. | Real-time Operations | Active | HIGH |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. | Yes |  |  |  | Yes | 2015 - 2017: No penalties assessed. | Yes |  | This requirement is a basic functional obligation of a TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one TOP requirement that lists the items a TOP must have. This would reduce the administrative burden of managing multiple requirements. | [19 empty] | TOP
COM-001-3 | R5. | Each Balancing Authority shall have Interpersonal Communication capability with the following entities (unless the Balancing Authority detects a failure of its Interpersonal Communication capability in which case Requirement R10 shall apply): 5.1. Its Reliability Coordinator. 5.2. Each Transmission Operator that operates Facilities within its Balancing Authority Area. 5.3. Each Distribution Provider within its Balancing Authority Area. 5.4. Each Generator Operator that operates Facilities within its Balancing Authority Area. 5.5. Each Adjacent Balancing Authority. | Real-time Operations | Active | HIGH |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. |  |  |  |  | Yes |  | Yes | Yes | This requirement is a basic functional obligation of a BA and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one BA requirement that lists the items a BA must have. This would reduce the administrative burden of managing multiple requirements. | BA
COM-001-3 | R6. | Each Balancing Authority shall designate an Alternative Interpersonal Communication capability with the following entities: 6.1. Its Reliability Coordinator. 6.2. Each Transmission Operator that operates Facilities within its Balancing Authority Area. 6.3. Each Adjacent Balancing Authority. | Real-time Operations | Active | HIGH |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. |  |  |  |  | Yes |  | Yes | Yes | This requirement is a basic functional obligation of a BA and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one BA requirement that lists the items a BA must have. This would reduce the administrative burden of managing multiple requirements. | BA
COM-001-3 | R7. | Each Distribution Provider shall have Interpersonal Communication capability with the following entities (unless the Distribution Provider detects a failure of its Interpersonal Communication capability in which case Requirement R11 shall apply): 7.1. Its Balancing Authority. 7.2. Its Transmission Operator. | Real-time Operations | Active | MEDIUM |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. | Yes |  |  |  | Yes | 2015 - 2017: No penalties assessed. | Yes |  | This requirement is a basic functional obligation of a DP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one requirement that lists the items a DP must have. This would reduce the administrative burden of managing multiple requirements. |  | DP
COM-001-3 | R8. | Each Generator Operator shall have Interpersonal Communication capability with the following entities (unless the Generator Operator detects a failure of its Interpersonal Communication capability in which case Requirement R11 shall apply): 8.1. Its Balancing Authority. 8.2. Its Transmission Operator. | Real-time Operations | Active | HIGH |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. | Yes |  |  |  | Yes | 2015 - 2017: No penalties assessed. | Yes |  | This requirement is a basic functional obligation of a GOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one requirement that lists the items a GOP must have. This would reduce the administrative burden of managing multiple requirements. | [5 empty] | GOP
COM-001-3 | R9. | Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall test its Alternative Interpersonal Communication capability at least once each calendar month. If the test is unsuccessful, the responsible entity shall initiate action to repair or designate a replacement Alternative Interpersonal Communication capability within 2 hours. | Same Day Operations and Real-time Operations | Active | MEDIUM |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. | Yes |  |  |  | Yes | 2015 - 2017: No penalties assessed. | Yes |  | This requirement is a basic functional obligation of an RC, BA and TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one requirement that lists items they must have. This would reduce the administrative burden of managing multiple requirements. | BA | [11 empty] | RC | [6 empty] | TOP
COM-001-3 | R10. | Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall notify entities as identified in Requirements R1, R3, and R5, respectively within 60 minutes of the detection of a failure of its Interpersonal Communication capability that lasts 30 minutes or longer. | Real-time Operations | Active | MEDIUM |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. | Yes |  |  |  | Yes | 2015 - 2017: No penalties assessed. | Yes | Yes | This requirement is a basic functional obligation of an RC, BA and TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one requirement that lists items they must have. This would reduce the administrative burden of managing multiple requirements. | BA | [11 empty] | RC | [6 empty] | TOP
COM-001-3 | R11. | Each Distribution Provider and Generator Operator that detects a failure of its Interpersonal Communication capability shall consult each entity affected by the failure, as identified in Requirement R7 for a Distribution Provider or Requirement R8 for a Generator Operator, to determine a mutually agreeable action for the restoration of its Interpersonal Communication capability. | Real-time Operations | Active | MEDIUM |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. | Yes |  |  |  | Yes | 2015 - 2017: No penalties assessed. | Yes | Yes | This requirement is a basic functional obligation of an RC, BA and TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one requirement that lists items they must have. This would reduce the administrative burden of managing multiple requirements.
COM-001-3 | R12. | Each Reliability Coordinator, Transmission Operator, Generator Operator, and Balancing Authority shall have internal Interpersonal Communication capabilities for the exchange of information necessary for the Reliable Operation of the BES. This includes communication capabilities between Control Centers within the same functional entity, and/or between a Control Center and field personnel. | Real-time Operations | Active | HIGH |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. | Yes |  |  |  | Yes | 2015 - 2017: No penalties assessed. | Yes |  | This requirement is a basic functional obligation of an RC, BA and TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one requirement that lists items they must have. This would reduce the administrative burden of managing multiple requirements; or • merge R12 and R13 into one Requirement.
COM-001-3 | R13. | Each Distribution Provider shall have internal Interpersonal Communication capabilities for the exchange of information necessary for the Reliable Operation of the BES. This includes communication capabilities between control centers within the same functional entity, and/or between a control center and field personnel. | Real-time Operations | Active | MEDIUM |  |  |  |  | It is implied in other requirements that the entity have sufficient Interpersonal Communication capability, otherwise how would you communicate Real-time information? Therefore, this requirement could be considered a control to facilitate that communication. | Yes |  |  |  |  | 2015 - 2017: No penalties assessed. | Yes | Yes | This requirement is a basic functional obligation of an RC, BA and TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one requirement that lists items they must have. This would reduce the administrative burden of managing multiple requirements; or • merge R12 and R13 into one Requirement.
COM-002-4 | R1. | Each Balancing Authority, Reliability Coordinator, and Transmission Operator shall develop documented communications protocols for its operating personnel that issue and receive Operating Instructions. The protocols shall, at a minimum: [Please see the standard for more information] | Long Term Planning | Active | LOWER |  |  |  |  | Yes, this requirement could be considered a control to facilitate the communication of Operating Instructions in COM-002 R5, R6 and R7. | Yes | No | No | No | Yes | 2015 - 2017: No penalties assessed. | Yes | No | This is a basic functional obligation of a BA, RC and TOP and could be retired and verified in a periodic review/spot check within the NERC Certification Program and/or verified within the internal control evaluation for COM-002 R5, R6 and R7. Additionally, it could be moved to the Guidance & Technical Basis (G&TB) or implementation guidance for R5, R6 and R7. | BA | [11 empty] | RC | [6 empty] | TOP
COM-002-4 | R2. | Each Balancing Authority, Reliability Coordinator, and Transmission Operator shall conduct initial training for each of its operating personnel responsible for the Real-time operation of the interconnected Bulk Electric System on the documented communications protocols developed in Requirement R1 prior to that individual operator issuing an Operating Instruction. | Long Term Planning | Active | LOWER | [6 empty] | No | No | No |  | 2015 - 2017: No penalties assessed. | Yes | Yes | This should be a basic Real-time reliability-related task of a BA, RC and TOP and could be verified in a compliance review/spot check of PER-005 requirements.
COM-002-4 | R3. | Each Distribution Provider and Generator Operator shall conduct initial training for each of its operating personnel who can receive an oral two-party, person-to-person Operating Instruction prior to that individual operator receiving an oral two-party, person-to-person Operating Instruction to either: • Repeat, not necessarily verbatim, the Operating Instruction and receive confirmation from the issuer that the response was correct, or • Request that the issuer reissue the Operating Instruction. | Long Term Planning | Active | LOWER |  |  |  |  | Yes, this requirement could be considered a control to facilitate the communication of Operating Instructions in COM-002 R6. | Yes | No | No | No |  | 2016 - 2017: No penalties assessed. | Yes | Yes | If this needs to remain a requirement, it should be moved to PER-005 to consolidate training requirements.
COM-002-4 | R4. | Each Balancing Authority, Reliability Coordinator, and Transmission Operator shall at least once every twelve (12) calendar months: [Please see the standard for more information] | Operations Planning | Active | MEDIUM | Yes |  |  |  | Yes, this requirement could be considered a control to facilitate the communication of Operating Instructions in COM-002 R5, R6 and R7. |  | No | No | No | No | 2017 - 2017: No penalties assessed. | Yes | Yes | This could be retired and moved to PER-005 to consolidate training requirements.
COM-002-4 | R5. | Each Balancing Authority, Reliability Coordinator, and Transmission Operator that issues an oral two-party, person-to-person Operating Instruction during an Emergency, excluding written or oral single-party to multiple-party burst Operating Instructions, shall either: • Confirm the receiver’s response if the repeated information is correct (in accordance with Requirement R6). • Reissue the Operating Instruction if the repeated information is incorrect or if requested by the receiver, or • Take an alternative action if a response is not received or if the Operating Instruction was not understood by the receiver. | Real-time Operations | Active | HIGH | Yes |  |  |  | Yes, this requirement could be considered a control to facilitate the communication of Operating Instructions in IRO-001 and TOP-001. | [6 empty] | Yes | Yes | Consider retirement or consolidating into TOP-001 for the TOP/BA and IRO-001 for the RC where the Operating Instruction requirements reside. | BA | [11 empty] | RC | [6 empty] | TOP
COM-002-4 | R6. | Each Balancing Authority, Distribution Provider, Generator Operator, and Transmission Operator that receives an oral two-party, person-to-person Operating Instruction during an Emergency, excluding written or oral single-party to multiple-party burst Operating Instructions, shall either: • Repeat, not necessarily verbatim, the Operating Instruction and receive confirmation from the issuer that the response was correct, or • Request that the issuer reissue the Operating Instruction. | Real-time Operations | Active | HIGH |  |  |  |  | Yes, this requirement could be considered a control to facilitate the communication of Operating Instructions in IRO-001 and TOP-001. | [6 empty] | Yes | Yes | Consider retirement or consolidating into TOP-001 for the TOP/BA and IRO-001 for the RC where the Operating Instruction requirements reside. | BA | DP |  |  |  | GOP | [13 empty] | TOP
COM-002-4 | R7. | Each Balancing Authority, Reliability Coordinator, and Transmission Operator that issues a written or oral single-party to multiple-party burst Operating Instruction during an Emergency shall confirm or verify that the Operating Instruction was received by at least one receiver of the Operating Instruction. | Real-time Operations | Active | HIGH |  |  |  |  | Yes, this requirement could be considered a control to facilitate the communication of Operating Instructions in IRO-001 and TOP-001. | [6 empty] | Yes | Yes | Consider retirement or consolidating into TOP-001 for the TOP/BA and IRO-001 for the RC where the Operating Instruction requirements reside. | BA | [11 empty] | RC | [6 empty] | TOP
EOP-004-4 | R1. | Each Responsible Entity shall have an event reporting Operating Plan in accordance with EOP-004-4 Attachment 1 that includes the protocol(s) for reporting to the Electric Reliability Organization and other organizations (e.g., the Regional Entity, company personnel, the Responsible Entity’s Reliability Coordinator, law enforcement, or governmental authority). | Operations Planning | Future | LOWER |  |  |  |  | Yes, this requirement could be considered a control to facilitate the reporting of events in R2. |  |  | No |  | Yes | 2015 - 2017: No penalties assessed. | Yes | Yes | This is a basic functional obligation of a BA, RC and TOP and could be retired and verified in a periodic review/spot check within the NERC Certification Program and/or verified within the internal control evaluation for EOP-004 R2. The TO, GO, GOP and DP compliance could also be verified within the internal control evaluation for EOP-004 R2. Additionally, it could be moved to the Guidance & Technical Basis (G&TB) or implementation guidance for R2. | BA | DP |  |  | GO | GOP | [6 empty] | RC | [5 empty] | TO | TOP
EOP-004-4 | R2. | Each Responsible Entity shall report events specified in EOP-004-4 Attachment 1 to the entities specified per their Operating Plan by the later of 24 hours of recognition of meeting an event type threshold for reporting or by the end of the Responsible Entity’s next business day (4 p.m. local time will be considered the end of the business day). | Operations Assessment | Future | MEDIUM | [12 empty] | Yes | Consider consolidating the reporting requirements for physical security events in EOP-004, CIP-006 and CIP-008 into one location. | BA | DP |  |  | GO | GOP | [6 empty] | RC | [5 empty] | TO | TOP
EOP-005-2 | R3. | Each Transmission Operator shall review its restoration plan and submit it to its Reliability Coordinator annually on a mutually-agreed, predetermined schedule. | Operations Planning | Future | MEDIUM | [7 empty] | Yes |  |  | 2015 - 2017: No penalties assessed. |  | Yes | This requirement becomes an administrative burden because if nothing significant changes in the restoration plan, the TOP is still required to submit to RC annually. Modification needs to be made to the requirement to allow entity to avoid annual submittal to RC unless a significant change needs to be made to the restoration plan (as identified in R4). Additionally, this is a basic functional obligation of a TOP and should be verified by the RC.
EOP-005-2 | R5. | Each Transmission Operator shall have a copy of its latest Reliability Coordinator approved restoration plan within its primary and backup control rooms so that it is available to all of its System Operators prior to its effective date. | Operations Planning | Future | LOWER | [7 empty] | No |  | Yes | 2015 - 2017: No penalties assessed. | Yes |  | This requirement is a basic functional obligation of a TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one TOP requirement that lists the items a TOP must have. This would reduce the administrative burden of managing multiple requirements.
EOP-005-2 | R8. | Each Transmission Operator shall include within its operations training program, annual System restoration training for its System Operators. This training program shall include training on the following: 8.1. System restoration plan including coordination with the Reliability Coordinator and Generator Operators included in the restoration plan. 8.2. Restoration priorities. 8.3. Building of cranking paths. 8.4. Synchronizing (re-energized sections of the System). 8.5. Transition of Demand and resource balance within its area to the Balancing Authority. | Operations Planning | Future | MEDIUM | [7 empty] | No |  |  | 2015 - 2017: No penalties assessed. | Yes | Yes | This should be a basic Real-time reliability-related task of a TOP and could be retired and verified in a compliance review of PER-005 requirements. Additionally, it could be moved to the Guidance & Technical Basis (G&TB) or implementation guidance for PER-005.
EOP-005-2 | R9. | Each Transmission Operator, each applicable Transmission Owner, and each applicable Distribution Provider shall provide a minimum of two hours of System restoration training every two calendar years to their field switching personnel identified as performing unique tasks associated with the Transmission Operator’s restoration plan that are outside of their normal tasks. | Operations Planning | Future | MEDIUM | [7 empty] | No |  |  | 2015 - 2017: No penalties assessed. | Yes | Yes | Consider the reliability risk with this requirement. If needed, then consider adding to PER-005 to consolidate training requirements. |  | DP | [16 empty] | TO | TOP
EOP-005-2 | R10. | Each Transmission Operator shall participate in its Reliability Coordinator’s restoration drills, exercises, or simulations as requested by its Reliability Coordinator. | Operations Planning | Future | MEDIUM | [10 empty] | 2016 - 2017: No penalties assessed. | Yes | Yes | Consider the reliability risk with this requirement. If needed, then consider adding to PER-005 to consolidate training requirements or merging with R16. | [19 empty] | TOP
| R11. | Each Transmission Operator and each Generator Operator with a Blackstart Resource shall have written Blackstart Resource Agreements or mutually agreed upon procedures or protocols, specifying the terms and conditions of their arrangement. Such Agreements shall include references to the Blackstart Resource testing requirements. | Operations Planning | Future | MEDIUM |  |  |  |  | Yes, this could be considered a control to ensure the plan in R1 is feasible. |  |  | No |  | Yes | 2017 - 2017: No penalties assessed. | Yes |  | This requirement is a basic functional obligation of a TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; or • consolidated with others into one TOP requirement that lists the items a TOP must have. This would reduce the administrative burden of managing multiple requirements. | [5 empty] | GOP | [13 empty] | TOP
EOP-005-2 | R12. | Each Generator Operator with a Blackstart Resource shall have documented procedures for starting each Blackstart Resource and energizing a bus. | Operations Planning | Future | MEDIUM |  |  |  |  | Yes, this could be considered a control to ensure the generator operator can provide blackstart service to the TOP. |  |  | No |  |  | 2018 - 2017: No penalties assessed. | Yes |  | This could be covered with R14, which requires the GOP to test in accordance to the TOP's R7 requirements that must contain the items in R12. | [5 empty] | GOP
EOP-005-2 | R13. | Each Generator Operator with a Blackstart Resource shall notify its Transmission Operator of any known changes to the capabilities of that Blackstart Resource affecting the ability to meet the Transmission Operator’s restoration plan within 24 hours following such change. | Operations Planning | Future | MEDIUM | [10 empty] | 2019 - 2017: No penalties assessed. | Yes |  | This should be a basic need of a TOP and covered in the TOP-003 data specification requirements. | [5 empty] | GOP
EOP-005-2 | R15. | Each Generator Operator with a Blackstart Resource shall provide a minimum of two hours of training every two calendar years to each of its operating personnel responsible for the startup of its Blackstart Resource generation units and energizing a bus. The training program shall include training on the following: 15.1. System restoration plan including coordination with the Transmission Operator. 15.2. The procedures documented in Requirement R12. | Operations Planning | Future | MEDIUM | [7 empty] | No |  |  | 2020 - 2017: No penalties assessed. | Yes | Yes | Consider the reliability risk with this requirement. If needed, then consider adding to PER-005 to consolidate training requirements. | [5 empty] | GOP
EOP-005-2 | R16. | Each Generator Operator shall participate in the Reliability Coordinator’s restoration drills, exercises, or simulations as requested by the Reliability Coordinator. | Operations Planning | Future | MEDIUM | [10 empty] | 2021 - 2017: No penalties assessed. | Yes | Yes | Consider the reliability risk with this requirement. The GOP typically has very little participation in the restoration drills/exercises. If needed, then consider adding to PER-005 to consolidate training requirements or merging with R10. | [5 empty] | GOP
EOP-008-2 | R2. | Each Reliability Coordinator, Balancing Authority, and Transmission Operator shall have a copy of its current Operating Plan for backup functionality available at its primary control center and at the location providing backup functionality. | Operations Planning | Future | LOWER |  |  |  |  | Yes | No | Yes | No | No | Yes | 2022 - 2017: No penalties assessed. | Yes |  | This is a basic functional obligation of a RC. BA amd TOP and could be retired and verified in a periodic review/spot check within the NERC Certification Program and/or verified within the internal control evaluation for EOP-008 R4. Additionally, it could be moved to the Guidance & Technical Basis (G&TB) or implementation guidance for R4.
EOP-008-2 | R5. | Each Reliability Coordinator, Balancing Authority, and Transmission Operator, shall annually review and approve its Operating Plan for backup functionality. [See standard for update and approval requirements] | Operations Planning | Future | MEDIUM |  |  |  |  | Yes, this requirement could be considered a control to ensure the accuracy of the plan. |  |  | No |  | Yes | 2023 - 2017: No penalties assessed. | Yes |  | The annual review becomes an administrative exercise if nothing significant changes to require an update to a plan. Therefore, the ability of a TOP to keep its backup control center functionality current could be verified in a periodic review/spot check within the NERC Certification Program and/or verified within the internal control evaluation for EOP-008 R4. Another option is to merge with EOP-008 R1.
EOP-010-1 | R3. | Each Transmission Operator shall develop, maintain, and implement a GMD Operating Procedure or Operating Process to mitigate the effects of GMD events on the reliable operation of its respective system. At a minimum, the Operating Procedure or Operating Process shall include: [Please see the Standard for more information] | Long Term Planning, Operations Planning, Same Day Operations, and Real-time Operations | Active | MEDIUM | Yes | [6 empty] | No |  | Yes | 2024 - 2017: No penalties assessed. | Yes | Yes | This is a basic functional obligation of a TOP and could be retired and verified in a periodic review/spot check within the NERC Certification Program or consolidated with EOP-011 R1. Another recommend is consolidating/combining with EOP-011-1 R1 (as a sub requirement 1.2.x) | [19 empty] | TOP
EOP-011-1 | R5. | Each Reliability Coordinator that receives an Emergency notification from a Transmission Operator or Balancing Authority within its Reliability Coordinator Area shall notify, within 30 minutes from the time of receiving notification, other Balancing Authorities and Transmission Operators in its Reliability Coordinator Area, and neighboring Reliability Coordinators. | Real-time Operations | Active | HIGH | [10 empty] | 2025 - 2017: No penalties assessed. |  | Yes | 30 minutes is subjective, when an Emergency situation exists. The entity should be required to make notifications, however a violation for making a notification in 31 minutes is not taking into account the priorities of the Emergency situation. By including a time specific requirement, the real-time focus is moved from responding to an emergency condition to trying to ensure compliance is met. The focus should always be reliability, not meeting a compliance requirement. | [12 empty] | RC
FAC-001-2 | R1. | Each Transmission Owner shall document Facility interconnection requirements, update them as needed, and make them available upon request. Each Transmission Owner’s Facility interconnection requirements shall address interconnection requirements for: (please see standard for sub-req's) |  | Retired | LOWER | [10 empty] | 2026 - 2017: No penalties assessed. | Yes |  | Consider the reliability risk of this requirement, since it is a basic business obligation of a TO and could be retired and covered in tariff requirements and/or interconnect agreements. | [18 empty] | TO
FAC-001-2 | R2. | Each applicable Generator Owner shall document Facility interconnection requirements and make them available upon request within 45 calendar days of full execution of an Agreement to conduct a study on the reliability impact of interconnecting a third party Facility to the Generator Owner’s existing Facility that is used to interconnect to the Transmission system. |  | Retired | LOWER | [10 empty] | 2027 - 2017: No penalties assessed. | Yes |  | Consider the reliability risk of this requirement, since it is a basic business obligation of a TO and could be retired and covered in tariff requirements and/or interconnect agreements. |  |  |  |  | GO
FAC-001-2 | R3. | Each Transmission Owner shall address the following items in its Facility interconnection requirements: (please see standard for sub-req's) |  | Retired | LOWER | [10 empty] | 2028 - 2017: No penalties assessed. | Yes |  | Consider the reliability risk of this requirement, since it is a basic business obligation of a TO and could be retired and covered in tariff requirements and/or interconnect agreements. | [18 empty] | TO
FAC-001-2 | R4. | Each applicable Generator Owner shall address the following items in its Facility interconnection requirements: (please see standard for sub-req's) |  | Retired | LOWER | [10 empty] | 2029 - 2017: No penalties assessed. | Yes |  | Consider the reliability risk of this requirement, since it is a basic business obligation of a TO and could be retired and covered in tariff requirements and/or interconnect agreements. |  |  |  |  | GO
FAC-001-3 | R1. | Each Transmission Owner shall document Facility interconnection requirements, update them as needed, and make them available upon request. Each Transmission Owner’s Facility interconnection requirements shall address interconnection requirements for 1.1. generation Facilities; 1.2. transmission Facilities; and 1.3. end-user Facilities. | Long Term Planning | Future | LOWER | [7 empty] | No |  |  | 2030 - 2017: No penalties assessed. | Yes |  | Consider the reliability risk of this requirement, since it is a basic business obligation of a TO and could be retired and covered in tariff requirements and/or interconnect agreements. | [18 empty] | TO
FAC-001-3 | R2. | Each applicable Generator Owner shall document Facility interconnection requirements and make them available upon request within 45 calendar days of full execution of an Agreement to conduct a study on the reliability impact of interconnecting a third party Facility to the Generator Owner’s existing Facility that is used to interconnect to the Transmission system. | Long Term Planning | Future | LOWER | [7 empty] | No |  |  | 2031 - 2017: No penalties assessed. | Yes |  | Consider the reliability risk of this requirement, since it is a basic business obligation of a TO and could be retired and covered in tariff requirements and/or interconnect agreements. | [18 empty] | TO
FAC-001-3 | R3. | Each Transmission Owner shall address the following items in its Facility interconnection requirements: [Please see the Standard for more information] | Long Term Planning | Future | LOWER | [7 empty] | No |  |  | 2032 - 2017: No penalties assessed. | Yes |  | Consider the reliability risk of this requirement, since it is a basic business obligation of a TO and could be retired and covered in tariff requirements and/or interconnect agreements. | [18 empty] | TO
FAC-001-3 | R4. | Each applicable Generator Owner shall address the following items in its Facility interconnection requirements: [Please see the Standard for more information] | Long Term Planning | Future | LOWER | [7 empty] | No |  |  | 2033 - 2017: No penalties assessed. | Yes |  | Consider the reliability risk of this requirement, since it is a basic business obligation of a TO and could be retired and covered in tariff requirements and/or interconnect agreements.
FAC-002-2 | R1. | Each Transmission Planner and each Planning Coordinator shall study the reliability impact of: (i) interconnecting new generation, transmission, or electricity end-user Facilities and (ii) materially modifying existing interconnections of generation, transmission, or electricity end-user Facilities. The following shall be studied: [Please see the Standard for more information] | Long Term Planning | Active | MEDIUM | [7 empty] | No |  |  | 2034 - 2017: No penalties assessed. | Yes |  | This requirement could be retired and covered within the TPL-001, MOD-032 and MOD-033 Standards. | [9 empty] | PA | PC | [9 empty] | TP
FAC-002-2 | R2. | Each Generator Owner seeking to interconnect new generation Facilities, or to materially modify existing interconnections of generation Facilities, shall coordinate and cooperate on studies with its Transmission Planner or Planning Coordinator, including but not limited to the provision of data as described in R1, Parts 1.1-1.4. | Long Term Planning | Active | MEDIUM | [7 empty] | No |  |  | 2035 - 2017: No penalties assessed. | Yes |  | This requirement could be retired and covered within the TPL-001, MOD-032 and MOD-033 Standards. |  |  |  |  | GO
FAC-002-2 | R3. | Each Transmission Owner, each Distribution Provider, and each Load-Serving Entity seeking to interconnect new transmission Facilities or electricity end-user Facilities, or to materially modify existing interconnections of transmission Facilities or electricity end-user Facilities, shall coordinate and cooperate on studies with its Transmission Planner or Planning Coordinator, including but not limited to the provision of data as described in R1, Parts 1.1-1.4 | Long Term Planning | Active | MEDIUM | [7 empty] | No |  |  | 2036 - 2017: No penalties assessed. | Yes |  | This requirement could be retired and covered within the TPL-001, MOD-032 and MOD-033 Standards. |  | DP | [5 empty] | LSE | [10 empty] | TO
FAC-002-2 | R4. | Each Transmission Owner shall coordinate and cooperate with its Transmission Planner or Planning Coordinator on studies regarding requested new or materially modified interconnections to its Facilities, including but not limited to the provision of data as described in R1, Parts 1.1-1.4. | Long Term Planning | Active | MEDIUM | [7 empty] | No |  |  | 2037 - 2017: No penalties assessed. | Yes |  | This requirement could be retired and covered within the TPL-001, MOD-032 and MOD-033 Standards. | [18 empty] | TO
FAC-002-2 | R5. | Each applicable Generator Owner shall coordinate and cooperate with its Transmission Planner or Planning Coordinator on studies regarding requested interconnections to its Facilities, including but not limited to the provision of data as described in R1, Parts 1.1-1.4. | Long Term Planning | Active | MEDIUM | [7 empty] | No |  |  | 2038 - 2017: No penalties assessed. | Yes |  | This requirement could be retired and covered within the TPL-001, MOD-032 and MOD-033 Standards. |  |  |  |  | GO
FAC-003-4 | R3. | Each applicable Transmission Owner and applicable Generator Owner shall have documented maintenance strategies or procedures or processes or specifications it uses to prevent the encroachment of vegetation into the MVCD of its applicable lines that accounts for the following: [Please see the Standard for more information] | Long Term Planning | Active | LOWER |  |  |  |  | Yes, this requirement could be considered a control to meet the objectives in R1. |  |  | No |  |  | 2039 - 2017: No penalties assessed. | Yes |  | Since R1 is performance-based to prevent vegetation encroachments, the plan becomes an administrative exercise that doesn't benefit reliability. This could be retired and covered in the internal control evaluation for R1.
FAC-003-4 | R5. | When an applicable Transmission Owner and an applicable Generator Owner are constrained from performing vegetation work on an applicable line operating within its Rating and all Rated Electrical Operating Conditions, and the constraint may lead to a vegetation encroachment into the MVCD prior to the implementation of the next annual work plan, then the applicable Transmission Owner or applicable Generator Owner shall take corrective action to ensure continued vegetation management to prevent encroachments | Operations Planning | Active | MEDIUM |  |  |  |  | Yes, this requirement could be considered a control to meet the objectives in R1. |  |  | Yes |  |  | 2040 - 2017: No penalties assessed. | Yes |  | Since R1 is performance-based to prevent vegetation encroachments, the plan becomes an administrative exercise that doesn't benefit reliability. This could be retired and covered in the internal control evaluation for R1.
FAC-003-4 | R6. | Each applicable Transmission Owner and applicable Generator Owner shall perform a Vegetation Inspection of 100% of its applicable transmission lines (measured in units of choice - circuit, pole line, line miles or kilometers, etc.) at least once per calendar year and with no more than 18 calendar months between inspections on the same ROW | Operations Planning | Active | MEDIUM | Yes |  |  |  | Yes, this requirement could be considered a control to meet the objectives in R1. | [5 empty] | 2041 - 2017: No penalties assessed. | Yes |  | Since R1 is performance-based to prevent vegetation encroachments, the plan becomes an administrative exercise that doesn't benefit reliability. This could be retired and covered in the internal control evaluation for R1.
FAC-003-4 | R7. | Each applicable Transmission Owner and applicable Generator Owner shall complete 100% of its annual vegetation work plan of applicable lines to ensure no vegetation encroachments occur within the MVCD. Modifications to the work plan in response to changing conditions or to findings from vegetation inspections may be made (provided they do not allow encroachment of vegetation into the MVCD) and must be documented. The percent completed calculation is based on the number of units actually completed divided by the number of units in the final amended plan (measured in units of choice - circuit, pole line, line miles or kilometers, etc.). Examples of reasons for modification to annual plan may include [Please see the Standard for more information] | Operations Planning | Active | MEDIUM | Yes |  |  |  | Yes, this requirement could be considered a control to meet the objectives in R1. | [5 empty] | 2042 - 2017: No penalties assessed. | Yes |  | Since R1 is performance-based to prevent vegetation encroachments, the plan becomes an administrative exercise that doesn't benefit reliability. This could be retired and covered in the internal control evaluation for R1.
FAC-008-3 | R1. | Each Generator Owner shall have documentation for determining the Facility Ratings of its solely and jointly owned generator Facility(ies) up to the low side terminals of the main step up transformer if the Generator Owner does not own the main step up transformer and the high side terminals of the main step up transformer if the Generator Owner owns the main step up transformer. [See standard for documentation requirements] | Long Term Planning | Active | LOWER |  |  |  |  | Yes, this requirement could be considered a control to meet the objectives in R6. |  |  | No |  |  | 2043 - 2017: No penalties assessed. | Yes |  | Since R6 is performance-based to have Facility Ratings that are consistent with the documentation, this requirement could be retired and covered in the internal control evaluation for R6. |  |  |  |  | GO
FAC-008-3 | R2. | Each Generator Owner shall have a documented methodology for determining Facility Ratings (Facility Ratings methodology) of its solely and jointly owned equipment connected between the location specified in R1 and the point of interconnection with the Transmission Owner that contains all of the following. [See standard for methodology requirements] | Long Term Planning | Active | MEDIUM |  |  |  |  | Yes, this requirement could be considered a control to meet the objectives in R6. |  |  | No |  |  | 2015 - 2017: Two SNOPs resulting in $80,000. Not able to determine penalty for this requirement. | Yes |  | Since R6 is performance-based to have Facility Ratings that are consistent with a methodology, this requirement could be retired and covered in the internal control evaluation for R6. |  |  |  |  | GO
FAC-008-3 | R3. | Each Transmission Owner shall have a documented methodology for determining Facility Ratings (Facility Ratings methodology) of its solely and jointly owned Facilities (except for those generating unit Facilities addressed in R1 and R2) that contains all of the following: [See standard for methodology requirements] | Long Term Planning | Active | MEDIUM |  |  |  |  | Yes, this requirement could be considered a control to meet the objectives in R6. |  |  | No |  |  | 2042 - 2017: No penalties assessed. | Yes |  | Since R6 is performance-based to have Facility Ratings that are consistent with a methodology, this requirement could be retired and covered in the internal control evaluation for R6. | [18 empty] | TO
FAC-008-3 | R7. | Each Generator Owner shall provide Facility Ratings (for its solely and jointly owned Facilities that are existing Facilities, new Facilities, modifications to existing Facilities and re-ratings of existing Facilities) to its associated Reliability Coordinator(s), Planning Coordinator(s), Transmission Planner(s), Transmission Owner(s) and Transmission Operator(s) as scheduled by such requesting entities. | Operations Planning | Active | MEDIUM | [7 empty] | No |  |  | 2042 - 2017: No penalties assessed. | Yes | Yes | This requirement could be retired and covered within the MOD-032, MOD-033, IRO-010, TOP-003 and/or TPL-001 standards? |  |  |  |  | GO
FAC-008-3 | R8. | Each Transmission Owner (and each Generator Owner subject to Requirement R2) shall provide requested information as specified below (for its solely and jointly owned Facilities that are existing Facilities, new Facilities, modifications to existing Facilities and re-ratings of existing Facilities) to its associated Reliability Coordinator(s), Planning Coordinator(s), Transmission Planner(s), Transmission Owner(s) and Transmission Operator(s): [See standard for requirements of providing requested information] | Operations Planning | Active | MEDIUM | [7 empty] | No |  |  | 2042 - 2017: No penalties assessed. | Yes | Yes | This requirement could be retired and covered within the MOD-032, MOD-033, IRO-010, TOP-003 and/or TPL-001 standards? |  |  |  |  | GO | [13 empty] | TO
IRO-017-1 | R1. | Each Reliability Coordinator shall develop, implement, and maintain an outage coordination process for generation and Transmission outages within its Reliability Coordinator Area. The outage coordination process shall: [Please see the standard for more information] | Operations Planning | Active | MEDIUM | [7 empty] | No |  |  | New standard with no enforcement history available | Yes | Yes | This requirement could be retired and covered within the data specifications for the IRO-010 standard. | [12 empty] | RC
IRO-017-1 | R2. | Each Transmission Operator and Balancing Authority shall perform the functions specified in its Reliability Coordinator’s outage coordination process. | Operations Planning | Active | MEDIUM | [7 empty] | No |  |  | New standard with no enforcement history available | Yes | Yes | This requirement could be retired and covered within the data specifications for the IRO-010 standard. | BA | [18 empty] | TOP
IRO-017-1 | R3. | Each Planning Coordinator and Transmission Planner shall provide its Planning Assessment to impacted Reliability Coordinators. | Long Term Planning | Active | MEDIUM | [7 empty] | No |  |  | New standard with no enforcement history available | Yes | Yes | This requirement could be retired and covered within the data specifications for the TPL-001. | [9 empty] | PA | PC | [9 empty] | TP
IRO-017-1 | R4. | Each Planning Coordinator and Transmission Planner shall jointly develop solutions with its respective Reliability Coordinator(s) for identified issues or conflicts with planned outages in its Planning Assessment for the Near-Term Transmission Planning Horizon. | Long Term Planning | Active | MEDIUM | [7 empty] | No |  |  | New standard with no enforcement history available | Yes | Yes | This requirement could be retired and covered within the data specifications for the TPL-001. | [9 empty] | PA | PC | [9 empty] | TP
MOD-020-0 | R1. | The Load-Serving Entity, Transmission Planner, and Resource Planner shall each make known its amount of interruptible demands and Direct Control Load Management (DCLM) to Transmission Operators, Balancing Authorities, and Reliability Coordinators on request within 30 calendar days. |  | Active | LOWER | [10 empty] | New standard with no enforcement history available | Yes | Yes | This requirement could be retired and covered within MOD-031-2. | [7 empty] | LSE | [6 empty] | RP | [5 empty] | TP
PER-003-1 | R1. | Each Reliability Coordinator shall staff its Real-time operating positions performing Reliability Coordinator reliability-related tasks with System Operators who have demonstrated minimum competency in the areas listed by obtaining and maintaining a valid NERC Reliability Operator certificate: 1.1. Areas of Competency 1.1.1. Resource and demand balancing 1.1.2. Transmission operations 1.1.3. Emergency preparedness and operations 1.1.4. System operations 1.1.5. Protection and control 1.1.6. Voltage and reactive 1.1.7. Interchange scheduling and coordination 1.1.8. Interconnection reliability operations and coordination | Real-time Operations | Active | HIGH | [9 empty] | Yes | 2042 - 2017: No penalties assessed. | Yes |  | Operators are trained and verified on competencies with the PER-005 training standard. Additionally, this requirement is a basic functional obligation of a TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; • consolidated with others into one TOP requirement that lists the items a TOP must have; or . This would reduce the administrative burden of managing multiple requirements. | [12 empty] | RC
PER-003-1 | R2. | Each Transmission Operator shall staff its Real-time operating positions performing Transmission Operator reliability-related tasks with System Operators who have demonstrated minimum competency in the areas listed by obtaining and maintaining one of the following valid NERC certificates: 2.1. Areas of Competency 2.1.1. Transmission operations 2.1.2. Emergency preparedness and operations 2.1.3. System operations 2.1.4. Protection and control 2.1.5. Voltage and reactive 2.2. Certificates • Reliability Operator • Balancing, Interchange and Transmission Operator • Transmission Operator | Real-time Operations | Active | HIGH | [9 empty] | Yes | 2042 - 2017: No penalties assessed. | Yes |  | Operators are trained and verified on competencies with the PER-005 training standard. Additionally, this requirement is a basic functional obligation of a TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; • consolidated with others into one TOP requirement that lists the items a TOP must have; or . This would reduce the administrative burden of managing multiple requirements. | [19 empty] | TOP
PER-003-1 | R3. | Each Balancing Authority shall staff its Real-time operating positions performing Balancing Authority reliability-related tasks with System Operators who have demonstrated minimum competency in the areas listed by obtaining and maintaining one of the following valid NERC certificates: 3.1. Areas of Competency 3.1.1. Resources and demand balancing 3.1.2. Emergency preparedness and operations 3.1.3. System operations 3.1.4. Interchange scheduling and coordination 3.2. Certificates • Reliability Operator • Balancing, Interchange and Transmission Operator • Balancing and Interchange Operator | Real-time Operations | Active | HIGH | [9 empty] | Yes | 2042 - 2017: No penalties assessed. | Yes |  | Operators are trained and verified on competencies with the PER-005 training standard. Additionally, this requirement is a basic functional obligation of a TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; • consolidated with others into one TOP requirement that lists the items a TOP must have; or . This would reduce the administrative burden of managing multiple requirements. | BA
PRC-005-6 | R1. | Each Transmission Owner, Generator Owner, and Distribution Provider shall establish a Protection System Maintenance Program (PSMP) for its Protection Systems, Automatic Reclosing, and Sudden Pressure Relaying identified in Section 4.2, Facilities. The PSMP shall: 1.1. Identify which maintenance method (time-based, performance-based per PRC-005 Attachment A, or a combination) is used to address each Protection System, Automatic Reclosing, and Sudden Pressure Relaying Component Type. All batteries associated with the station dc supply Component Type of a Protection System shall be included in a time-based program as described in Table 1-4 and Table 3. 1.2. Include the applicable monitored Component attributes applied to each Protection System, Automatic Reclosing, and Sudden Pressure Relaying Component Type consistent with the maintenance intervals specified in Tables 1-1 through 1-5, Table 2, Table 3, Table 4-1 through 4-3, and Table 5 where monitoring is used to extend the maintenance intervals beyond those specified for unmonitored Protection System, Automatic Reclosing, and Sudden Pressure Relaying Components. | Operations Planning | Active | MEDIUM |  |  |  |  | Yes, this requirement could be considered a control to meet the objectives of R3 and R4. |  |  | No |  |  | 2043 - 2017: No penalties assessed. | Yes |  | Since R3 and R4 are performance-based to implement a maintenance program, this requirement could be retired and covered in the internal control evaluation for R3 and R4. |  | DP |  |  | GO | [13 empty] | TO
PRC-005-6 | R2. | Each Transmission Owner, Generator Owner, and Distribution Provider that uses performance-based maintenance intervals in its PSMP shall follow the procedure established in PRC-005 Attachment A to establish and maintain its performance-based intervals. | Operations Planning | Active | MEDIUM |  |  |  |  | Yes, this requirement could be considered a control to meet the objectives of R4. |  |  | No |  |  | 2044 - 2017: No penalties assessed. | Yes |  | Since R4 is performance-based to implement a performance based maintenance program, this requirement could be retired, consolidated and covered in the internal control evaluation for R4. |  | DP |  |  | GO | [13 empty] | TO
PRC-008-0 | R1. | The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall have a UFLS equipment maintenance and testing program in place. This UFLS equipment maintenance and testing program shall include UFLS equipment identification, the schedule for UFLS equipment testing, and the schedule for UFLS equipment maintenance. |  | Active | MEDIUM | [11 empty] | Yes |  | This is already included in PRC-005-6 |  | DP | [16 empty] | TO
PRC-008-0 | R2. | The Transmission Owner and Distribution Provider with a UFLS program (as required by its Regional Reliability Organization) shall implement its UFLS equipment maintenance and testing program and shall provide UFLS maintenance and testing program results to its Regional Reliability Organization and NERC on request (within 30 calendar days). |  | Active | MEDIUM | [11 empty] | Yes |  | This is already included in PRC-005-6 |  | DP | [16 empty] | TO
PRC-018-1 | R1. | Each Transmission Owner and Generator Owner required to install DMEs by its Regional Reliability Organization (reliability standard PRC-002 Requirements 1-3) shall have DMEs installed that meet the following requirements: [Please see the standard for more information] |  | Active | LOWER | [11 empty] | Yes |  | Consider if the reliability risk addressed by PRC-018 is covered by PRC-002-2 |  |  |  |  | GO | [13 empty] | TO
PRC-018-1 | R2. | The Transmission Owner and Generator Owner shall each install DMEs in accordance with its Regional Reliability Organization’s installation requirements (reliability standard PRC-002 Requirements 1 through 3). |  | Active | LOWER | [11 empty] | Yes |  | Consider if the reliability risk addressed by PRC-018 is covered by PRC-002-3 |  |  |  |  | GO | [13 empty] | TO
PRC-018-1 | R3. | The Transmission Owner and Generator Owner shall each maintain, and report to its Regional Reliability Organization on request, the following data on the DMEs installed to meet that region’s installation requirements (reliability standard PRC-002 Requirements1.1, 2.1 and 3.1): [Please see the standard for more information] |  | Active | LOWER | [11 empty] | Yes |  | Consider if the reliability risk addressed by PRC-018 is covered by PRC-002-4 |  |  |  |  | GO | [13 empty] | TO
PRC-018-1 | R4. | The Transmission Owner and Generator Owner shall each provide Disturbance data (recorded by DMEs) in accordance with its Regional Reliability Organization’s requirements (reliability standard PRC-002 Requirement 4). |  | Active | LOWER | [11 empty] | Yes |  | Consider if the reliability risk addressed by PRC-018 is covered by PRC-002-5 |  |  |  |  | GO | [13 empty] | TO
PRC-018-1 | R5. | The Transmission Owner and Generator Owner shall each archive all data recorded by DMEs for Regional Reliability Organization-identified events for at least three years. |  | Active | LOWER | [11 empty] | Yes |  | Consider if the reliability risk addressed by PRC-018 is covered by PRC-002-6 |  |  |  |  | GO | [13 empty] | TO
PRC-018-1 | R6. | Each Transmission Owner and Generator Owner that is required by its Regional Reliability Organization to have DMEs shall have a maintenance and testing program for those DMEs that includes: [Please see the standard for more information] |  | Active | LOWER | [11 empty] | Yes |  | Consider if the reliability risk addressed by PRC-018 is covered by PRC-002-7 |  |  |  |  | GO | [13 empty] | TO
PRC-023-4 | R4. | Each Transmission Owner, Generator Owner, and Distribution Provider that chooses to use Requirement R1 criterion 2 as the basis for verifying transmission line relay loadability shall provide its Planning Coordinator, Transmission Operator, and Reliability Coordinator with an updated list of circuits associated with those transmission line relays at least once each calendar year, with no more than 15 months between reports. | Long Term Planning | Active | LOWER | [7 empty] | No |  |  | 2044 - 2017: No penalties assessed. | Yes | Yes | This requirement could be retired and covered within the data specifications for the MOD-032, IRO-010 and TOP-003 standards. |  | DP |  |  | GO | [13 empty] | TO
PRC-023-4 | R5. | Each Transmission Owner, Generator Owner, and Distribution Provider that sets transmission line relays according to Requirement R1 criterion 12 shall provide an updated list of the circuits associated with those relays to its Regional Entity at least once each calendar year, with no more than 15 months between reports, to allow the ERO to compile a list of all circuits that have protective relay settings that limit circuit capability. | Long Term Planning | Active | LOWER | [7 empty] | No |  |  | 2044 - 2017: No penalties assessed. | Yes |  | This requirement could be retired and covered by a Section 1600 data request. |  | DP |  |  | GO | [13 empty] | TO
TOP-001-4 | R9. | Each Balancing Authority and Transmission Operator shall notify its Reliability Coordinator and known impacted interconnected entities of all planned outages, and unplanned outages of 30 minutes or more, for telemetering and control equipment, monitoring and assessment capabilities, and associated communication channels between the affected entities. | Operations Planning, Same Day Operations, and Real-time Operations | Future | MEDIUM | [10 empty] | New standard with no enforcement history available | Yes | Yes | This requirement could be either retired and covered within the data specifications for the IRO-010 standard or consolidated with data communication requirements in the TOP-010 standard. | BA | [18 empty] | TOP
TOP-001-4 | R11. | Each Balancing Authority shall monitor its Balancing Authority Area, including the status of Remedial Action Schemes that impact generation or Load, in order to maintain generation-Load-interchange balance within its Balancing Authority Area and support Interconnection frequency. | Real-time Operations | Future | HIGH | Yes | [9 empty] | New standard with no enforcement history available | Yes |  | This requirement could be retired and covered within the data specifications for the IRO-010 standard. | BA
TOP-001-4 | R15. | Each Transmission Operator shall inform its Reliability Coordinator of actions taken to return the System to within limits when a SOL has been exceeded. | Real-time Operations | Future | MEDIUM |  |  |  |  | Yes |  |  | No |  | No | New standard with no enforcement history available | Yes | Yes | This requirement is vague and may lead to an RC being overwhelmed with answering calls with information that isn't necessary for it to perform its duties. This should be at the discretion of the RC and could be covered in the Operating Plan or by the data specifications for the IRO-010 standard. | [19 empty] | TOP
TOP-001-4 | R16. | Each Transmission Operator shall provide its System Operators with the authority to approve planned outages and maintenance of its telemetering and control equipment, monitoring and assessment capabilities, and associated communication channels between affected entities. | Operations Planning, Same Day Operations, and Real-time Operations | Future | HIGH | [9 empty] | Yes | New standard with no enforcement history available | Yes |  | This requirement is a basic functional obligation of a TOP and could either be: • retired and verified in a periodic review/spot check within the NERC Certification Program; • consolidated with others into one TOP requirement that lists the items a TOP must have; or . This would reduce the administrative burden of managing multiple requirements. | [19 empty] | TOP
TOP-001-4 | R19. | Each Transmission Operator shall have data exchange capabilities with the entities it has identified it needs data from in order to perform its Operational Planning Analyses. | Operations Planning | Future | MEDIUM |  |  |  |  | Yes |  |  | No |  | Yes | New standard with no enforcement history available | Yes | No | This is a basic functional obligation of a TOP and could be retired and verified in a periodic review/spot check within the NERC Certification Program. Additionally, since TOP-002 R1 is performance-based to have an Operational Planning Analysis, this requirement is implied and could be retired to be covered in the internal control evaluation for TOP-002 R1. It's also potentially redundant with TOP-001 R20. | [19 empty] | TOP
TOP-003-3 | R1. | Each Transmission Operator shall maintain a documented specification for the data necessary for it to perform its Operational Planning Analyses, Real-time monitoring, and Real-time Assessments. The data specification shall include, but not be limited to: [Please see the standard for more information] | Operations Planning | Active | LOWER |  |  |  |  | Yes |  |  | No |  | Yes | New standard with no enforcement history available | Yes | No | This is a basic functional obligation of a TOP and could be retired and verified in a periodic review/spot check within the NERC Certification Program. Additionally, since TOP-003 R3 is performance-based to distribute its data specification, this requirement is implied and could be retired to be consolidated in the internal control evaluation for TOP-003 R3. | [19 empty] | TOP
VAR-001-4.2 | R3. | Each Transmission Operator shall operate or direct the Real-time operation of devices to regulate transmission voltage and reactive flow as necessary. | Operations Planning, Same Day Operations, and Real-time Operations | Active | HIGH | [11 empty] | Yes |  | This is a basic responsibility of a TOP to operate the system within SOLs based on Operating Plans. Therefore, this requirement could be retired and covered within TOP-001-4 R1. | [19 empty] | TOP
VAR-002-4.1 | R3. | Each Generator Operator shall notify its associated Transmission Operator of a status change on the AVR, power system stabilizer, or alternative voltage controlling device within 30 minutes of the change. If the status has been restored within 30 minutes of such change, then the Generator Operator is not required to notify the Transmission Operator of the status change. | Real-time Operations | Active | MEDIUM | [11 empty] | Yes |  | The 30 minute timing requirement is arbitrary and should be specified by the TOP within its data specifications for TOP-003. | [5 empty] | GOP
VAR-002-4.1 | R4. | Each Generator Operator shall notify its associated Transmission Operator within 30 minutes of becoming aware of a change in reactive capability due to factors other than a status change described in Requirement R3. If the capability has been restored within 30 minutes of the Generator Operator becoming aware of such change, then the Generator Operator is not required to notify the Transmission Operator of the change in reactive capability. • Reporting of status or capability changes as stated in Requirement R4 is not applicable to the individual generating units of dispersed power producing resources identified through Inclusion I4 of the Bulk Electric System definition. | Real-time Operations | Active | MEDIUM | [11 empty] | Yes |  | The 30 minute timing requirement is arbitrary and should be specified by the TOP within its data specifications for TOP-003. | [5 empty] | GOP

## FERC Approved Standards CIP
Standard Number | Requirement Number | Text of Requirement | Violation Risk Factors | Time Horizon | Status | FROM NERC COMPLIANCE: 2018 CMEP Implementation Plan | FROM NERC COMPLIANCE: High, Medium, or Low Number of Violations in Last XX Years | FROM NERC: High, Medium, or Low Number of Compliance exceptions in Last XX Years | FROM NERC: Generally not included in IRAs | Requirement acts as a control to support compliance with another Requirement | Requirement regulates a high volume of Low Risk activity | Compliance evidence for the Requirement is NOT needed greater than 90 days to achieve reliability | Requirement exists to prove that an event or incident did not happen or to prove a negative | Data retention obligation for the Requirement can be significantly reduced | Requirement is a candidate for coverage in NERC Certification Program (e.g. the Requirement pertains to basic functionality of registered entity) | Other Proposed Criteria from industry | Candidate for Retirement (Yes/No) | Candidate for Modification or Consolidation (Yes/No) | Justification for Retirement (or Modification) | BA | DP | DP-UFLS | FRSG | GO | GOP | IA | LSE | NERC | PA | PC | PSE | RC | RE | RP | RRO | RRSG | RSG | TO | TOP | TP | TSP | Text of Requirement
CIP-002-5.1a | R2. | R2. The Responsible Entity shall: 2.1 Review the identifications in Requirement R1 and its parts (and update them if there are changes identified) at least once every 15 calendar months, even if it has no identified items in Requirement R1, and 2.2 Have its CIP Senior Manager or delegate approve the identifications required by Requirement R1 at least once every 15 calendar months, even if it has no identified items in Requirement R1. | LOWER | Operations Planning | Active | Yes |  |  |  | Yes, this requirement could be considered a control to facilitate the accurate identification of BES Cyber Systems in R1. | Yes | [5 empty] | Yes |  | The annual review and CIP Senior Manager requirements seem to be basic administrative items that provide minimal benefit to security. These items could be better addressed in the ICE for R1 and the IRA for an entity's governance structure and culture of compliance. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-003-6 | R1. | Each Responsible Entity shall review and obtain CIP Senior Manager approval at least once every 15 calendar months for one or more documented cyber security policies that collectively address the following topics: 1.1 For its high impact and medium impact BES Cyber Systems, if any: 1.1.1. Personnel and training (CIP-004); 1.1.2. Electronic Security Perimeters (CIP-005) including Interactive Remote Access; 1.1.3. Physical security of BES Cyber Systems (CIP-006); 1.1.4. System security management (CIP-007); 1.1.5. Incident reporting and response planning (CIP-008); 1.1.6. Recovery plans for BES Cyber Systems (CIP-009); 1.1.7. Configuration change management and vulnerability assessments (CIP-010); 1.1.8. Information protection (CIP-011); and 1.1.9. Declaring and responding to CIP Exceptional Circumstances. 1.2 For its assets identified in CIP-002 containing low impact BES Cyber Systems, if any: 1.2.1. Cyber security awareness; 1.2.2. Physical security controls; 1.2.3. Electronic access controls for Low Impact External Routable Connectivity (LERC) and Dial-up Connectivity; and 1.2.4. Cyber Security Incident response | MEDIUM |  | Retired |  |  |  |  | Yes, this Senior Manager requirement could be considered a control to facilitate organizational support for the cyber security policies. | Yes | [5 empty] | Yes |  | The CIP Senior Manager requirement seems to be basic administrative item that provides minimal benefit to security. This item could be better addressed in the ICE for R1 and/or the IRA for an entity's governance structure and culture of compliance. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-003-6 | R3. | Each Responsible Entity shall identify a CIP Senior Manager by name and document any change within 30 calendar days of the change. | MEDIUM |  | Retired | [5 empty] | Yes | [5 empty] | Yes |  | The CIP Senior Manager requirement seems to be basic administrative item that provides minimal benefit to security. This item could be better addressed in the IRA for an entity's governance structure and culture of compliance. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-003-6 | R4. | The Responsible Entity shall implement a documented process to delegate authority, unless no delegations are used. Where allowed by the CIP Standards, the CIP Senior Manager may delegate authority for specific actions to a delegate or delegates. These delegations shall be documented, including the name or title of the delegate, the specific actions delegated, and the date of the delegation; approved by the CIP Senior Manager; and updated within 30 days of any change to the delegation. Delegation changes do not need to be reinstated with a change to the delegator. | LOWER |  | Retired | [5 empty] | Yes | [5 empty] | Yes |  | The CIP Senior Manager requirement seems to be basic administrative item that provides minimal benefit to security. This item could be better addressed in the IRA for an entity's governance structure and culture of compliance. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-003-7 | R1. | Each Responsible Entity shall review and obtain CIP Senior Manager approval at least once every 15 calendar months for one or more documented cyber security policies that collectively address the following topics: 1.1 For its high impact and medium impact BES Cyber Systems, if any: 1.1.1. Personnel and training (CIP-004); 1.1.2. Electronic Security Perimeters (CIP-005) including Interactive Remote Access; 1.1.3. Physical security of BES Cyber Systems (CIP-006); 1.1.4. System security management (CIP-007); 1.1.5. Incident reporting and response planning (CIP-008); 1.1.6. Recovery plans for BES Cyber Systems (CIP-009); 1.1.7. Configuration change management and vulnerability assessments (CIP-010); 1.1.8. Information protection (CIP-011); and 1.1.9. Declaring and responding to CIP Exceptional Circumstances. 1.2 For its assets identified in CIP-002 containing low impact BES Cyber Systems, if any: 1.2.1. Cyber security awareness; 1.2.2. Physical security controls; 1.2.3. Electronic access controls for Low Impact External Routable Connectivity (LERC) and Dial-up Connectivity; and 1.2.4. Cyber Security Incident response 1.2.5. Transient Cyber Assets and Removable Media malicious code risk mitigation; and 1.2.6. Declaring and responding to CIP Exceptional Circumstances. | MEDIUM | Operations Planning | Future |  |  |  |  | Yes, this Senior Manager requirement could be considered a control to facilitate organizational support for the cyber security policies. | Yes | [5 empty] | Yes |  | The CIP Senior Manager requirement seems to be basic administrative item that provides minimal benefit to security. This item could be better addressed in the ICE for R1 and/or the IRA for an entity's governance structure and culture of compliance. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-003-7 | R3. | Each Responsible Entity shall identify a CIP Senior Manager by name and document any change within 30 calendar days of the change. | MEDIUM | Operations Planning | Future | [5 empty] | Yes | [5 empty] | Yes |  | The CIP Senior Manager requirement seems to be basic administrative item that provides minimal benefit to security. This item could be better addressed in the IRA for an entity's governance structure and culture of compliance. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-003-7 | R4. | The Responsible Entity shall implement a documented process to delegate authority, unless no delegations are used. Where allowed by the CIP Standards, the CIP Senior Manager may delegate authority for specific actions to a delegate or delegates. These delegations shall be documented, including the name or title of the delegate, the specific actions delegated, and the date of the delegation; approved by the CIP Senior Manager; and updated within 30 days of any change to the delegation. Delegation changes do not need to be reinstated with a change to the delegator. | LOWER | Operations Planning | Future | [5 empty] | Yes | [5 empty] | Yes |  | The CIP Senior Manager requirement seems to be basic administrative item that provides minimal benefit to security. This item could be better addressed in the IRA for an entity's governance structure and culture of compliance. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-004-6 | R1. | Each Responsible Entity shall implement one or more documented processes that collectively include each of the applicable requirement parts in CIP-004-6 Table R1 – Security Awareness Program. (please see standard for sub-req's) | LOWER | Operations Planning | Active |  |  |  |  | Yes, this requirement could be considered a control to ensure individuals are attentive to cyber security risks and follow required security activities. | Yes |  |  |  | Yes |  | Yes |  | Quarterly Security Awareness tends to be a repetitive administative activity with minimal benefit to security. The training requirements in R2 provide a better mechanism for reminding employees of their responsiblities to secure BES Cyber Systems. This item could also be evaluated in the IRA for an entity's culture of security. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-004-6 | R2. | Each Responsible Entity shall implement one or more cyber security training program(s) appropriate to individual roles, functions, or responsibilities that collectively includes each of the applicable requirement parts in CIP-004-6 Table R2 – Cyber Security Training Program. (please see standard for sub-req's) | LOWER | Operations Planning | Active | Yes |  |  |  | Yes, this requirement could be considered a control to ensure individuals are competent to perform required security activities. | Yes | [6 empty] | Yes | R2.3 requires annual training identified in R2.1 regardless of an individual's ability to demonstrate competency or frequency of performing the task. This can become a repetitive administrative task that provides minimal benefit to security. For example, why give someone annual training on the access controls to a PSP, when they use them everyday. Consider a qualification/re-qualification approach similar to PER-005 for security related tasks. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-004-6 | R5. | Each Responsible Entity shall implement one or more documented access revocation program(s) that collectively include each of the applicable requirement parts in CIP-004-6 Table R5 – Access Revocation. (please see standard for sub-req's) | MEDIUM | Operations Planning and Same Day Operations | Active |  |  |  |  | Yes, this requirement could be considered a control to ensure the accuracy of access privileges required in R4. | Yes | [5 empty] | Yes |  | The requirement in Part 5.2 to revoke access by the end of the next calendar day for personnel who are reassigned or transferred, but still in good standing with the entity, provides very little security benefit and becomes an administrative task to "beat the clock". Consider retiring this requirement and allow the reviews in R4 to "clean up" the access privileges for personnel who are minimal security risk. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-006-6 | R1. | Each Responsible Entity shall implement one or more documented physical security plan(s) that collectively include all of the applicable requirement parts in CIP-006-6 Table R1 – Physical Security Plan. (please see standard for sub-req's) | MEDIUM | Long Term Planning and Same Day Operations | Active | Yes |  |  |  |  | Yes | [6 empty] | Yes | Consider consolidating the reporting requirements for physical security events in EOP-004, CIP-006 R1.5/R1.7 and CIP-008 into one location. The requirement in Part 1.9 creates an administrative item for the entity to prove they kept logs for 90 days thoughout the audit period. It could be retired and covered in the data retention requirements for Part 1.8. Another option is to change the requirement to configure log servers to retain logs for ninety days. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-006-6 | R2. | Each Responsible Entity shall implement one or more documented visitor control program(s) that include each of the applicable requirement parts in CIP-006-6 Table R2 – Visitor Control Program. (please see standard for sub-req's) | MEDIUM | Same Day Operations | Active | Yes |  |  |  |  | Yes | [5 empty] | Yes |  | The requirement in Part 2.3 creates an administrative item for the entity to prove they kept logs for 90 days thoughout the audit period. It could be retired and covered in the data retention requirements for Part 2.2. Another option is to change the requirement to configure log servers to retain logs for ninety days. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-007-6 | R2. | Each Responsible Entity shall implement one or more documented process(es) that collectively include each of the applicable requirement parts in CIP-007-6 Table R2 – Security Patch Management. (please see standard for sub-req's) | MEDIUM | Operations Planning | Active | Yes |  |  |  | Yes, Part 2.4 could be considered a control to ensure implementation of mitigation plans and management approval of extensions. | [7 empty] | Yes | Consider consolidating Part 2.4 with Part 2.3 to require implementation of a documented mitigation plan, but remove the requirement to be approved by a Senior Manager or delegate. This activity is more applicable to the ICE for Part 2.3. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-007-6 | R4. | Each Responsible Entity shall implement one or more documented process(es) that collectively include each of the applicable requirement parts in CIP-007-6 Table R4 – Security Event Monitoring. (please see standard for sub-req's) | MEDIUM | Same Day Operations and Operations Assessment | Active | [11 empty] | Yes |  | The requirement in Part 4.3 creates an administrative item for the entity to prove they kept logs for 90 days thoughout the audit period. It could be retired and covered in the data retention requirements for Part 4.1. Another option is to change the requirement to configure log servers to retain logs for ninety days. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-008-5 | R1. | Each Responsible Entity shall document one or more Cyber Security Incident response plan(s) that collectively include each of the applicable requirement parts in CIP-008-5 Table R1 – Cyber Security Incident Response Plan Specifications. | LOWER | Long Term Planning | Active | [12 empty] | Yes | Consider consolidating the reporting requirements for physical security events in EOP-004, CIP-006 R1.5/R1.7 and CIP-008 Part 1.2. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-008-5 | R2. | Each Responsible Entity shall implement each of its documented Cyber Security Incident response plans to collectively include each of the applicable requirement parts in CIP-008-5 Table R2 – Cyber Security Incident Response Plan Implementation and Testing. | LOWER | Operations Planning and Real-Time Operations | Active | Yes | [10 empty] | Yes |  | The requirement in Part 2.3 should be retired and covered in the data retention requirements for Part 2.2. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-010-2 | R1. | Each Responsible Entity shall implement one or more documented process(es) that collectively include each of the applicable requirement parts in CIP-010-2 Table R1 – Configuration Change Management. (please see standard for sub-req's) | MEDIUM |  | Retired |  |  |  |  | Yes, this could be considered a control to ensure the accuacy of the documented baseline in Part 1.2. | [6 empty] | Yes |  | The 30 day requirement in Part 1.3 seems to be an arbitrary timeframe that may indicate this is an administative task. Consider retiring and covering in the ICE for Part 1.2. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-010-2 | R2. | Each Responsible Entity shall implement one or more documented process(es) that collectively include each of the applicable requirement parts in CIP-010-2 Table R2 – Configuration Monitoring. (please see standard for sub-req's) | MEDIUM |  | Retired |  |  |  |  | Yes, this could be considered a control to ensure compliance with the entity's configuration change management process required in R1. | [6 empty] | Yes |  | This activity should already be happening in the configuration change management process. Consider retiring and covering in the ICE for R1 Part 1.2. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP
CIP-010-2 | R3. | Each Responsible Entity shall implement one or more documented process(es) that collectively include each of the applicable requirement parts in CIP-010-2 Table R3– Vulnerability Assessments. (please see standard for sub-req's) | MEDIUM |  | Retired |  |  |  |  | Yes, this could be considered a control to ensure compliance with the entity's CIP security controls. | [7 empty] | Yes | The CVA requirement for Part 3.1 is too subjective that can lead to an administrative exercise for the entity that provides little security benefit. Consider modifying to provide performance requirements that describe what assessment activities need to be covered in the CVA. | BA | DP |  |  | GO | GOP | IA | [5 empty] | RC | [5 empty] | TO | TOP