## Instructions
ERO2024 NERC ProbA Data Form |  |  | ERO2024 NERC LTRA Data Form
Year |  |  | Year
2024 |  |  | 2024
Version |  |  | Version
1 |  |  | 1
From LTRA color coding
Manual Data Entry Required | Notes: |  | Manual Data Entry Required
Manual Data Entry Optional | Month designation (Summer/Winter) align with LTRA |  | Manual Data Entry Optional
Data Provided (Changes Allowed) | Summer | June - September | Data Provided (Changes Allowed)
No Data Entry | Winter | December - February | No Data Entry
Description, Row or Column Title |  |  | Description
Data Provided (Do Not Modify) |  |  | Data Provided (Do Not Modify)
Data From LTRA(separate category?)

## Form A
NET ENERGY FOR LOAD (NEL)- MONTHLY | Year(s) | Unit | JAN (W) |  | FEB (W) |  | MAR |  | APR |  | MAY |  | JUN (S) |  | JUL (S) |  | AUG (S) |  | SEP (S) |  | OCT |  | NOV |  | DEC (W) |  | Data Submitter Comments | NERC Response
Net Energy for Load - Prior Year Actual | 2023 | GWh
Net Energy For Load - Reporting Year Forecast | 2024 | GWh
Net Energy For Load - Year 1 Forecast | 2025 | GWh
NET ENERGY FOR LOAD(NEL) - ANNUAL | Year(s) | Unit | 2023 |  | 2024 |  | 2025 |  | 2026 |  | 2027 |  | 2028 |  | 2029 |  | 2030 |  | 2031 |  | 2032 |  | 2033 |  | 2034 |  | Data Submitter Comments | NERC Response
Net Energy for Load - Year 2-10 Forecast | 2026-2034 | GWh
PEAK HOUR DEMAND - MONTHLY | Year(s) | Unit | JAN (W) |  | FEB (W) |  | MAR |  | APR |  | MAY |  | JUN (S) |  | JUL (S) |  | AUG (S) |  | SEP (S) |  | OCT |  | NOV |  | DEC (W) |  | Data Submitter Comments | NERC Response
Peak Hour Demand - Prior Year Actual | 2023 | MW
Peak Hour Demand - Reporting Year Actual | 2024 | MW
Peak Hour Demand - Reporting Year Forecast | 2024 | MW
Peak Hour Demand Year 1 Forecast | 2025 | MW
Peak Hour Demand - Year 2 Forecast | 2026 | MW
DEMAND - SEASONAL | Year(s) | Unit | 2023 (S) | 2024 (S) | 2025 (S) | 2026 (S) | 2027 (S) | 2028 (S) | 2029 (S) | 2030 (S) | 2031 (S) | 2032 (S) | 2033 (S) | 2034 (S) | 2023-24 (W) | 2024-25 (W) | 2025-26 (W) | 2026-27 (W) | 2027-28 (W) | 2028-29 (W) | 2029-30 (W) | 2030-31 (W) | 2031-32 (W) | 2032-33 (W) | 2033-34 (W) | 2034-35 (W) | Data Submitter Comments | NERC Response
Peak Hour Demand - Year 2-10 Forecast | 2026-2034 | MW
DEMAND-SIDE MANAGEMENT | Year(s) | Unit | 2023 (S) | 2024 (S) | 2025 (S) | 2026 (S) | 2027 (S) | 2028 (S) | 2029 (S) | 2030 (S) | 2031 (S) | 2032 (S) | 2033 (S) | 2034 (S) | 2023-24 (W) | 2024-25 (W) | 2025-26 (W) | 2026-27 (W) | 2027-28 (W) | 2028-29 (W) | 2029-30 (W) | 2030-31 (W) | 2031-32 (W) | 2032-33 (W) | 2033-34 (W) | 2034-35 (W) | Data Submitter Comments | NERC Response
Energy Efficiency and Conservation | 2024-2034 | MW
Controllable and Dispatchable Demand Response - Total | 2024-2034 | MW
Controllable and Dispatchable Demand Response - Available | 2024-2034 | MW
OTHER DEMAND FACTORS | Year(s) | Unit | 2023 (S) | 2024 (S) | 2025 (S) | 2026 (S) | 2027 (S) | 2028 (S) | 2029 (S) | 2030 (S) | 2031 (S) | 2032 (S) | 2033 (S) | 2034 (S) | 2023-24 (W) | 2024-25 (W) | 2025-26 (W) | 2026-27 (W) | 2027-28 (W) | 2028-29 (W) | 2029-30 (W) | 2030-31 (W) | 2031-32 (W) | 2032-33 (W) | 2033-34 (W) | 2034-35 (W) | Data Submitter Comments | NERC Response
Total Installed BTM Solar PV embedded in load forecast | 2024-2034 | MW | [12 empty] | 0
BTM Solar PV On-Peak Contribution embedded in load forebast | 2024-2034 | MW
Estimated Diversity | 2024-2034 | MW
Standby Load Under Contract | 2024-2034 | MW
REFERENCE MARGIN LEVEL | Year(s) | Unit | 2023 (S) | 2024 (S) | 2025 (S) | 2026 (S) | 2027 (S) | 2028 (S) | 2029 (S) | 2030 (S) | 2031 (S) | 2032 (S) | 2033 (S) | 2034 (S) | 2023-24 (W) | 2024-25 (W) | 2025-26 (W) | 2026-27 (W) | 2027-28 (W) | 2028-29 (W) | 2029-30 (W) | 2030-31 (W) | 2031-32 (W) | 2032-33 (W) | 2033-34 (W) | 2034-35 (W) | Data Submitter Comments | NERC Response
Reference Margin Level | 2023-2034 | Decimal
This Data can be copied from the LTRA, the years will be calculated from the Instructions Tab year entry unless pasted as values

## Form C
CAPACITY TRANSFERS - IMPORTS | Year(s) | Unit | 2026 (S) | 2028 (S) | 2025-26 (W) | 2027-28 (W) | Data Submitter Comments | NERC Response
Firm Imports | 2024-2034 | MW
Firm Imports - Full-Responsibility Purchases | 2024-2034 | MW
Firm Imports - Owned Capacity/Entitlement Located Outside the Area | 2024-2034 | MW
Firm Imports - Modeled and coordinated between areas | 2024-2034 | MW
Expected Imports | 2024-2034 | MW
CAPACITY TRANSFERS - EXPORTS | Year(s) | Unit | 2026 (S) | 2028 (S) | 2025-26 (W) | 2027-28 (W) | Data Submitter Comments | NERC Response
Firm Exports | 2024-2034 | MW
Firm Exports - Full-Responsibility Sales | 2024-2034 | MW
Firm Exports - Owned Capacity/Entitlement Located Inside the Area | 2024-2034 | MW
Firm Exports - Modeled and coordinated between areas | 2024-2034 | MW
Expected Exports | 2024-2034 | MW
AVAILABLE ON-PEAK RESERVES | Year(s) | Unit | 2026 (S) | 2028 (S) | 2025-26 (W) | 2027-28 (W) | Data Submitter Comments | NERC Response
Available Reserves During Peak - Prior Year Actual | 2023 | MW
CAPACITY ADJUSTMENTS | Year(s) | Unit | 2026 (S) | 2028 (S) | 2025-26 (W) | 2027-28 (W) | Data Submitter Comments | NERC Response
Scheduled Outages | 2024-2034 | MW
Transmission Limitations | 2024-2034 | MW
Behind the Meter Generation(not in load forecast) - Additional Capacity contribution | 2024-2034 | MW
Other Capacity Adjustemnts - Additions | 2024-2034 | MW
Other Capacity Adjustments - Reductions | 2024-2034 | MW
CAPACITY BY GENERATION TYPE | Status | Unit | 2026 (S) | 2028 (S) | 2025-26 (W) | 2027-28 (W) | Data Submitter Comments | NERC Response
Coal | Existing | MW
| Tier 1 | MW
| Total | MW
Petroleum | Existing | MW
| Tier 1 | MW
| Total | MW
Natural Gas and Other Gases | Existing | MW
| Tier 1 | MW
| Total | MW
Nuclear | Existing | MW
| Tier 1 | MW
| Total | MW
Run of River Hydro | Existing | MW
| Tier 1 | MW
| Total | MW
Conventional Hydro | Existing | MW
| Tier 1 | MW
| Total | MW
Pumped Storage | Existing | MW
| Tier 1 | MW
| Total | MW
Geothermal | Existing | MW
| Tier 1 | MW
| Total | MW
Biomass | Existing | MW
| Tier 1 | MW
| Total | MW
Wind | Existing | MW
| Tier 1 | MW
| Total | MW
Solar | Existing | MW
| Tier 1 | MW
| Total | MW
Hybrid | Existing | MW
| Tier 1 | MW
| Total | MW
Other | Existing | MW
| Tier 1 | MW
| Total | MW
Battery | Existing | MW
| Tier 1 | MW
| Total | MW
Unknown | Existing | MW
| Tier 1 | MW
| Total | MW
UNCONFIRMED CAPACITY RETIREMENTS BY GENERATION TYPE | Status | Unit | 2026 (S) | 2028 (S) | 2025-26 (W) | 2027-28 (W) | Data Submitter Comments | NERC Response
Coal | Unconfirmed | MW
Petroleum | Unconfirmed | MW
Natural Gas and Other Gases | Unconfirmed | MW
Nuclear | Unconfirmed | MW
Run of River Hydro | Unconfirmed | MW
Conventional Hydro | Unconfirmed | MW
Pumped Storage | Unconfirmed | MW
Geothermal | Unconfirmed | MW
Biomass | Unconfirmed | MW
Wind | Unconfirmed | MW
Solar | Unconfirmed | MW
Hybrid | Unconfirmed | MW
Other | Unconfirmed | MW
Battery | Unconfirmed | MW
Unknown | Unconfirmed | MW
This Data can be copied from the LTRA for the two years and two season periods only, the years will be calculated from the Instructions Tab year entry unless pasted as values

## ProbA_Demand_Capacity_Peak_hour
Demand and Capacity Data for 2024 Probabilistic Assessment
| 2026 |  | 2028
ENERGY | Annual Peak Hour |  | Annual Peak Hour |  | Data Submitter Comments | NERC Response
Net Energy for Load - Annual (GWh) | 0 |  | 0
| 2026 |  | 2028
DEMAND | Winter | Summer | Winter | Summer | Data Submitter Comments | NERC Response
Total Internal Demand
Expected Demand (50/50) | 0 | 0 | 0 | 0
Low Forecast Cummulative Probability | 10% | 10% | 10% | 10%
Low Forecast Demand
High Forecast Cummulative Probability | 90% | 90% | 90% | 90%
High Forecast Demand
Other Demand Factors | 0 | 0 | 0 | 0
Energy Efficiency and Conservation
Behind the Meter Generation
Distributed Generation
Standby Load Under Contract
Controllable and Dispatchable Demand Response | 0 | 0 | 0 | 0
Total
Available
Net Internal Demand | 0 | 0 | 0 | 0
| 2026 |  | 2028
CAPACITY | Winter | Summer | Winter | Summer | Data Submitter Comments | NERC Response
Capacity Installed (Nameplate) | 0 | 0 | 0 | 0
Coal
Petroleum
Natural Gas and Other Gases
Nuclear
Run of River Hydro
Conventional Hydro
Pumped Storage
Geothermal
Biomass
Wind
Solar
Hybrid
Other
Battery
Unknown
Capacity Expected On-Peak ( Existing Certain + Tier 1) | 0 | 0 | 0 | 0
Coal | 0 | 0 | 0 | 0
Petroleum | 0 | 0 | 0 | 0
Natural Gas and Other Gases | 0 | 0 | 0 | 0
Nuclear | 0 | 0 | 0 | 0
Run of River Hydro | 0 | 0 | 0 | 0
Conventional Hydro | 0 | 0 | 0 | 0
Pumped Storage | 0 | 0 | 0 | 0
Geothermal | 0 | 0 | 0 | 0
Biomass | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0
Solar | 0 | 0 | 0 | 0
Hybrid | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0
Battery
Unknown | 0 | 0 | 0 | 0
Capacity Adjustments On-Peak | 0 | 0 | 0 | 0
Scheduled Outages | 0 | 0 | 0 | 0
Transmission Limitations | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0
Weighted Average Forced Outage Rate On-Peak
Coal
Petroleum
Natural Gas and Other Gases
Nuclear
Run of River Hydro
Conventional Hydro
Pumped Storage
Geothermal
Biomass
Wind
Solar
Hybrid
Other
Battery
Unknown
Operable Capacity Resources | 0 | 0 | 0 | 0
| 2026 |  | 2028
CAPACITY TRANSFERS | Winter | Summer | Winter | Summer | Data Submitter Comments | NERC Response
Imports
Firm | 0 | 0 | 0 | 0
Expected | 0 | 0 | 0 | 0
Exports
Firm | 0 | 0 | 0 | 0
Expected | 0 | 0 | 0 | 0
| 2026 |  | 2028
CAPACITY OBLIGATIONS & OPERATING PROCEDURES | Winter | Summer | Winter | Summer | Data Submitter Comments | NERC Response
Other Obligations from Resources | 0 | 0 | 0 | 0
Non-Spinning Reserves
Spinning Reserves
Other Obligations
Operating Procedures (Before Loss-of-Load) | 0 | 0 | 0 | 0
Additional Demand Response
Non-Spinning Reserves (Forgone)
Spinning Reserves (Forgone)
Other Obligations (Forgone)
Interruptible Load
Voltage Reductions
Public Appeals
Other
Base Case | 2026 |  | 2028
PROBABILISTIC STATISTICS | Annual |  | Annual |  | Data Submitter Comments | NERC Response
Expected Unsupplied Energy (EUE) (MWh) | 0 |  | 0
Loss of Load Hours (LOLH) (hours/year) | 0 |  | 0
| 2026 |  | 2028
SUMMARY TABLE | Annual |  | Annual |  | Data Submitter Comments | NERC Response
Net Energy for Load (GWh) | 0 |  | 0
Total Internal Demand (MW) | 0 |  | 0
90th Percentile (% above 50/50 forecast) | #NUM! |  | #NUM!
Net Internal Demand (MW) | 0 |  | 0
Forecast Capacity Resources (MW) | 0 |  | 0
Forecast Operable Capacity Resources (MW) | 0 |  | 0
Expected Unsupplied Energy (EUE) (MWh) | 0 |  | 0
Expected Unsupplied Energy (EUE) (ppm) | #DIV/0! |  | #DIV/0!
Loss of Load Hours (LOLH) (hours/year) | 0 |  | 0
Forecast Planning Reserve Margin (%) | #DIV/0! |  | #DIV/0! |  |  |  | Calculated in Spreadsheet
Forecast Operable Reserve Margin (%) | #DIV/0! |  | #DIV/0! |  |  |  | Calculated in Spreadsheet
Manual Data Entry Optional (Prepoluated from LTRA Anticipated Capacity)
Manual Data Entry Required
Manual Data Entry Completed | 0
Calculated Statistic

## ProbA_Demand_Capacity_Risk_Hour
Demand and Capacity Data for 2024 Probabilistic Assessment
| 2026 |  | 2028
ENERGY | Annual Risk Hour |  | Annual Risk Hour |  | Data Submitter Comments | NERC Response
Net Energy for Load - Annual (GWh) | 0 |  | 0
| 2026 |  | 2028
DEMAND | Winter | Summer | Winter | Summer | Data Submitter Comments | NERC Response
Total Internal Demand
Expected Demand (50/50) | 0 | 0 | 0 | 0
Low Forecast Cummulative Probability | 10% | 10% | 10% | 10%
Low Forecast Demand
High Forecast Cummulative Probability | 90% | 90% | 90% | 90%
High Forecast Demand
Other Demand Factors | 0 | 0 | 0 | 0
Energy Efficiency and Conservation
Behind the Meter Generation
Distributed Generation
Standby Load Under Contract
Controllable and Dispatchable Demand Response | 0 | 0 | 0 | 0
Total
Available
Net Internal Demand | 0 | 0 | 0 | 0
| 2026 |  | 2028
CAPACITY | Winter | Summer | Winter | Summer | Data Submitter Comments | NERC Response
Capacity Installed (Nameplate) (Enter if different from Peak Hour worksheet) | 0 | 0 | 0 | 0
Coal
Petroleum
Natural Gas and Other Gases
Nuclear
Run of River Hydro
Conventional Hydro
Pumped Storage
Geothermal
Biomass
Wind
Solar
Hybrid
Other
Battery
Unknown
Capacity Expected at Risk Hour ( Existing Certain + Tier 1) | 0 | 0 | 0 | 0
Coal | 0 | 0 | 0 | 0
Petroleum | 0 | 0 | 0 | 0
Natural Gas and Other Gases | 0 | 0 | 0 | 0
Nuclear | 0 | 0 | 0 | 0
Run of River Hydro | 0 | 0 | 0 | 0
Conventional Hydro | 0 | 0 | 0 | 0
Pumped Storage | 0 | 0 | 0 | 0
Geothermal | 0 | 0 | 0 | 0
Biomass | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0
Solar | 0 | 0 | 0 | 0
Hybrid | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0
Battery
Unknown | 0 | 0 | 0 | 0
Capacity Adjustments at Risk Hour | 0 | 0 | 0 | 0
Scheduled Outages | 0 | 0 | 0 | 0
Transmission Limitations | 0 | 0 | 0 | 0
Other | 0 | 0 | 0 | 0
Weighted Average Forced Outage Rate at Risk Hour
Coal
Petroleum
Natural Gas and Other Gases
Nuclear
Run of River Hydro
Conventional Hydro
Pumped Storage
Geothermal
Biomass
Wind
Solar
Hybrid
Other
Battery
Unknown
Operable Capacity Resources | 0 | 0 | 0 | 0
| 2026 |  | 2028
CAPACITY TRANSFERS at Risk Hour | Winter | Summer | Winter | Summer | Data Submitter Comments | NERC Response
Imports
Firm | 0 | 0 | 0 | 0
Expected | 0 | 0 | 0 | 0
Exports
Firm | 0 | 0 | 0 | 0
Expected | 0 | 0 | 0 | 0
| 2026 |  | 2028
CAPACITY OBLIGATIONS & OPERATING PROCEDURES at Risk Hour | Winter | Summer | Winter | Summer | Data Submitter Comments | NERC Response
Other Obligations from Resources | 0 | 0 | 0 | 0
Non-Spinning Reserves
Spinning Reserves
Other Obligations
Operating Procedures (Before Loss-of-Load) | 0 | 0 | 0 | 0
Additional Demand Response
Non-Spinning Reserves (Forgone)
Spinning Reserves (Forgone)
Other Obligations (Forgone)
Interruptible Load
Voltage Reductions
Public Appeals
Other

## Monthly ProbA Statistics
Base Case | 2026 | [12 empty] | 2028
PROBABILISTIC STATISTICS | Jan | Feb | March | April | May | June | July | August | September | October | November | December | Annual | Jan | Feb | March | April | May | June | July | August | September | October | November | December | Annual
Expected Unsupplied Energy (EUE) (MWh) | [12 empty] | 0 | [12 empty] | 0
Loss of Load Hours (LOLH) (hours/year) | [12 empty] | 0 | [12 empty] | 0

## 8760 Hourly_2026
PWA - Probability Weighted Average
|  |  |  | Expected value for All Hours |  |  | Expected Value
Hour Ending |  |  |  | Shorfall (EUE) | Excess ( Surplus Margin) | LOLH | Demand Aggregated Average | Import/transfer level Aggregated Average | Total Resource Aggregated Average
Index | Year | Date | Hour | PWA | PWA | PWA | PWA | PWA | PWA
1 | 2025 | 2025-12-31 | 0
2 | 2026 | 2026-01-01 01:00 | 1
3 | 2026 | 2026-01-01 01:00 | 2
| 2026 | 2026-01-01 01:00 | 3
| 2026 | 2026-01-01 01:00 | 4
| 2026 | 2026-01-01 01:00 | 5
| 2026 | 2026-01-01 01:00 | 6
| 2026 | 2026-01-01 01:00 | 7
| 2026 | 2026-01-01 01:00 | 8
| 2026 | 2026-01-01 01:00 | 9
| 2026 | 2026-01-01 01:00 | 10
| 2026 | 2026-01-01 01:00 | 11
| 2026 | 2026-01-01 01:00 | 12
| 2026 | 2026-01-01 01:00 | 13
| 2026 | 2026-01-01 01:00 | 14
| 2026 | 2026-01-01 01:00 | 15
| 2026 | 2026-01-01 01:00 | 16
| 2026 | 2026-01-01 01:00 | 17
| 2026 | 2026-01-01 01:00 | 18
| 2026 | 2026-01-01 01:00 | 19
| 2026 | 2026-01-01 01:00 | 20
| 2026 | 2026-01-01 01:00 | 21
| 2026 | 2026-01-01 01:00 | 22
| 2026 | 2026-01-01 01:00 | 23
| 2026 | 2026-01-02 01:00 | 0
| 2026 | 2026-01-02 01:00 | 1
… | … | … | …
to 8760

## EventDay_2026
Note: Three columns shown can be expanded to fit the number of iterations
[5 empty] | Provide "behind the event" data for the event hours | [8 empty] | Provide "behind the event" data for the event hours for resource categories
Hour Ending |  |  |  | Shorfall (EUE) | Demand |  |  | Total Transfers |  |  | Total Resource |  |  | Thermal |  |  | RoR Hydro |  |  | Conventional Hydro |  |  | Wind |  |  | Solar |  |  | Hybrid |  |  | Energy Storage |  |  | Other Resource
Index | Year | Date | Hour | PWA | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max
| 2025 | 2025-12-31 |  | 0
1 | 2026 | 2026-01-01 01:00 | 0 | 0
2 | 2026 | 2026-01-01 01:00 | 1 | 0.05
3 | 2026 | 2026-01-01 01:00 | 2 | 0.16
4 | 2026 | 2026-01-01 01:00 | 3 | 0.28
5 | 2026 | 2026-01-01 01:00 | 4 | 0.35
6 | 2026 | 2026-01-01 01:00 | 5 | 1.95
7 | 2026 | 2026-01-01 01:00 | 6 | 9.98
8 | 2026 | 2026-01-01 01:00 | 7 | 28.55
9 | 2026 | 2026-01-01 01:00 | 8 | 13.5
10 | 2026 | 2026-01-01 01:00 | 9 | 3.35
11 | 2026 | 2026-01-01 01:00 | 10 | 0.04
12 | 2026 | 2026-01-01 01:00 | 11 | 0
13 | 2026 | 2026-01-01 01:00 | 12 | 0
14 | 2026 | 2026-01-01 01:00 | 13 | 0
15 | 2026 | 2026-01-01 01:00 | 14 | 0
16 | 2026 | 2026-01-01 01:00 | 15 | 0
17 | 2026 | 2026-01-01 01:00 | 16 | 0
18 | 2026 | 2026-01-01 01:00 | 17 | 0
19 | 2026 | 2026-01-01 01:00 | 18 | 0
20 | 2026 | 2026-01-01 01:00 | 19 | 0
21 | 2026 | 2026-01-01 01:00 | 20 | 0
22 | 2026 | 2026-01-01 01:00 | 21 | 0
23 | 2026 | 2026-01-01 01:00 | 22 | 0
24 | 2026 | 2026-01-01 01:00 | 23 | 0
Put all 12 months in this tab or up to 12 tabs
To maintain magnitude of loss, the discrete median(center value), and min, max would need to be maintained.
[5 empty] | Demand |  |  |  | Demand/LFU
[5 empty] | Median | Min | Max |  | 0.98 | 0.99 | 1 | 1.01 | 1.02
[5 empty] | 600 | 200 | 1800
[5 empty] | OR by sigma, percentile |  |  |  | LFU input definition
or other statistical basis
OR all iteration values
can be put in columns
and post processed from
this datafile
Demand Iteration
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | …. | 23 | Number of iterations

## 8760 Hourly_2028
PWA - Probability Weighted Average
|  |  |  | Expected value for All Hours |  |  | Expected Value
Hour Ending |  |  |  | Shorfall (EUE) | Excess ( Surplus Margin) | LOLH | Demand Aggregated Average | Import/transfer level Aggregated Average | Total Resource Aggregated Average
Index | Year | Date | Hour | PWA | PWA | PWA | PWA | PWA | PWA
1 | 2025 | 2025-12-31 | 0
2 | 2028 | 2028-01-01 01:00 | 1
3 | 2028 | 2028-01-01 01:00 | 2
| 2028 | 2028-01-01 01:00 | 3
| 2028 | 2028-01-01 01:00 | 4
| 2028 | 2028-01-01 01:00 | 5
| 2028 | 2028-01-01 01:00 | 6
| 2028 | 2028-01-01 01:00 | 7
| 2028 | 2028-01-01 01:00 | 8
| 2028 | 2028-01-01 01:00 | 9
| 2028 | 2028-01-01 01:00 | 10
| 2028 | 2028-01-01 01:00 | 11
| 2028 | 2028-01-01 01:00 | 12
| 2028 | 2028-01-01 01:00 | 13
| 2028 | 2028-01-01 01:00 | 14
| 2028 | 2028-01-01 01:00 | 15
| 2028 | 2028-01-01 01:00 | 16
| 2028 | 2028-01-01 01:00 | 17
| 2028 | 2028-01-01 01:00 | 18
| 2028 | 2028-01-01 01:00 | 19
| 2028 | 2028-01-01 01:00 | 20
| 2028 | 2028-01-01 01:00 | 21
| 2028 | 2028-01-01 01:00 | 22
| 2028 | 2028-01-01 01:00 | 23
| 2028 | 2028-01-02 01:00 | 0
| 2028 | 2028-01-02 01:00 | 1
… | … | … | …
to 8760

## EventDay_2028
Note: Three columns shown can be expanded to fit the number of iterations
[5 empty] | Provide "behind the event" data for the event hours | [8 empty] | Provide "behind the event" data for the event hours for resource categories
Hour Ending |  |  |  | Shorfall (EUE) | Demand |  |  | Total Transfers |  |  | Total Resource |  |  | Thermal |  |  | RoR Hydro |  |  | Conventional Hydro |  |  | Wind |  |  | Solar |  |  | Hybrid |  |  | Energy Storage |  |  | Other Resource
Index | Year | Date | Hour | PWA | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max | Median | Min | Max
| 2027 | 2025-12-31 |  | 0
1 | 2028 | 2028-01-01 01:00 | 0 | 0
2 | 2028 | 2028-01-01 01:00 | 1 | 0.05
3 | 2028 | 2028-01-01 01:00 | 2 | 0.16
4 | 2028 | 2028-01-01 01:00 | 3 | 0.28
5 | 2028 | 2028-01-01 01:00 | 4 | 0.35
6 | 2028 | 2028-01-01 01:00 | 5 | 1.95
7 | 2028 | 2028-01-01 01:00 | 6 | 9.98
8 | 2028 | 2028-01-01 01:00 | 7 | 28.55
9 | 2028 | 2028-01-01 01:00 | 8 | 13.5
10 | 2028 | 2028-01-01 01:00 | 9 | 3.35
11 | 2028 | 2028-01-01 01:00 | 10 | 0.04
12 | 2028 | 2028-01-01 01:00 | 11 | 0
13 | 2028 | 2028-01-01 01:00 | 12 | 0
14 | 2028 | 2028-01-01 01:00 | 13 | 0
15 | 2028 | 2028-01-01 01:00 | 14 | 0
16 | 2028 | 2028-01-01 01:00 | 15 | 0
17 | 2028 | 2028-01-01 01:00 | 16 | 0
18 | 2028 | 2028-01-01 01:00 | 17 | 0
19 | 2028 | 2028-01-01 01:00 | 18 | 0
20 | 2028 | 2028-01-01 01:00 | 19 | 0
21 | 2028 | 2028-01-01 01:00 | 20 | 0
22 | 2028 | 2028-01-01 01:00 | 21 | 0
23 | 2028 | 2028-01-01 01:00 | 22 | 0
24 | 2028 | 2028-01-01 01:00 | 23 | 0
Put all 12 months in this tab or up to 12 tabs
To maintain magnitude of loss, the discrete median(center value), and min, max would need to be maintained.
[5 empty] | Demand |  |  |  | Demand/LFU
[5 empty] | Median | Min | Max |  | 0.98 | 0.99 | 1 | 1.01 | 1.02
[5 empty] | 600 | 200 | 1800
[5 empty] | OR by sigma, percentile |  |  |  | LFU input definition
or other statistical basis
OR all iteration values
can be put in columns
and post processed from
this datafile
Demand Iteration
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | …. | 23 | Number of iterations

## Example_All hours
Posted on PAWG website

## Example-only events
Index | Season | Week | Year | Month | Date | Hour | Demand | Availability | Threshold MW | LOLh | DAR | Imports | 1st Order Transfers | 2nd Order Transfers | 3 - Demand | 5 - Demand | 10 - Demand | 33 - Demand | 50 - Demand | 67 - Demand | 90 - Demand | 95 - Demand | 97 - Demand
31627 | Summer | 33 | 2026 | 2026-08-01 | 2026-08-10 18:00 | 18 | 48909 | 65353.4692 | 12750.8974 | 1 | 2.5669 | 322 | 322 | 0 | 41944 | 42727 | 44089 | 47065 | 48909 | 50878 | 54525 | 56544 | 58475
31699 | Summer | 33 | 2026 | 2026-08-01 | 2026-08-13 18:00 | 18 | 49518 | 64314.9827 | 12449.9466 | 1 | 31.0454 | 797 | 96 | 701 | 41554 | 42610 | 44015 | 47481 | 49518 | 52123 | 55857 | 57610 | 59347
31795 | Summer | 34 | 2026 | 2026-08-01 | 2026-08-17 18:00 | 18 | 52022 | 64020.7559 | 11962.9759 | 1 | 21.4845 | 631 | 631 | 0 | 44370 | 45110 | 46819 | 50084 | 52022 | 54156 | 58691 | 61389 | 62705
31818 | Summer | 34 | 2026 | 2026-08-01 | 2026-08-18 17:00 | 17 | 56233 | 70310.5874 | 13733.0356 | 1 | 209.1803 | 663 | 663 | 0 | 47477 | 48959 | 50477 | 53836 | 56233 | 58435 | 64324 | 67014 | 68842
31819 | Summer | 34 | 2026 | 2026-08-01 | 2026-08-18 18:00 | 18 | 54147 | 63882.3906 | 11980.8723 | 1 | 451.2606 | 243 | 199 | 44 | 46215 | 47564 | 48839 | 51876 | 54147 | 56238 | 61763 | 64011 | 66034
31820 | Summer | 34 | 2026 | 2026-08-01 | 2026-08-18 19:00 | 19 | 51513 | 58210.2219 | 6527.877 | 1 | 4.939 | 991 | 991 | 0 | 44857 | 45728 | 46848 | 49520 | 51513 | 53355 | 58595 | 60967 | 62778
31843 | Summer | 34 | 2026 | 2026-08-01 | 2026-08-19 18:00 | 18 | 51098 | 62953.2599 | 11431.0199 | 1 | 345.0206 | 716 | 518 | 198 | 43173 | 44429 | 45374 | 49234 | 51098 | 53194 | 58249 | 61012 | 62629
32035 | Summer | 35 | 2026 | 2026-08-01 | 2026-08-27 18:00 | 18 | 49438 | 61735.8489 | 11513.0011 | 1 | 85.2769 | 613 | 493 | 120 | 40019 | 41540 | 42755 | 47107 | 49438 | 52005 | 56309 | 58980 | 60247
32131 | Summer | 36 | 2026 | 2026-08-01 | 2026-08-31 18:00 | 18 | 46312 | 60914.1906 | 10360.8892 | 1 | 85.7077 | 250 | 250 | 0 | 39083 | 39831 | 41126 | 44752 | 46312 | 48611 | 53329 | 55925 | 57419
32178 | Summer | 36 | 2026 | 2026-09-01 | 2026-09-02 17:00 | 17 | 51656 | 65327.7834 | 12000.954 | 1 | 2.5187 | 1444 | 1146 | 298 | 42136 | 42938 | 44923 | 49440 | 51656 | 54044 | 60636 | 63199 | 65416
32179 | Summer | 36 | 2026 | 2026-09-01 | 2026-09-02 18:00 | 18 | 50156 | 60400.5534 | 10017.0237 | 1 | 20.4227 | 2147 | 865 | 1282 | 41286 | 42094 | 44141 | 48017 | 50156 | 52302 | 58499 | 61294 | 62896
32202 | Summer | 36 | 2026 | 2026-09-01 | 2026-09-03 17:00 | 17 | 53281 | 64872.9781 | 12357.9135 | 1 | 38.7708 | 1622 | 276 | 1346 | 42280 | 43680 | 45451 | 50792 | 53281 | 56507 | 61245 | 63975 | 65099
32203 | Summer | 36 | 2026 | 2026-09-01 | 2026-09-03 18:00 | 18 | 51445 | 59037.985 | 9380.9331 | 1 | 790.2149 | 1600 | 399 | 1201 | 41355 | 42967 | 44229 | 49198 | 51445 | 54525 | 58837 | 61546 | 62733
32298 | Summer | 37 | 2026 | 2026-09-01 | 2026-09-07 17:00 | 17 | 54928 | 64956.2221 | 13145.9606 | 1 | 58.7703 | 1958 | 582 | 1376 | 45001 | 45813 | 47578 | 52816 | 54928 | 58108 | 64711 | 67268 | 70038
32299 | Summer | 37 | 2026 | 2026-09-01 | 2026-09-07 18:00 | 18 | 52891 | 58197.6606 | 8880.8596 | 1 | 1095.8895 | 1836 | 463 | 1373 | 44087 | 45012 | 46164 | 50866 | 52891 | 55809 | 61948 | 64906 | 67949
32322 | Summer | 37 | 2026 | 2026-09-01 | 2026-09-08 17:00 | 17 | 54694 | 64916.033 | 13491.9489 | 1 | 268.7801 | 345 | 259 | 86 | 44447 | 45580 | 47826 | 52477 | 54694 | 57075 | 65398 | 68074 | 69723
32323 | Summer | 37 | 2026 | 2026-09-01 | 2026-09-08 18:00 | 18 | 53054 | 58169.1086 | 8763.9813 | 1 | 1239.4864 | 454 | 429 | 25 | 43376 | 44439 | 46929 | 50717 | 53054 | 55145 | 62760 | 65585 | 67109
32324 | Summer | 37 | 2026 | 2026-09-01 | 2026-09-08 19:00 | 19 | 51434 | 56411.7809 | 6536.963 | 1 | 7.8896 | 1952 | 1301 | 651 | 43046 | 44035 | 46363 | 49513 | 51434 | 53457 | 60370 | 63554 | 64655
32346 | Summer | 37 | 2026 | 2026-09-01 | 2026-09-09 17:00 | 17 | 54710 | 64923.6729 | 13604.9155 | 1 | 60.5074 | 2094 | 1084 | 1010 | 44621 | 45619 | 47219 | 51816 | 54710 | 57660 | 64728 | 67922 | 69588
32347 | Summer | 37 | 2026 | 2026-09-01 | 2026-09-09 18:00 | 18 | 52617 | 58037.2331 | 8859.0599 | 1 | 2867.9241 | 2282 | 1369 | 913 | 43143 | 44143 | 45950 | 49946 | 52617 | 55200 | 61578 | 64691 | 66149
Truncated from file showing all distributions for Demand and resources

## Example-only events heat map
Month | Date | Hour | Demand | Availability | DAR
2026-01-01 | 2026-01-01 | 0 | 28422 | 51919.8802 | x | EUE | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
2026-01-01 | 2026-01-01 01:00 | 1 | 26911 | 51881.3763 | x | 2026-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 02:00 | 2 | 26122 | 51694.5759 | x | 2026-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 03:00 | 3 | 25778 | 51721.5973 | x | 2026-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 04:00 | 4 | 25920 | 51766.4218 | x | 2026-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 05:00 | 5 | 27317 | 51951.3729 | x | 2026-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 06:00 | 6 | 29997 | 52262.7247 | x | 2026-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 07:00 | 7 | 31904 | 53405.1456 | x | 2026-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 08:00 | 8 | 32788 | 56790.5575 | x | 2026-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 209.1803 | 1022.3625 | 4.939 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 09:00 | 9 | 32595 | 60483.5705 | x | 2026-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 429.3473 | 6013.9377 | 7.8896 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 10:00 | 10 | 31957 | 62364.3363 | x | 2026-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 11:00 | 11 | 31498 | 63087.2097 | x | 2026-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 12:00 | 12 | 31080 | 62870.8093 | x | 2026-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026-01-01 | 2026-01-01 13:00 | 13 | 30869 | 62334.5885 | x
2026-01-01 | 2026-01-01 14:00 | 14 | 31072 | 60283.1759 | x
2026-01-01 | 2026-01-01 15:00 | 15 | 32123 | 57032.9886 | x | Demand | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
2026-01-01 | 2026-01-01 16:00 | 16 | 34698 | 53282.0758 | x | 2026-01-01 | 825390 | 787846 | 765682 | 759615 | 774564 | 826515 | 915749 | 972586 | 974042 | 939521 | 895575 | 857944 | 841679 | 841752 | 862238 | 900731 | 978322 | 1088558 | 1116038 | 1094422 | 1060394 | 1015295 | 942880 | 869865
2026-01-01 | 2026-01-01 17:00 | 17 | 37884 | 53675.3963 | x | 2026-02-01 | 729830 | 697599 | 677973 | 672159 | 686444 | 732806 | 808023 | 843012 | 829037 | 792896 | 758460 | 731757 | 721921 | 721899 | 738989 | 775775 | 833399 | 916481 | 967696 | 956653 | 928580 | 892290 | 831003 | 771171
2026-01-01 | 2026-01-01 18:00 | 18 | 38153 | 53917.3646 | x | 2026-03-01 | 788791 | 758997 | 742140 | 742877 | 769410 | 828517 | 883570 | 892187 | 864716 | 829922 | 798158 | 776964 | 769298 | 773257 | 793548 | 837654 | 902918 | 970438 | 1030663 | 1027173 | 996018 | 945378 | 882373 | 828559
2026-01-01 | 2026-01-01 19:00 | 19 | 37333 | 53811.7233 | x | 2026-04-01 | 774713 | 755055 | 745359 | 749869 | 777076 | 818822 | 840608 | 838835 | 813978 | 788967 | 772605 | 762051 | 759850 | 766152 | 784983 | 820161 | 873863 | 920672 | 958370 | 964653 | 942050 | 893918 | 842540 | 805660
2026-01-01 | 2026-01-01 20:00 | 20 | 36237 | 53159.5164 | x | 2026-05-01 | 812576 | 781521 | 762083 | 761597 | 787555 | 823638 | 852551 | 861242 | 852005 | 839145 | 823816 | 819633 | 829796 | 854482 | 893929 | 949983 | 1014649 | 1058879 | 1081151 | 1089822 | 1060912 | 992262 | 914820 | 856805
2026-01-01 | 2026-01-01 21:00 | 21 | 34710 | 52565.0736 | x | 2026-06-01 | 882573 | 846879 | 824123 | 816992 | 830387 | 862977 | 906487 | 929900 | 935435 | 945174 | 960403 | 984098 | 1021950 | 1065135 | 1114073 | 1162163 | 1207128 | 1227834 | 1215361 | 1191542 | 1156525 | 1084017 | 1004641 | 941622
2026-01-01 | 2026-01-01 22:00 | 22 | 32286 | 52258.5486 | x | 2026-07-01 | 988895 | 940876 | 911783 | 896762 | 910347 | 938962 | 998417 | 1043090 | 1059764 | 1070568 | 1094342 | 1134132 | 1190928 | 1260066 | 1333378 | 1397715 | 1451895 | 1472777 | 1442298 | 1395069 | 1338281 | 1243554 | 1140328 | 1055486
2026-01-01 | 2026-01-01 23:00 | 23 | 29661 | 51816.9304 | x | 2026-08-01 | 949767 | 899520 | 864623 | 846449 | 857595 | 894363 | 946848 | 1008561 | 1043792 | 1082533 | 1126432 | 1190335 | 1264303 | 1346512 | 1425674 | 1484138 | 1527617 | 1522541 | 1466150 | 1407483 | 1333143 | 1227489 | 1111574 | 1023413
2026-01-01 | 2026-01-02 | 0 | 27560 | 51650.9025 | x | 2026-09-01 | 923680 | 887821 | 865404 | 856521 | 868655 | 906651 | 942291 | 989418 | 1024836 | 1047198 | 1078854 | 1118793 | 1166023 | 1217062 | 1265479 | 1298350 | 1316601 | 1300128 | 1272054 | 1229021 | 1179618 | 1106206 | 1027689 | 970165
2026-01-01 | 2026-01-02 01:00 | 1 | 26143 | 51647.8616 | x | 2026-10-01 | 816612 | 789857 | 771273 | 769901 | 798440 | 859778 | 909410 | 944323 | 967497 | 954628 | 941547 | 937331 | 952047 | 989589 | 1045463 | 1099693 | 1136798 | 1150209 | 1131693 | 1086367 | 1037745 | 970579 | 900736 | 852907
2026-01-01 | 2026-01-02 02:00 | 2 | 25190 | 51543.7655 | x | 2026-11-01 | 754286 | 720118 | 699651 | 692054 | 713648 | 785133 | 868087 | 904327 | 911126 | 886418 | 848585 | 823393 | 813302 | 812104 | 836397 | 884376 | 967689 | 1062387 | 1057601 | 1029986 | 995836 | 946234 | 872167 | 802366
2026-01-01 | 2026-01-02 03:00 | 3 | 24579 | 51458.1707 | x | 2026-12-01 | 842867 | 809984 | 791446 | 780429 | 787092 | 832797 | 919131 | 977764 | 997784 | 981287 | 956098 | 930088 | 913934 | 911478 | 918860 | 943148 | 1012523 | 1113329 | 1117163 | 1098924 | 1071746 | 1032914 | 963048 | 889781
2026-01-01 | 2026-01-02 04:00 | 4 | 24733 | 51557.2239 | x
2026-01-01 | 2026-01-02 05:00 | 5 | 25959 | 51705.596 | x
2026-01-01 | 2026-01-02 06:00 | 6 | 27646 | 52088.1639 | x | Availability | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
2026-01-01 | 2026-01-02 07:00 | 7 | 28567 | 53098.8624 | x | 2026-01-01 | 1595883.4834 | 1593948.7175 | 1592672.3044 | 1592661.9099 | 1593636.0855 | 1599410.9357 | 1612739.3447 | 1641356.9555 | 1724451.8376 | 1852497.7913 | 1914332.0102 | 1935046.6132 | 1936218.559 | 1912234.5932 | 1867421.8826 | 1795903.5493 | 1670838.2717 | 1656154.2386 | 1662677.7116 | 1657075.3511 | 1639336.1625 | 1625316.4054 | 1612315.0557 | 1600316.2093
2026-01-01 | 2026-01-02 08:00 | 8 | 28777 | 55949.4299 | x | 2026-02-01 | 1454111.0351 | 1450731.9503 | 1448908.1696 | 1448313.2576 | 1449264.6923 | 1456211.0873 | 1471174.908 | 1537581.8181 | 1664754.0175 | 1811177.7635 | 1852501.0578 | 1859043.3865 | 1855387.3361 | 1845483.8826 | 1828506.7405 | 1791480.3657 | 1653361.8429 | 1512513.2589 | 1513659.6385 | 1510266.3862 | 1504172.2532 | 1482634.0769 | 1469718.4857 | 1460415.1957
2026-01-01 | 2026-01-02 09:00 | 9 | 28733 | 60138.9993 | x | 2026-03-01 | 1647266.4805 | 1642069.6235 | 1638713.6253 | 1637805.9362 | 1635354.2777 | 1639072.5217 | 1647847.0588 | 1703931.391 | 1877626.3067 | 2065594.8818 | 2130251.2177 | 2141961.4328 | 2132521.8856 | 2123972.0392 | 2116168.105 | 2090718.5322 | 1994560.5092 | 1838512.9255 | 1750343.2238 | 1738464.7116 | 1713563.6017 | 1686860.2753 | 1668861.7722 | 1656172.4994
2026-01-01 | 2026-01-02 10:00 | 10 | 27727 | 62116.8483 | x | 2026-04-01 | 1640181.8625 | 1630394.6729 | 1626645.1812 | 1623102.5566 | 1623391.8191 | 1626424.2713 | 1634818.0146 | 1727688.1662 | 1945984.6495 | 2094238.2654 | 2144624.7863 | 2153357.694 | 2147275.0557 | 2150344.9898 | 2153909.145 | 2136937.3195 | 2073767.4336 | 1937347.9434 | 1780540.6496 | 1723458.796 | 1712721.8126 | 1692928.4319 | 1664437.328 | 1649296.4631
2026-01-01 | 2026-01-02 11:00 | 11 | 26999 | 62752.2069 | x | 2026-05-01 | 1729642.7361 | 1721628.5472 | 1715847.043 | 1713739.6504 | 1716651.5346 | 1714449.2045 | 1738130.0341 | 1866237.6676 | 2110063.4503 | 2220608.716 | 2263991.4474 | 2279983.8756 | 2286202.8857 | 2292263.8465 | 2297753.8925 | 2285044.8736 | 2250150.5608 | 2132064.8797 | 1964010.6839 | 1858290.5444 | 1847306.389 | 1805785.7453 | 1758310.5878 | 1738611.7796
2026-01-01 | 2026-01-02 12:00 | 12 | 27007 | 62661.1484 | x | 2026-06-01 | 1682020.223 | 1673991.0743 | 1665270.4675 | 1658551.8892 | 1654192.9918 | 1648262.3244 | 1681598.9886 | 1839277.7947 | 2075747.8929 | 2160929.7241 | 2211194.9048 | 2238078.9011 | 2256490.4347 | 2268247.77 | 2301124.1101 | 2318703.6823 | 2273942.6905 | 2176235.8755 | 2005783.7111 | 1846640.3848 | 1808185.6669 | 1776541.6018 | 1713977.4799 | 1693554.0396
2026-01-01 | 2026-01-02 13:00 | 13 | 27283 | 61789.5558 | x | 2026-07-01 | 1721781.1427 | 1710143.3141 | 1702602.8264 | 1696288.6913 | 1692082.4291 | 1688119.7119 | 1702934.0235 | 1828411.9428 | 2092479.8144 | 2193213.5768 | 2245413.0574 | 2281568.462 | 2305557.0615 | 2326789.5373 | 2361559.8321 | 2375459.0166 | 2333337.1631 | 2226072.0783 | 2049438.6024 | 1889513.4148 | 1835822.7281 | 1786865.8061 | 1758446.3861 | 1735612.9195
2026-01-01 | 2026-01-02 14:00 | 14 | 27611 | 59832.8098 | x | 2026-08-01 | 1698578.645 | 1689792.8387 | 1682238.8831 | 1676281.6091 | 1673822.6544 | 1672610.9523 | 1673748.698 | 1769664.4628 | 2032959.0503 | 2174940.901 | 2231512.8174 | 2267985.3163 | 2290564.1767 | 2297146.975 | 2309092.7472 | 2322312.8066 | 2288030.4656 | 2163850.8804 | 1967333.8417 | 1825649.1701 | 1782192.4896 | 1753624.2642 | 1730021.5678 | 1708777.0061
2026-01-01 | 2026-01-02 15:00 | 15 | 27975 | 56727.9434 | x | 2026-09-01 | 1600819.1211 | 1595999.2224 | 1590915.4215 | 1585931.2647 | 1583006.9215 | 1581586.7832 | 1583036.5768 | 1657657.5519 | 1863061.111 | 2053606.2893 | 2113408.164 | 2142020.879 | 2156432.1366 | 2163933.7734 | 2160915.0551 | 2141081.162 | 2069334.8351 | 1911504.2584 | 1718968.6379 | 1679810.8011 | 1666913.7149 | 1645098.7858 | 1624633.2544 | 1607915.5203
2026-01-01 | 2026-01-02 16:00 | 16 | 30970 | 53103.5998 | x | 2026-10-01 | 1625917.6518 | 1621472.1382 | 1619323.4276 | 1616447.8377 | 1614868.7164 | 1617291.6096 | 1621396.2252 | 1677279.9014 | 1866579.4412 | 2039058.6759 | 2106753.6497 | 2118236.219 | 2118424.3995 | 2119861.4485 | 2109161.7071 | 2037066.2427 | 1935712.7284 | 1754133.0896 | 1678693.5571 | 1681895.8911 | 1666380.3963 | 1650687.2923 | 1639512.9921 | 1631146.9889
2026-01-01 | 2026-01-02 17:00 | 17 | 35034 | 53526.9103 | x | 2026-11-01 | 1555716.1013 | 1552968.9659 | 1551587.7109 | 1550409.6055 | 1551054.2256 | 1555583.1247 | 1571232.752 | 1666322.5027 | 1814078.3285 | 1940656.8327 | 1974695.4103 | 1975398.3481 | 1971080.9439 | 1962254.7407 | 1922226.413 | 1785173.4786 | 1610165.7863 | 1603995.9472 | 1606750.885 | 1597598.8916 | 1587645.6765 | 1577378.3651 | 1568929.2752 | 1559784.1292
2026-01-01 | 2026-01-02 18:00 | 18 | 35502 | 53718.4786 | x | 2026-12-01 | 1615330.5375 | 1611480.3222 | 1610218.7998 | 1609019.3293 | 1611865.4731 | 1617080.8065 | 1627764.2872 | 1667613.7188 | 1776080.3906 | 1893468.4111 | 1941876.22 | 1957395.5369 | 1953831.1828 | 1934004.9461 | 1897791.9585 | 1784294.1555 | 1655964.6397 | 1670658.1025 | 1672564.3436 | 1660196.957 | 1651046.5347 | 1639121.9417 | 1628421.9856 | 1618532.219
2026-01-01 | 2026-01-02 19:00 | 19 | 34559 | 53330.8237 | x
2026-01-01 | 2026-01-02 20:00 | 20 | 33278 | 52922.4701 | x
2026-01-01 | 2026-01-02 21:00 | 21 | 32007 | 52454.6831 | x
2026-08-01 | 2026-08-10 18:00 | 18 | 48909 | 65353.4692 | 2.5669
2026-08-01 | 2026-08-13 18:00 | 18 | 49518 | 64314.9827 | 31.0454
2026-08-01 | 2026-08-17 18:00 | 18 | 52022 | 64020.7559 | 21.4845
2026-08-01 | 2026-08-18 17:00 | 17 | 56233 | 70310.5874 | 209.1803
2026-08-01 | 2026-08-18 18:00 | 18 | 54147 | 63882.3906 | 451.2606
2026-08-01 | 2026-08-18 19:00 | 19 | 51513 | 58210.2219 | 4.939
2026-08-01 | 2026-08-19 18:00 | 18 | 51098 | 62953.2599 | 345.0206
2026-08-01 | 2026-08-27 18:00 | 18 | 49438 | 61735.8489 | 85.2769
2026-08-01 | 2026-08-31 18:00 | 18 | 46312 | 60914.1906 | 85.7077
2026-09-01 | 2026-09-02 17:00 | 17 | 51656 | 65327.7834 | 2.5187
2026-09-01 | 2026-09-02 18:00 | 18 | 50156 | 60400.5534 | 20.4227
2026-09-01 | 2026-09-03 17:00 | 17 | 53281 | 64872.9781 | 38.7708
2026-09-01 | 2026-09-03 18:00 | 18 | 51445 | 59037.985 | 790.2149
2026-09-01 | 2026-09-07 17:00 | 17 | 54928 | 64956.2221 | 58.7703
2026-09-01 | 2026-09-07 18:00 | 18 | 52891 | 58197.6606 | 1095.8895
2026-09-01 | 2026-09-08 17:00 | 17 | 54694 | 64916.033 | 268.7801
2026-09-01 | 2026-09-08 18:00 | 18 | 53054 | 58169.1086 | 1239.4864
2026-09-01 | 2026-09-08 19:00 | 19 | 51434 | 56411.7809 | 7.8896
2026-09-01 | 2026-09-09 17:00 | 17 | 54710 | 64923.6729 | 60.5074
2026-09-01 | 2026-09-09 18:00 | 18 | 52617 | 58037.2331 | 2867.9241