## GAS Turbine&Jet Engine
System | Field Name | Column Name | Entry Type | Description | List Selection
General Information | NCR Number | NCR_No | Alpha-Numeric 10 | The NCR ID for the company name
General Information | Utility Code | Utility_Code | Alpha-Numeric 3 | NERC Utility Code
General Information | Unit Code | Unit_Code | Numeric 3 | NERC Unit Code
General Information | Location of unit | Unit_Location | Alpha 3 | State/Providence abbreviation for the location of the unit
General Information | Energy Information Administration (EIA) Number | EIA_Plant_No | Numeric 5 | EIA Plant ID
General Information | Region | Region | Alpha 4 | ISO Region
General Information | Data Reporter Name | Data_Reprtr_Name | Alpha 50 | Contact name for data reporter
General Information | Data Reporter Telephone Number | Data_Reprtr_Phone | Alpha-Numeric 15 | Contact phone number for data reporter
General Information | Data Reporter Email | Data_Reprtr_Email | Alpha-Numeric 50 | Contact email for data reporter
General Information | Design Data Submission Date | Des_Data_Sub_Date | mm-dd-yyyy | Submission date for design data
General Information | Date the Unit Entered Service | Unit_Service_Date | yyyy | Unit service date; a) The date the unit was first declared available for dispatch at some level of its capability, OR b) The date the unit first operated at 50% of its generator nameplate megawatt capability (product of the megavoltamperes (MVA) and the rated power factor as stamped on the generator nameplate(s)).
General Information | Unit Loading Characteristics at Time of Unit’s Design | Unit_Load_Char | Numeric 1 | Unit loading characteristic | 1 – Base load with minor load following 2 – Periodic start-up, load follow daily, reduced load nightly 3 – Weekly start-up, load follow daily, reduced load nightly 4 – Daily start-up, load follow daily, off-line nightly 5 – Start-up chiefly to meet daily peaks 9 – Other, describe
Gas Turbine | Year of Installation/manufacturing (Commissioning Date) | GT_Unit_Installation_Date | yyyy | The year of installation for GT. If the year of installation is not known, the manufacturing year should be provided.
Gas Turbine | Gas turbine/jet engine nameplate rating in MW | Turbine_Nameplate_Rating | Numeric 4.2 | The nameplate rating in MW for the gas turbine/jet engine
Gas Turbine | Turbine/Engine Model Number | Eng_Model_No | Alpha-Numeric 15 | The model number of the gas turbine/jet engine
Gas Turbine | Type of Fuel(s) used | Fuel_Types | Alpha-Numeric 50 | The type of fuel(s) that will be used (liquids, gas…natural gas, other)
Gas Turbine | Cycle type | Cycle_Type | Numeric 1 | The type of cycle used by the GT/JE | 1 - Reheat 2 - Simple 3 - Regenerative 4 - Recuperative 5 - Intercooled 6 - Pre-cooled 7 - Complex 9 - Other
Gas Turbine | Start-up system type | Startup_Sys_Type | Numeric 1 | The type of start-up system used by the GT/JE | 1 - Air 2 - Auxiliary motor 3 - Electric motor 4 - Natural gas 5 - Flow turbine 6 - Supercharging fan 7 - Hydraulic 8 - Not Used 9 - Other
Gas Turbine | Time in minutes for normal cold start to full load | Cold_Start_Time | Numeric 3 | The time in minutes from a normal first fire start until a full load
Gas Turbine | Time in minutes for emergency cold start to full load | Emer_Cold_Start_Time | Numeric 3 | The time in minutes from an emergency first fire start until a full load
Gas Turbine | Black start capability | Blk_Start_Capability | Numeric 1 | Indicates whether the unit has black start capability; 1-Yes, 2-No | 1 - Yes 2 -No
Nox Reduction System | Gas Turbine Selective Non-Catalytic Reduction System (SNCR) | GT_SNCR | Numeric 1 | Yes/No; Does this unit include a GT SNCR? | 1 - Yes 2 -No
Nox Reduction System | Gas Turbine Selective Catalytic Reduction System (SCR ) | GT_SCR | Numeric 1 | Yes/No; Does this unit include a GT SCR? | 1 - Yes 2 -No
Nox Reduction System | Gas Turbine Catalytic Air Heaters (CAH ) | GT_CAH | Numeric 1 | Yes/No; Does this unit include a GT CAH? | 1 - Yes 2 -No
Nox Reduction System | Water Injection System | GT_WIS | Numeric 1 | Yes/No; Does this unit include a GT WIS? | 1 - Yes 2 -No
Generator | Year of Installation/manufacturing (Commissioning Date) | Gen_Unit_Installation_Date | yyyy | The year of installation for the generator. If the year of installation is not known, the manufacturing year should be provided.
Generator | Date of latest Rewind (or generator replacement) | New_Win_Date | yyyy | Service date of the latest rewind or generator replacement
Generator | Is 50% or more of the generator outdoors | Gen_Outdoors | Numeric 1 | Indicates whether or not 50% or more of the generators are outdoors | 1 - Yes 2 -No
Generator | Main Generator Nameplate | Main_Gen_Nameplate_Rating | Numeric 4 | Main generator nameplate rating, MW
Generator | Second Generator Nameplate | Sec_Gen_Nameplate_Rating | Numeric 4 | Second generator nameplate rating, MW
Generator | Third Generator Nameplate | Third_Gen_Nameplate_Rating | Numeric 4 | Third generator nameplate rating, MW
Generator | Generator Voltage tenth kV | Gen_Voltage | Numeric 4.1 | Generator voltage, tenth KV
Generator | Generator Capability, MVA | Gen_MVA | Numeric 4.2 | Generator Capability, MVA
Generator | Generator Speed (RPM) | Gen_RPM | Numeric 4 | Generator Speed (RPM)
Generator | Generator Power Factor (%) | Gen_PF | Numeric 2.2 | Generator Power Factor (%)
Generator | Single Excitation System or Redundant Excitation System | Excitation_Sys | Numeric 1 | Indicates whether the excitation system is single or redundant | 1 - Single 2 -Redundant
Generator | Enter the type of main exciter used at the unit | Exciter_Type | Numeric 1 | Indicates the type of main exciter used at the unit | 1 - Static – static excitation where dc is obtained by rectifying ac from generator terminals, and dc is fed into rotor by collector rings. 2 - Rotating dc generator – exciter supplies dc from a commutator into the main rotor by means of collector rings. 3 - Brushless – an ac (rotating armature type) exciter whose output is rectified by a semiconductor device to provide excitation to an electric machine. The semiconductor device would be mounted on and rotate with the ac exciter armature. 4 - Alternator rectifier 9 - Other, describe
Balance of Plant | Generator Synchronizing Breaker Interrupting Media Type (i.e.Vacuum, Oil, etc.) | Breaker_Inter_Media_Type | Numeric 1 | Indicates the type of breaker interrupting media type | 1 - Air/Air Blast (ACB) 2 - Oil (OCB) 3 - Vacuum (VCB) 4 - SF6/Gas (GCB) 9 - Other
Balance of Plant | Generator Synchronizing Breaker Nameplate Voltage, kV | Breaker_Nameplate_Voltage | Numeric 4 | Breaker nameplate voltage, kilo-Volts
Balance of Plant | Generator Synchronizing Breaker Nameplate Current Rating, kA | Breaker_Nameplate_Current | Numeric 4 | Breaker nameplate current, kilo-Amps
Balance of Plant | Generator Synchronizing Breaker Nameplate Interupt Rating, kA | Breaker_Nameplate_Inter_Rating | Numeric 4 | Breaker nameplate interrupt rating, kilo-Amps
Balance of Plant | Year of Installation/manufacturing (Commissioning Date) | BoP_Unit_Installation_Date | yyyy | The Balance of Plant year of installation. If the year of installation is not known, the manufacturing year should be provided.
Balance of Plant | Megavoltampere (MVA) size of the main transformer(s) | Main_Trans_MVA_Size | Numeric 4 | Megavoltampere (MVA) size of the main transformer(s)
Balance of Plant | HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV | Numeric 4 | HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV | Numeric 4 | LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Second HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV2 | Numeric 4 | Second HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | Second LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV2 | Numeric 4 | Second LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Enter the type of MAIN transformer at the unit: | Main_Trans_Type | Numeric 1 | Indicates the type of MAIN transformer at the unit; 1- Single phase, 2- Three phase, 3- Other, describe | 1 -Single phase 2 - Three phase 3 - Other, describe

## Combined Cycle
System | Field Name | Column Name | Entry Type | Description | List Selection
General Information | NCR Number | NCR_No | Alpha-Numeric 10 | The NCR ID for the company name
General Information | Utility Code | Utility_Code | Alpha-Numeric 3 | NERC Utility Code
General Information | Unit Code | Unit_Code | Numeric 3 | NERC Unit Code
General Information | Block Name | Block_Name | Alpha-Numeric 50 | Utility name for CC Block Unit
General Information | Location of unit | Unit_Location | Alpha 3 | State/Providence abbreviation for the location of the unit
General Information | Energy Information Administration (EIA) Number | EIA_Plant_No | Numeric 5 | EIA Plant ID
General Information | Region | Region | Alpha 4 | ISO Region
General Information | Data Reporter Name | Data_Reprtr_Name | Alpha 50 | Contact name for data reporter
General Information | Data Reporter Telephone Number | Data_Reprtr_Phone | Alpha-Numeric 15 | Contact phone number for data reporter
General Information | Data Reporter Email | Data_Reprtr_Email | Alpha-Numeric 50 | Contact email for data reporter
General Information | Design Data Submission Date | Des_Data_Sub_Date | mm-dd-yyyy | Submission date for design data
General Information | Date the Unit Entered Service | Unit_Service_Date | yyyy | Unit service date; a) The date the unit was first declared available for dispatch at some level of its capability, OR b) The date the unit first operated at 50% of its generator nameplate megawatt capability (product of the megavoltamperes (MVA) and the rated power factor as stamped on the generator nameplate(s)).
General Information | Unit Loading Characteristics at Time of Unit’s Design | Unit_Load_Char | Numeric 1 | Unit loading characteristic | 1 – Base load with minor load following 2 – Periodic start-up, load follow daily, reduced load nightly 3 – Weekly start-up, load follow daily, reduced load nightly 4 – Daily start-up, load follow daily, off-line nightly 5 – Start-up chiefly to meet daily peaks 9 – Other, describe
Gas Turbine | Year of Installation/manufacturing (Commissioning Date) | GT_Unit_Installation_Date | yyyy | The year of installation for GT. If the year of installation is not known, the manufacturing year should be provided.
Gas Turbine | Gas turbine/jet engine nameplate rating in MW | Turbine_Nameplate_Rating | Numeric 4.2 | The nameplate rating in MW for the gas turbine/jet engine
Gas Turbine | Turbine/Engine Model Number | Eng_Model_No | Alpha-Numeric 15 | The model number of the gas turbine/jet engine
Gas Turbine | Type of Fuel(s) used | Fuel_Types | Alpha-Numeric 50 | The type of fuel(s) that will be used (liquids, gas…natural gas, other)
Gas Turbine | Cycle type | Cycle_Type | Numeric 1 | The type of cycle used by the GT/JE | 1 - Reheat 2 - Simple 3 - Regenerative 4 - Recuperative 5 - Intercooled 6 - Pre-cooled 7 - Complex 8 - Compound 9 - Other
Gas Turbine | Start-up system type | Startup_Sys_Type | Numeric 1 | The type of start-up system used by the GT/JE | 1 - Air 2 - Auxiliary motor 3 - Electric motor 4 - Natural gas 5 - Flow turbine 6 - Supercharging fan 7 - Hydraulic 8 - Not Used 9 - Other
Gas Turbine | Time in minutes for normal cold start to full load | Cold_Start_Time | Numeric 3 | The time in minutes from a normal first fire start until a full load
Gas Turbine | Time in minutes for emergency cold start to full load | Emer_Cold_Start_Time | Numeric 3 | The time in minutes from an emergency first fire start until a full load
Gas Turbine | Black start capability | Blk_Start_Capability | Numeric 1 | Indicates whether the unit has black start capability; 1-Yes, 2-No | 1 - Yes 2 -No
HRSG | Year of Installation/manufacturing (Commissioning Date) | Boiler_Unit_Installation_Date | yyyy | The year of installation for the boiler. If the year of installation is not known, the manufacturing year should be provided.
HRSG | Is 50% or more of the boiler outdoors (not enclosed in building framing and siding)? | Boiler_Outdoors | Numeric 1 | Is 50% or more of the boiler outdoors (not enclosed in building framing and siding)? 1 – Yes 2 – No | 1 - Yes 2 - No
HRSG | Steam Flow Rate (lbs/hr) | Steam_Flow_Rate | Numeric 5 | Steam Flow Rate (lbs/hr) for the MAIN STEAM LINES at full-load, valves-wide-open design point
HRSG | Design Temp (°F) | Design_Temp | Numeric 4 | Design Temp (°F) for the MAIN STEAM LINES at full-load, valves-wide-open design point
HRSG | Design Pressure (psig) | Design_Pressure | Numeric 4 | Design Temp (°F) for the MAIN STEAM LINES at full-load, valves-wide-open design point
HRSG | Duct Burner Primary Fuel | Duct_Burner_Primary_Fuel | Alpha 2 | Primary design fuels | PR - Propane LI - Lignite SL - Sludge Gas PE - Peat GE - Geothermal WD - Wood NU - Nuclear OO - Oil DI - Distillate Oil (#2) KE - Kerosene WH - Waste Heat JP - JP4 or JP5 OS - Other - Solid (Tons) OL - Other - Liquid (BBL) GG - Gas BC - Bituminous Coal SB - Sub-Bituminous Coal
HRSG | Duct Burner Secondary Fuel (if applicable) | Duct_Burner_Secondary_Fuel | Alpha 2 | Secondary design fuels | PR - Propane LI - Lignite SL - Sludge Gas PE - Peat GE - Geothermal WD - Wood NU - Nuclear OO - Oil DI - Distillate Oil (#2) KE - Kerosene WH - Waste Heat JP - JP4 or JP5 OS - Other - Solid (Tons) OL - Other - Liquid (BBL) GG - Gas BC - Bituminous Coal SB - Sub-Bituminous Coal
Steam Turbine | Year of Installation/manufacturing (Commissioning Date) | ST_Unit_Installation_Date | yyyy | The year of installation for the Steam Turbine. If the year of installation is not known, the manufacturing year should be provided.
Steam Turbine | Steam Turbine Outdoors | ST_Outdoors | Numeric 1 | Is 50% or more of the steam turbine outdoors (not enclosed in building framing and siding)? 1 – Yes 2 – No | 1 - Yes 2 - No
Steam Turbine | Steam Turbine Output (in MW) | ST_Output | Numeric 10.2 | Steam Turbine Output (in MW)
Auxiliary Systems | Type of cooling water used in the condenser | Type_Water | Numeric 1 | Enter the type of cooling water used in the condenser: | 1 – Fresh – salinity values less than 0.50 parts per thousand. 2 – Brackish – salinity value ranging from approximately 0.50 to 17 parts per thousand. 3 – Salt – salinity values greater than 17 parts per thousand. 9 – Other, describe
Auxiliary Systems | Origin of the circulating water used in the condenser: | Water_Origin | Numeric 1 | Enter the origin of the circulating water used in the condenser: | 1 – River 2 – Lake 3 – Ocean or Bay 9 – Other, describe
Auxiliary Systems | MINIMUM number of condensate pumps required to obtain maximum continuous output from the unit. | Min_No_Condensate_Pumps | Numeric 5 | MINIMUM number of condensate pumps required to obtain maximum continuous output from the unit.
Auxiliary Systems | TOTAL number of feedwater pumps | No_Feedwater_Pumps | Numeric 5 | TOTAL number of feedwater pumps; include installed spares.
Auxiliary Systems | MINIMUM number of feedwater pumps required to obtain maximum capacity from the unit. | Min_No_Feedwater_Pumps | Numeric 5 | MINIMUM number of feedwater pumps required to obtain maximum capacity from the unit.
Auxiliary Systems | TOTAL number of circulating water pumps | No_Cir_Water_Pumps | Numeric 5 | TOTAL number of circulating water pumps; include installed spares.
Auxiliary Systems | Type of cooling tower(s) used | Type_Cooling_Tower | Numeric 1 | Enter the type of cooling tower(s) used: | 1 – Mechanical draft (induced, forced, cross-flow and counterflow) – fan(s) used to move ambient air through the tower. 2 – Atmospheric spray – air movement is dependent on atmospheric conditions and the aspirating effect of the spray nozzles. 3 – Hyperbolic (natural draft) – temperature difference between condenser circulating water and ambient air conditions, aided by hyperbolic tower shape, creates natural draft of air through the tower to cool the water. 4 – Deck-filled – wetted surfaces such as tiers of splash bars or decks aid in the breakup and retention of water drops to increase the evaporation rate. 5 – Coil shed – a combination structure of a cooling tower installed over a substructure that houses atmospheric coils or sections. 9 – Other, describe
Generator | Year of Installation/manufacturing (Commissioning Date) | Gen_Unit_Installation_Date | yyyy | The year of installation for the generator. If the year of installation is not known, the manufacturing year should be provided.
Generator | Date of latest Rewind (or generator replacement) | New_Win_Date | yyyy | Service date of the latest rewind or generator replacement
Generator | Is 50% or more of the generator outdoors | Gen_Outdoors | Numeric 1 | Indicates whether or not 50% or more of the generators are outdoors | 1 - Yes 2 -No
Generator | Main Generator Nameplate | Main_Gen_Nameplate_Rating | Numeric 4.2 | Main generator nameplate rating, MW
Generator | Second Generator Nameplate | Sec_Gen_Nameplate_Rating | Numeric 4.2 | Second generator nameplate rating, MW
Generator | Third Generator Nameplate | Third_Gen_Nameplate_Rating | Numeric 4.2 | Third generator nameplate rating, MW
Generator | Generator Voltage tenth kV | Gen_Voltage | Numeric 4.1 | Generator voltage, tenth KV
Generator | Generator Capability, MVA | Gen_MVA | Numeric 4.2 | Generator Capability, MVA
Generator | Generator Speed (RPM) | Gen_RPM | Numeric 4 | Generator Speed (RPM)
Generator | Generator Power Factor (%) | Gen_PF | Numeric 2.2 | Generator Power Factor (%)
Generator | Single Excitation System or Redundant Excitation System | Excitation_Sys | Numeric 1 | Indicates whether the excitation system is single or redundant | 1 - Single 2 -Redundant
Generator | Enter the type of main exciter used at the unit | Exciter_Type | Numeric 1 | Indicates the type of main exciter used at the unit | 1 - Static – static excitation where dc is obtained by rectifying ac from generator terminals, and dc is fed into rotor by collector rings. 2 - Rotating dc generator – exciter supplies dc from a commutator into the main rotor by means of collector rings. 3 - Brushless – an ac (rotating armature type) exciter whose output is rectified by a semiconductor device to provide excitation to an electric machine. The semiconductor device would be mounted on and rotate with the ac exciter armature. 4 - Alternator rectifier 9 - Other, describe
Balance of Plant | Generator Synchronizing Breaker Interrupting Media Type (i.e.Vacuum, Oil, etc.) | Breaker_Inter_Media_Type | Numeric 1 | Indicates the type of breaker interrupting media type | 1 - Air/Air Blast (ACB) 2 - Oil (OCB) 3 - Vacuum (VCB) 4 - SF6/Gas (GCB) 9 - Other
Balance of Plant | Generator Synchronizing Breaker Nameplate Voltage, kV | Breaker_Nameplate_Voltage | Numeric 4 | Breaker nameplate voltage, kilo-Volts
Balance of Plant | Generator Synchronizing Breaker Nameplate Current Rating, kA | Breaker_Nameplate_Current | Numeric 4 | Breaker nameplate current, kilo-Amps
Balance of Plant | Generator Synchronizing Breaker Nameplate Interupt Rating, kA | Breaker_Nameplate_Inter_Rating | Numeric 4 | Breaker nameplate interrupt rating, kilo-Amps
Balance of Plant | Year of Installation/manufacturing (Commissioning Date) | BoP_Unit_Installation_Date | yyyy | The Balance of Plant year of installation. If the year of installation is not known, the manufacturing year should be provided.
Balance of Plant | Megavoltampere (MVA) size of the main transformer(s) | Main_Trans_MVA_Size | Numeric 4 | Megavoltampere (MVA) size of the main transformer(s)
Balance of Plant | HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV | Numeric 4 | HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV | Numeric 4 | LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Second HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV2 | Numeric 4 | Second HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | Second LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV2 | Numeric 4 | Second LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Enter the type of MAIN transformer at the unit: | Main_Trans_Type | Numeric 1 | Indicates the type of MAIN transformer at the unit; 1- Single phase, 2- Three phase, 3- Other, describe | 1 -Single phase 2 - Three phase 3 - Other, describe
Nox Reduction System | Gas Turbine Selective Non-Catalytic Reduction System (SNCR) | GT_SNCR | Numeric 1 | Yes/No; Does this unit include a GT SNCR? | 1 - Yes 2 -No
Nox Reduction System | Gas Turbine Selective Catalytic Reduction System (SCR ) | GT_SCR | Numeric 1 | Yes/No; Does this unit include a GT SCR? | 1 - Yes 2 -No
Nox Reduction System | Gas Turbine Catalytic Air Heaters (CAH ) | GT_CAH | Numeric 1 | Yes/No; Does this unit include a GT CAH? | 1 - Yes 2 -No
Nox Reduction System | Water Injection System | GT_WIS | Numeric 1 | Yes/No; Does this unit include a GT WIS? | 1 - Yes 2 -No

## Fossil Steam
System | Field Name | Column Name | Entry Type | Description | List Selection
General Information | NCR Number | NCR_No | Alpha-Numeric 10 | The NCR ID for the company name
General Information | Utility Code | Utility_Code | Alpha-Numeric 3 | NERC Utility Code
General Information | Unit Code | Unit_Code | Numeric 3 | NERC Unit Code
General Information | Location of unit | Unit_Location | Alpha 3 | State/Providence abbreviation for the location of the unit
General Information | Energy Information Administration (EIA) Number | EIA_Plant_No | Numeric 5 | EIA Plant ID
General Information | Region | Region | Alpha 4 | ISO Region
General Information | Data Reporter Name | Data_Reprtr_Name | Alpha 50 | Contact name for data reporter
General Information | Data Reporter Telephone Number | Data_Reprtr_Phone | Alpha-Numeric 15 | Contact phone number for data reporter
General Information | Data Reporter Email | Data_Reprtr_Email | Alpha-Numeric 50 | Contact email for data reporter
General Information | Design Data Submission Date | Des_Data_Sub_Date | mm-dd-yyyy | Submission date for design data
General Information | Date the Unit Entered Service | Unit_Service_Date | yyyy | Unit service date; a) The date the unit was first declared available for dispatch at some level of its capability, OR b) The date the unit first operated at 50% of its generator nameplate megawatt capability (product of the megavoltamperes (MVA) and the rated power factor as stamped on the generator nameplate(s)).
General Information | Unit Loading Characteristics at Time of Unit’s Design | Unit_Load_Char | Numeric 1 | Unit loading characteristic | 1 – Base load with minor load following 2 – Periodic start-up, load follow daily, reduced load nightly 3 – Weekly start-up, load follow daily, reduced load nightly 4 – Daily start-up, load follow daily, off-line nightly 5 – Start-up chiefly to meet daily peaks 9 – Other, describe
Boiler | Year of Installation/manufacturing (Commissioning Date) | Boiler_Unit_Installation_Date | yyyy | The year of installation for the boiler. If the year of installation is not known, the manufacturing year should be provided.
Boiler | Is 50% or more of the boiler outdoors (not enclosed in building framing and siding)? | Boiler_Outdoors | Numeric 1 | Is 50% or more of the boiler outdoors (not enclosed in building framing and siding)? 1 – Yes 2 – No | 1 - Yes 2 - No
Boiler | Steam Flow Rate (lbs/hr) | Steam_Flow_Rate | Numeric 5 | Steam Flow Rate (lbs/hr) for the MAIN STEAM LINES at full-load, valves-wide-open design point
Boiler | Design Temp (°F) | Design_Temp | Numeric 4 | Design Temp (°F) for the MAIN STEAM LINES at full-load, valves-wide-open design point
Boiler | Design Pressure (psig) | Design_Pressure | Numeric 4 | Design Temp (°F) for the MAIN STEAM LINES at full-load, valves-wide-open design point
Boiler | Enter the type of fuel firing system the unit was designed for: | Fuel_Firing_System_Type | Alpha 1 | The type of fuel firing system the unit was designed for | A – Front OR Back – wall-mounted burners on either the front OR the back of the furnace. B – Opposed – wall-mounted burners on BOTH the front and back of the furnace. C – Vertical – burners are mounted on the ceiling of the furnace. D – Tangential – firing from the corners of the furnace with burners capable of directing the fireball up or down. E – Cyclone – horizontal (burner) cylinders connected to furnace walls wherein fuel and air are combusted in a controlled environment. Combustion gases exit through re-entrant throat into furnace, and slag drains to slag tanks. Cyclone burners may be installed in either single walls or opposed walls. F – Concentric – staged combustion system, designed primarily for NO2 control, in which the walls are blanketed with air. G – Circulating fluidized bed – upward flow of air holds the fuel and sorbent particles (e.g., limestone) in suspension in the combustion zone. Partially burned fuel passes into a collector and is routed back into the combustion zone. H – Bubbling fluidized bed – similar to circulating fluidized bed except the partially burned fuel is not recirculated. I – Stoker – overfeed method combined with suspension firing.
Boiler | TOTAL number of primary air heaters. | No_Primary_Air_Heaters | Numeric 5 | TOTAL number of primary air heaters.
Boiler | Enter the type of primary air heater(s) at the unit: | Type_Primary_Air_Heater | Numeric 1 | The type of primary air heater(s) at the unit: | 1 – Regenerative (Ljungstrom) – rotating heat exchanger that continuously rotates sections (baskets) composed of metal plates from the hot flue gas furnace exit plenum to the furnace intake air plenums. 2 – Tubular – hot flue gas from the furnace is channeled through tubes (vertical or horizontal) where the heat is transferred to the furnace intake air passing across the outside of the tubes. 3 – Steam Coil – similar to tubular except steam is used to preheat the intake air. 4 – Regenerative (Rothemühle) 9 – Other, describe
Boiler | TOTAL number of secondary air heaters. | No_Secondary_Air_Heaters | Numeric 5 | TOTAL number of secondary air heaters.
Boiler | Enter the type of secondary air heater(s) at the unit: | Type_Secondary_Air_Heater | Numeric 1 | The type of secondary air heater(s) at the unit: | 1 – Regenerative (Ljungstrom) – rotating heat exchanger that continuously rotates sections (baskets) composed of metal plates from the hot flue gas furnace exit plenum to the furnace intake air plenums. 2 – Tubular – hot flue gas from the furnace is channeled through tubes (vertical or horizontal) where the heat is transferred to the furnace intake air passing across the outside of the tubes. 3 – Steam Coil – similar to tubular except steam is used to preheat the intake air. 4 – Regenerative (Rothemühle) 9 – Other, describe 0 - Unit does not have a secondary air heater
Boiler | Does the unit have a mechanical precipitator? | Mech_Prec_Location | Numeric 1 | Whether or not the unit has a mechanical precipitator. | Yes No
Boiler | Does the unit have an electrostatic precipitator? | Elec_Prec_Location | Numeric 1 | Whether or not the unit has an electrostatis precipitator. | Yes No
Boiler | Does the unit have a baghouse? | Baghouse | Numeric 1 | Whether or not the unit has a baghouse. | Yes No
Boiler | Does the unit have a fly ash removal system? | Type_Fly_Ash_Removal_Sys | Numeric 1 | Whether or not the unit has a fly ash removal system. | Yes No
Auxiliary Systems | Type of cooling water used in the condenser | Type_Water | Numeric 1 | Enter the type of cooling water used in the condenser: | 1 – Fresh – salinity values less than 0.50 parts per thousand. 2 – Brackish – salinity value ranging from approximately 0.50 to 17 parts per thousand. 3 – Salt – salinity values greater than 17 parts per thousand. 9 – Other, describe
Auxiliary Systems | Origin of the circulating water used in the condenser: | Water_Origin | Numeric 1 | Enter the origin of the circulating water used in the condenser: | 1 – River 2 – Lake 3 – Ocean or Bay 9 – Other, describe
Auxiliary Systems | TOTAL number of condensate pumps | No_Condensate_Pumps | Numeric 5 | TOTAL number of condensate pumps; include installed spares.
Auxiliary Systems | MINIMUM number of condensate pumps required to obtain maximum continuous output from the unit. | Min_No_Condensate_Pumps | Numeric 5 | MINIMUM number of condensate pumps required to obtain maximum continuous output from the unit.
Auxiliary Systems | TOTAL number of feedwater pumps | No_Feedwater_Pumps | Numeric 5 | TOTAL number of feedwater pumps; include installed spares.
Auxiliary Systems | MINIMUM number of feedwater pumps required to obtain maximum capacity from the unit. | Min_No_Feedwater_Pumps | Numeric 5 | MINIMUM number of feedwater pumps required to obtain maximum capacity from the unit.
Auxiliary Systems | Do you have a startup feedwater pump? | Startup_Feedwater_Pumps | Numeric 1 | Do you have a Startup Feedwater (Boiler Feed) Pump? 1 - Yes 2 - No | 1 - Yes 2 - No
Auxiliary Systems | TOTAL number of high pressure feedwater heaters per train. | No_High_Press_Heaters | Numeric 5 | TOTAL number of high pressure feedwater heaters.
Auxiliary Systems | TOTAL number of intermediate pressure feedwater heaters per train. | No_Int_Press_Heaters | Numeric 5 | TOTAL number of intermediate pressure feedwater heaters per train.
Auxiliary Systems | TOTAL number of low pressure feedwater heaters per train. | No_Low_Press_Heaters | Numeric 5 | TOTAL number of low pressure feedwater heaters per train.
Auxiliary Systems | TOTAL number of circulating water pumps | No_Cir_Water_Pumps | Numeric 5 | TOTAL number of circulating water pumps; include installed spares.
Auxiliary Systems | Type of cooling tower(s) used | Type_Cooling_Tower | Numeric 1 | Enter the type of cooling tower(s) used: | 1 – Mechanical draft (induced, forced, cross-flow and counterflow) – fan(s) used to move ambient air through the tower. 2 – Atmospheric spray – air movement is dependent on atmospheric conditions and the aspirating effect of the spray nozzles. 3 – Hyperbolic (natural draft) – temperature difference between condenser circulating water and ambient air conditions, aided by hyperbolic tower shape, creates natural draft of air through the tower to cool the water. 4 – Deck-filled – wetted surfaces such as tiers of splash bars or decks aid in the breakup and retention of water drops to increase the evaporation rate. 5 – Coil shed – a combination structure of a cooling tower installed over a substructure that houses atmospheric coils or sections. 9 – Other, describe
Auxiliary Systems | Do you have a start-up boiler? | Startup_Boiler | Numeric 1 | Do you have a start-up boiler? (Y/N)
Flue Gas DeSulferization | Date the FGD sytem was initally operated | FGD_Initial_Operation | yyyy | Enter the date the FGD system was initially operated: MM-DD-YYYY
Flue Gas DeSulferization | Was the FGD system a part of the original design of the unit? | Original_Design | Numeric 1 | Was the FGD system a part of the original design of the unit? A “no” answer means the FGD system was a retrofit after the unit entered service. 1-Yes 2-No | 1 - Yes 2 - No
Flue Gas DeSulferization | Are the FGD modules shared with another unit? | FGD_Models_Shared | Numeric 1 | Are the FGD modules shared with another unit? 1 – Yes 2 – No | 1 - Yes 2 - No
Flue Gas DeSulferization | Type combination of types of scrubber/absorber used on the unit | Scrubber_Absorber_Type | Numeric 1 | Enter the type combination of types of scrubber/absorber used on the unit: | 1 – Venturi – a conveying throat to accelerate the inlet flue gas to a higher velocity. 2 – Spray – an open gas absorption vessel in which scrubbing slurry is introduced into the gas stream from atomizing nozzles. 3 – Tray – tray(s) internal to the scrubber/absorber consists of a horizontal metal surface perforated with holes or slots mounted transversely across the vessel. 4 – Packed – a bed of stationary (static) or mobile (moving bed) packing, mounted transversely across the vessel. 5 – Combination – two or more of the above-noted designs used in the same tower. 9 – Other, describe
Flue Gas DeSulferization | TOTAL number of FGD fans | No_FGD_Fans | Numeric 5 | TOTAL number of FGD fans; include installed spares.
Flue Gas DeSulferization | MINIMUM number of FGD fans required to obtain maximum capacity from the unit. | Min_NO_FGD_Fans | Numeric 5 | MINIMUM number of FGD fans required to obtain maximum capacity from the unit.
Flue Gas DeSulferization | Location of the FGD fan(s) with respect to the FGD | FGD_Fan_Location | Numeric 1 | Enter the location of the FGD fan(s) with respect to the FGD: | 1- Before 2 - After
Fuel - Coal | Number of critical path coal conveyor systems available to the unit installed in the coal yard | No_Conveyer_Sys | Numeric 5 | Enter the Number of critical path coal conveyor systems available to the unit installed in the coal yard:
Fuel - Coal | TOTAL number of pulverizers or coal mills; include installed spares. | No_Pulverizers_or_Coal_Mills | Numeric 5 | TOTAL number of pulverizers or coal mills; include installed spares.
Fuel - Coal | MINIMUM number of pulverizers to maintain continuous maximum output without secondary fuel | Min_No_Pulverizers | Numeric 5 | MINIMUM number of pulverizers to maintain continuous maximum output without secondary fuel
Fuel - Coal | Type of pulverizer(s) or coal mill(s) at the unit | Type_Pulverizers_or_Coal_Mills | Numeric 1 | Enter the type of pulverizer(s) or coal mill(s) at the unit: | 1 – Ball – grinding elements are balls that operate freely in a race on a rotating grinding table. 2 – Roll race – rotating grinding table that moves coal through a series of rollers or wheels supported within the pulverizer or coal mill. 3 – Ball tube (Hardinge) – horizontal, rotating, grinding cylinder containing steel balls that move within the cylinder and grind or crush the coal. 4 – Impact (Attrition) – series of fixed or hinged hammers that rotate within a closed chamber impacting and crushing the coal. 9 – Other, describe
Fuel - Coal | Location of the mechanical precipitator with respect to the air heater | Mech_Prec_Location | Numeric 1 | Enter the location of the mechanical precipitator with respect to the air heater | 1 – Before air heaters 2 – After air heaters 3 – Both – precipitators installed both before and after the air heaters. 9 – Other, describe
Fuel - Coal | Location of the electrostatic precipitator with respect to the air heaters | Elec_Prec_Location | Numeric 1 | Enter the location of the electrostatic precipitator with respect to the air heaters: | 1 – Before air heaters 2 – After air heaters 3 – Both – precipitators installed both before and after the air heaters. 9 – Other, describe
Fuel - Coal | TOTAL number of baghouse booster fans installed on the unit. | No_Baghouse_Booster_Fans | Numeric 5 | TOTAL number of baghouse booster fans installed on the unit.
Fuel - Coal | Baghouse type | Baghouse_Type | Numeric 1 | Enter the baghouse type: | 1 – Reverse – clean flue gas is blown in the direction counter to normal operation to remove fly ash from the bag. 2 – Pulse (or pulse set) – short bursts of compressed air are blown into the bag to cause a momentary expansion of the bag to dislodge the entrapped fly ash. 3 – Shaker – the bag is literally shaken to remove the fly ash collected on its surface. 8 - none 9 – Other, describe
Fuel - Coal | Type of fly ash removal system | Type_Fly_Ash_Removal_Sys | Numeric 1 | Enter the type of fly ash removal system: | 1 – Vacuum – ash conveying system operates at a vacuum relative to the fly ash collection hoppers. 2 – Pressure – ash conveying system operates at a pressure greater than the pressure in the fly ash collection hoppers. 3 – Vacuum-pressure – employs the best features of both the vacuum and pressure systems. 4 – Water (sluice) – employs water to sluice the ash away from the hoppers. 5 – Vacuum and water slurry 9 – Other, describe
Steam Turbine | Year of Installation/manufacturing (Commissioning Date) | ST_Unit_Installation_Date | yyyy | The year of installation for the Steam Turbine. If the year of installation is not known, the manufacturing year should be provided.
Steam Turbine | Steam Turbine Outdoors | ST_Outdoors | Numeric 1 | Is 50% or more of the steam turbine outdoors (not enclosed in building framing and siding)? 1 – Yes 2 – No | 1 - Yes 2 - No
Steam Turbine | Steam Turbine Output (in MW) | ST_Output | Numeric 10.2 | Steam Turbine Output (in MW)
Generator | Year of Installation/manufacturing (Commissioning Date) | Gen_Unit_Installation_Date | yyyy | The year of installation for the generator. If the year of installation is not known, the manufacturing year should be provided.
Generator | Date of latest Rewind (or generator replacement) | New_Win_Date | yyyy | Service date of the latest rewind or generator replacement
Generator | Is 50% or more of the generator outdoors | Gen_Outdoors | Numeric 1 | Indicates whether or not 50% or more of the generators are outdoors | 1 - Yes 2 -No
Generator | Main Generator Nameplate | Main_Gen_Nameplate_Rating | Numeric 4.2 | Main generator nameplate rating, MW
Generator | Second Generator Nameplate | Sec_Gen_Nameplate_Rating | Numeric 4.2 | Second generator nameplate rating, MW
Generator | Third Generator Nameplate | Third_Gen_Nameplate_Rating | Numeric 4.2 | Third generator nameplate rating, MW
Generator | Generator Voltage tenth kV | Gen_Voltage | Numeric 4.1 | Generator voltage, tenth KV
Generator | Generator Capability, MVA | Gen_MVA | Numeric 4.2 | Generator Capability, MVA
Generator | Generator Speed (RPM) | Gen_RPM | Numeric 4 | Generator Speed (RPM)
Generator | Generator Power Factor (%) | Gen_PF | Numeric 2.2 | Generator Power Factor (%)
Generator | Single Excitation System or Redundant Excitation System | Excitation_Sys | Numeric 1 | Indicates whether the excitation system is single or redundant | 1 - Single 2 -Redundant
Generator | Enter the type of main exciter used at the unit | Exciter_Type | Numeric 1 | Indicates the type of main exciter used at the unit | 1 - Static – static excitation where dc is obtained by rectifying ac from generator terminals, and dc is fed into rotor by collector rings. 2 - Rotating dc generator – exciter supplies dc from a commutator into the main rotor by means of collector rings. 3 - Brushless – an ac (rotating armature type) exciter whose output is rectified by a semiconductor device to provide excitation to an electric machine. The semiconductor device would be mounted on and rotate with the ac exciter armature. 4 - Alternator rectifier 9 - Other, describe
Balance of Plant | Generator Synchronizing Breaker Interrupting Media Type (i.e.Vacuum, Oil, etc.) | Breaker_Inter_Media_Type | Numeric 1 | Indicates the type of breaker interrupting media type | 1 - Air/Air Blast (ACB) 2 - Oil (OCB) 3 - Vacuum (VCB) 4 - SF6/Gas (GCB) 9 - Other
Balance of Plant | Generator Synchronizing Breaker Nameplate Voltage, kV | Breaker_Nameplate_Voltage | Numeric 4 | Breaker nameplate voltage, kilo-Volts
Balance of Plant | Generator Synchronizing Breaker Nameplate Current Rating, kA | Breaker_Nameplate_Current | Numeric 4 | Breaker nameplate current, kilo-Amps
Balance of Plant | Generator Synchronizing Breaker Nameplate Interupt Rating, kA | Breaker_Nameplate_Inter_Rating | Numeric 4 | Breaker nameplate interrupt rating, kilo-Amps
Balance of Plant | Year of Installation/manufacturing (Commissioning Date) | BoP_Unit_Installation_Date | yyyy | The Balance of Plant year of installation. If the year of installation is not known, the manufacturing year should be provided.
Balance of Plant | Megavoltampere (MVA) size of the main transformer(s) | Main_Trans_MVA_Size | Numeric 4 | Megavoltampere (MVA) size of the main transformer(s)
Balance of Plant | HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV | Numeric 4 | HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV | Numeric 4 | LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Second HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV2 | Numeric 4 | Second HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | Second LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV2 | Numeric 4 | Second LOW SIDE voltage of the main transformer(s), kV | 1 - Yes 2 - No
Balance of Plant | Enter the type of MAIN transformer at the unit: | Main_Trans_Type | Numeric 1 | Indicates the type of MAIN transformer at the unit; 1- Single phase, 2- Three phase, 3- Other, describe | 1 -Single phase 2 - Three phase 3 - Other, describe
Nox Reduction System | Gas Turbine Selective Non-Catalytic Reduction System (SNCR) | GT_SNCR | Numeric 1 | Yes/No; Does this unit include a GT SNCR? | 1 - Yes 2 -No
Nox Reduction System | Gas Turbine Selective Catalytic Reduction System (SCR ) | GT_SCR | Numeric 1 | Yes/No; Does this unit include a GT SCR? | 1 - Yes 2 -No
Nox Reduction System | Gas Turbine Catalytic Air Heaters (CAH ) | GT_CAH | Numeric 1 | Yes/No; Does this unit include a GT CAH? | 1 - Yes 2 -No
Nox Reduction System | Water Injection System | GT_WIS | Numeric 1 | Yes/No; Does this unit include a GT WIS? | 1 - Yes 2 -No

## Internal Combustion Recip Eng.
System | Field Name | Column Name | Entry Type | Description | List Selection
General Information | NCR Number | NCR_No | Alpha-Numeric 10 | The NCR ID for the company name
General Information | Utility Code | Utility_Code | Alpha-Numeric 3 | NERC Utility Code
General Information | Unit Code | Unit_Code | Numeric 3 | NERC Unit Code
General Information | Location of unit | Unit_Location | Alpha 3 | State/Providence abbreviation for the location of the unit
General Information | Energy Information Administration (EIA) Number | EIA_Plant_No | Numeric 5 | EIA Plant ID
General Information | Region | Region | Alpha 4 | ISO Region
General Information | Data Reporter Name | Data_Reprtr_Name | Alpha 50 | Contact name for data reporter
General Information | Data Reporter Telephone Number | Data_Reprtr_Phone | Alpha-Numeric 15 | Contact phone number for data reporter
General Information | Data Reporter Email | Data_Reprtr_Email | Alpha-Numeric 50 | Contact email for data reporter
General Information | Design Data Submission Date | Des_Data_Sub_Date | mm-dd-yyyy | Submission date for design data
General Information | Date the Unit Entered Service | Unit_Service_Date | yyyy | Unit service date; a) The date the unit was first declared available for dispatch at some level of its capability, OR b) The date the unit first operated at 50% of its generator nameplate megawatt capability (product of the megavoltamperes (MVA) and the rated power factor as stamped on the generator nameplate(s)).
General Information | Unit Loading Characteristics at Time of Unit’s Design | Unit_Load_Char | Numeric 1 | Unit loading characteristic | 1 – Base load with minor load following 2 – Periodic start-up, load follow daily, reduced load nightly 3 – Weekly start-up, load follow daily, reduced load nightly 4 – Daily start-up, load follow daily, off-line nightly 5 – Start-up chiefly to meet daily peaks 9 – Other, describe
Engine | Year of Installation/manufacturing (Commissioning Date) | Eng_Unit_Installation_Date | yyyy | The year of installation for the Engine. If the year of installation is not known, the manufacturing year should be provided.
Engine | Engine nameplate rating in MW | Eng_Nameplate_Rating | Numeric 4.2 | The nameplate rating in MW for the engine
Engine | Engine Model Number | Eng_Model_No | Alpha-Numeric 15 | The model number of the engine
Engine | Type of Fuel(s) used | Fuel_Types | Alpha-Numeric 50 | The type of fuel(s) that will be used (liquids, gas…natural gas, other)
Engine | Number of Cylinders | No_Cylinders | Numeric 2 | Number of cylinders used in the engine
Engine | Black start capability | Blk_Start_Capability | Numeric 1 | Indicates whether the unit has black start capability; 1-Yes, 2-No | 1 - Yes 2 -No
Nox Reduction System | Engine Selective Non-Catalytic Reduction System (SNCR) | Eng_SNCR | Numeric 1 | Yes/No; Does this unit include an engine SNCR? | 1 - Yes 2 -No
Nox Reduction System | Engine Selective Catalytic Reduction System (SCR ) | Eng_SCR | Numeric 1 | Yes/No; Does this unit include an engine SCR? | 1 - Yes 2 -No
Nox Reduction System | Engine Catalytic Air Heaters (CAH ) | Eng_CAH | Numeric 1 | Yes/No; Does this unit include an engine CAH? | 1 - Yes 2 -No
Nox Reduction System | Water Injection System | Eng_WIS | Numeric 1 | Yes/No; Does this unit include an engine WIS? | 1 - Yes 2 -No
Generator | Year of Installation/manufacturing (Commissioning Date) | Gen_Unit_Installation_Date | yyyy | The year of installation for the generator. If the year of installation is not known, the manufacturing year should be provided.
Generator | Date of latest Rewind (or generator replacement) | New_Win_Date | yyyy | Service date of the latest rewind or generator replacement
Generator | Is 50% or more of the generator outdoors | Gen_Outdoors | Numeric 1 | Indicates whether or not 50% or more of the generators are outdoors | 1 - Yes 2 -No
Generator | Main Generator Nameplate | Main_Gen_Nameplate_Rating | Numeric 4.2 | Main generator nameplate rating, MW
Generator | Second Generator Nameplate | Sec_Gen_Nameplate_Rating | Numeric 4.2 | Second generator nameplate rating, MW
Generator | Third Generator Nameplate | Third_Gen_Nameplate_Rating | Numeric 4.2 | Third generator nameplate rating, MW
Generator | Generator Voltage tenth kV | Gen_Voltage | Numeric 4.1 | Generator voltage, tenth KV
Generator | Generator Capability, MVA | Gen_MVA | Numeric 4.2 | Generator Capability, MVA
Generator | Generator Speed (RPM) | Gen_RPM | Numeric 4 | Generator Speed (RPM)
Generator | Generator Power Factor (%) | Gen_PF | Numeric 2.2 | Generator Power Factor (%)
Generator | Single Excitation System or Redundant Excitation System | Excitation_Sys | Numeric 1 | Indicates whether the excitation system is single or redundant | 1 - Single 2 -Redundant
Generator | Enter the type of main exciter used at the unit | Exciter_Type | Numeric 1 | Indicates the type of main exciter used at the unit | 1 - Static – static excitation where dc is obtained by rectifying ac from generator terminals, and dc is fed into rotor by collector rings. 2 - Rotating dc generator – exciter supplies dc from a commutator into the main rotor by means of collector rings. 3 - Brushless – an ac (rotating armature type) exciter whose output is rectified by a semiconductor device to provide excitation to an electric machine. The semiconductor device would be mounted on and rotate with the ac exciter armature. 4 - Alternator rectifier 9 - Other, describe
Balance of Plant | Generator Synchronizing Breaker Interrupting Media Type (i.e.Vacuum, Oil, etc.) | Breaker_Inter_Media_Type | Numeric 1 | Indicates the type of breaker interrupting media type | 1 - Air/Air Blast (ACB) 2 - Oil (OCB) 3 - Vacuum (VCB) 4 - SF6/Gas (GCB) 9 - Other
Balance of Plant | Generator Synchronizing Breaker Nameplate Voltage, kV | Breaker_Nameplate_Voltage | Numeric 4 | Breaker nameplate voltage, kilo-Volts
Balance of Plant | Generator Synchronizing Breaker Nameplate Current Rating, kA | Breaker_Nameplate_Current | Numeric 4 | Breaker nameplate current, kilo-Amps
Balance of Plant | Generator Synchronizing Breaker Nameplate Interupt Rating, kA | Breaker_Nameplate_Inter_Rating | Numeric 4 | Breaker nameplate interrupt rating, kilo-Amps
Balance of Plant | Year of Installation/manufacturing (Commissioning Date) | BoP_Unit_Installation_Date | yyyy | The Balance of Plant year of installation. If the year of installation is not known, the manufacturing year should be provided.
Balance of Plant | Megavoltampere (MVA) size of the main transformer(s) | Main_Trans_MVA_Size | Numeric 4 | Megavoltampere (MVA) size of the main transformer(s)
Balance of Plant | HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV | Numeric 4 | HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV | Numeric 4 | LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Second HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV2 | Numeric 4 | Second HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | Second LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV2 | Numeric 4 | Second LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Enter the type of MAIN transformer at the unit: | Main_Trans_Type | Numeric 1 | Indicates the type of MAIN transformer at the unit; 1- Single phase, 2- Three phase, 3- Other, describe | 1 -Single phase 2 - Three phase 3 - Other, describe

## Hydro&Pumped Storage
System | Field Name | Column Name | Entry Type | Description | List Selections
General Information | NCR Number | NCR_No | Alpha-Numeric 10 | The NCR ID for the company name
General Information | Utility Code | Utility_Code | Alpha-Numeric 3 | NERC Utility Code
General Information | Unit Code | Unit_Code | Numeric 3 | NERC Unit Code
General Information | Location of unit | Unit_Location | Alpha 3 | State/Providence abbreviation for the location of the unit
General Information | Energy Information Administration (EIA) Number | EIA_Plant_No | Numeric 5 | EIA Plant ID
General Information | Region | Region | Alpha 4 | ISO Region
General Information | Data Reporter Name | Data_Reprtr_Name | Alpha 50 | Contact name for data reporter
General Information | Data Reporter Telephone Number | Data_Reprtr_Phone | Alpha-Numeric 15 | Contact phone number for data reporter
General Information | Data Reporter Email | Data_Reprtr_Email | Alpha-Numeric 50 | Contact email for data reporter
General Information | Design Data Submission Date | Des_Data_Sub_Date | mm-dd-yyyy | Submission date for design data
General Information | Date the Unit Entered Service | Unit_Service_Date | yyyy | Unit service date; a) The date the unit was first declared available for dispatch at some level of its capability, OR b) The date the unit first operated at 50% of its generator nameplate megawatt capability (product of the megavoltamperes (MVA) and the rated power factor as stamped on the generator nameplate(s)).
General Information | Unit Loading Characteristics at Time of Unit’s Design | Unit_Load_Char | Numeric 1 | Unit loading characteristic | 1 – Base load with minor load following 2 – Periodic start-up, load follow daily, reduced load nightly 3 – Weekly start-up, load follow daily, reduced load nightly 4 – Daily start-up, load follow daily, off-line nightly 5 – Start-up chiefly to meet daily peaks 9 – Other, describe
Turbine | Year of Installation/manufacturing (Commissioning Date) | Turbine_Installation_Date | yyyy | The year of installation for the Turbine. If the year of installation is not known, the manufacturing year should be provided.
Turbine | Hydro Turbine Orientation | HT_Orientation | Numeric 1 | Is Hydro Turbine horizontal, vertical, or inclined? | 1 - Horizontal 2 - Vertical 3 - Other
Turbine | Hydro Turbine Configuration | HT_Config | Numeric 1 | Is the configuration single, double, quad, etc? | 1 - Single 2 - Twin (Double) 3 - Triplex 4 - Double Discharge Quad 9 - Other
Turbine | Hydro Turbine Type | HT_Type | Numeric 1 | What is the Turbine type? | 1 - Francis 2 - Kaplan - Adjustable Blade Propeller 3 - Fixed Blade Propeller 4 - Pump Turbine 5 - Mixed Flow 6 - Impulse 9 - Other
Turbine | Turbine Head (ft) | HT_Head | Numeric 5 | Rated Head to the nearest foot
Turbine | Turbine Speed (RPM) | HT_Speed | Numeric 5 | Turbine Speed (RPM)
Turbine | Turbine Rated Output (MW) | HT_Output | Numeric 5.3 | Turbine Rated Output (MW)
Turbine | Unit Sync Condense | Unit_Sync_Condense | Numeric 1 | Is Unit Sync Condense Enabled? | 1 - Yes 2 - No
Turbine | Automatic Generation Control (AGC) | HT_AGC | Numeric 1 | Is the unit set up for Automatic Generation Control (AGC) This is control from a remote source that increases or decreases the ouput of the unit in order to achieve system performance requirements. (i.e. load following, | 1 - Yes 2 - No
Pump-Turbine or Impeller | Pump-Turbine Impeller Installed | PI_Installed | Numeric | Does the unit have a Pump-Turbine or Impeller? If No, all other Pump-Turbine or Impeller fields are excluded. | 1-Yes 2-No
Pump-Turbine or Impeller | Year of Installation/manufacturing (Commissioning Date) | Impeller_Installation_Date | yyyy | The year of installation for the Impeller. If the year of installation is not known, the manufacturing year should be provided.
Pump-Turbine or Impeller | Pump-Turbine or Impeller Type | PI_Type | Numeric 1 | What is the Turbine type? | 1 - Impeller 2- Pump-Turbine 9 - Other
Pump-Turbine or Impeller | Turbine Head (ft) | PI_Head | Numeric 5 | Rated Head to the nearest foot
Pump-Turbine or Impeller | Pump Speed (RPM) | PI_Speed | Numeric 5 | Pump Speed (RPM)
Pump-Turbine or Impeller | Pump Rated Load (MW) | PI_Load | Numeric 5.3 | Pump Rated Load (MW)
Pump-Turbine or Impeller | Unit Sync Condense | Unit_Sync_Condense | Numeric 1 | Is Unit Sync Condense Enabled? | 1 - Yes 2 - No
Generator | Year of Installation/manufacturing (Commissioning Date) | Gen_Unit_Installation_Date | yyyy | The year of installation for the generator. If the year of installation is not known, the manufacturing year should be provided.
Generator | Date of latest Rewind (or generator replacement) | New_Win_Date | yyyy | Service date of the latest rewind or generator replacement
Generator | Is 50% or more of the generator outdoors | Gen_Outdoors | Numeric 1 | Indicates whether or not 50% or more of the generators are outdoors | 1 - Yes 2 -No
Generator | Main Generator Nameplate | Main_Gen_Nameplate_Rating | Numeric 4.2 | Main generator nameplate rating, MW
Generator | Second Generator Nameplate | Sec_Gen_Nameplate_Rating | Numeric 4.2 | Second generator nameplate rating, MW
Generator | Third Generator Nameplate | Third_Gen_Nameplate_Rating | Numeric 4.2 | Third generator nameplate rating, MW
Generator | Generator Voltage tenth kV | Gen_Voltage | Numeric 4.1 | Generator voltage, tenth KV
Generator | Generator Capability, MVA | Gen_MVA | Numeric 4.2 | Generator Capability, MVA
Generator | Generator Speed (RPM) | Gen_RPM | Numeric 4 | Generator Speed (RPM)
Generator | Generator Power Factor (%) | Gen_PF | Numeric 2.2 | Generator Power Factor (%)
Generator | Single Excitation System or Redundant Excitation System | Excitation_Sys | Numeric 1 | Indicates whether the excitation system is single or redundant | 1 - Single 2 -Redundant
Generator | Enter the type of main exciter used at the unit | Exciter_Type | Numeric 1 | Indicates the type of main exciter used at the unit | 1 - Static – static excitation where dc is obtained by rectifying ac from generator terminals, and dc is fed into rotor by collector rings. 2 - Rotating dc generator – exciter supplies dc from a commutator into the main rotor by means of collector rings. 3 - Brushless – an ac (rotating armature type) exciter whose output is rectified by a semiconductor device to provide excitation to an electric machine. The semiconductor device would be mounted on and rotate with the ac exciter armature. 4 - Alternator rectifier 9 - Other, describe
Balance of Plant | Generator Synchronizing Breaker Interrupting Media Type (i.e.Vacuum, Oil, etc.) | Breaker_Inter_Media_Type | Numeric 1 | Indicates the type of breaker interrupting media type | 1 - Air/Air Blast (ACB) 2 - Oil (OCB) 3 - Vacuum (VCB) 4 - SF6/Gas (GCB) 9 - Other
Balance of Plant | Generator Synchronizing Breaker Nameplate Voltage, kV | Breaker_Nameplate_Voltage | Numeric 4 | Breaker nameplate voltage, kilo-Volts
Balance of Plant | Generator Synchronizing Breaker Nameplate Current Rating, kA | Breaker_Nameplate_Current | Numeric 4 | Breaker nameplate current, kilo-Amps
Balance of Plant | Generator Synchronizing Breaker Nameplate Interupt Rating, kA | Breaker_Nameplate_Inter_Rating | Numeric 4 | Breaker nameplate interrupt rating, kilo-Amps
Balance of Plant | Year of Installation/manufacturing (Commissioning Date) | BoP_Unit_Installation_Date | yyyy | The Balance of Plant year of installation. If the year of installation is not known, the manufacturing year should be provided.
Balance of Plant | Megavoltampere (MVA) size of the main transformer(s) | Main_Trans_MVA_Size | Numeric 4 | Megavoltampere (MVA) size of the main transformer(s)
Balance of Plant | HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV | Numeric 4 | HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV | Numeric 4 | LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Second HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV2 | Numeric 4 | Second HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | Second LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV2 | Numeric 4 | Second LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Enter the type of MAIN transformer at the unit: | Main_Trans_Type | Numeric 1 | Indicates the type of MAIN transformer at the unit; 1- Single phase, 2- Three phase, 3- Other, describe | 1 -Single phase 2 - Three phase 3 - Other, describe

## Fluidized Bed
System | Field Name | Column Name | Entry Type | Description | List Selections
General Information | NCR Number | NCR_No | Alpha-Numeric 10 | The NCR ID for the company name
General Information | Utility Code | Utility_Code | Numeric 3 | Utility code
General Information | Unit Code | Unit_Code | Numeric 3 | NERC Unit Code
General Information | Location of unit | Unit_Location | Alpha 3 | State/Providence abbreviation for the location of the unit
General Information | Energy Information Administration (EIA) Number | EIA_Plant_No | Numeric 5 | EIA Plant ID
General Information | Region | Region | Alpha 4 | ISO Region
General Information | Data Reporter Name | Data_Reprtr_Name | Alpha 50 | Contact name for data reporter
General Information | Data Reporter Telephone Number | Data_Reprtr_Phone | Alpha-Numeric 15 | Contact phone number for data reporter
General Information | Data Reporter Email | Data_Reprtr_Email | Alpha-Numeric 50 | Contact email for data reporter
General Information | Design Data Submission Date | Des_Data_Sub_Date | mm-dd-yyyy | Submission date for design data
General Information | Date the Unit Entered Service | Unit_Service_Date | yyyy | Unit service date; a) The date the unit was first declared available for dispatch at some level of its capability, OR b) The date the unit first operated at 50% of its generator nameplate megawatt capability (product of the megavoltamperes (MVA) and the rated power factor as stamped on the generator nameplate(s)).
General Information | Unit Loading Characteristics at Time of Unit’s Design | Unit_Load_Char | Numeric 1 | Unit loading characteristic | 1 – Base load with minor load following 2 – Periodic start-up, load follow daily, reduced load nightly 3 – Weekly start-up, load follow daily, reduced load nightly 4 – Daily start-up, load follow daily, off-line nightly 5 – Start-up chiefly to meet daily peaks 9 – Other, describe
Fluidized Bed Boiler | Year of Installation/manufacturing (Commissioning Date) | Boiler_Unit_Installation_Date | yyyy | The year of installation for the boiler. If the year of installation is not known, the manufacturing year should be provided.
Fluidized Bed Boiler | Is 50% or more of the boiler outdoors (not enclosed in building framing and siding)? | Boiler_Outdoors | Numeric 1 | Is 50% or more of the boiler outdoors (not enclosed in building framing and siding)? 1 – Yes 2 – No | 1 - Yes 2 - No
Fluidized Bed Boiler | Steam Flow Rate (lbs/hr) | Steam_Flow_Rate | Numeric 5 | Steam Flow Rate (lbs/hr) for the MAIN STEAM LINES at full-load, valves-wide-open design point
Fluidized Bed Boiler | Design Temp (°F) | Design_Temp | Numeric 4 | Design Temp (°F) for the MAIN STEAM LINES at full-load, valves-wide-open design point
Fluidized Bed Boiler | Design Pressure (psig) | Design_Pressure | Numeric 4 | Design Temp (°F) for the MAIN STEAM LINES at full-load, valves-wide-open design point
Fluidized Bed Boiler | Bed material injection system | Bed_Mat_Inj_Sys | Numeric 1 | What is the bed material injection system? | 1 - Gravemetric Feeders 2 - Volumetric Feeders 3 - Pnuematic Feeders
Fluidized Bed Boiler | TOTAL number of forced draft fans | No_Forced_Draft_Fans | Numeric 5 | TOTAL number of forced draft fans; include installed spares.
Fluidized Bed Boiler | Enter the type of forced draft fan drives(s) at the unit: | Type_Forced_Draft_Fan_Drive | Numeric 1 | The type of forced draft fan drives(s) at the unit | 1 – Single speed motor 2 – Two speed motor 3 – Variable speed motor 4 – Steam turbine 9 – Other, describe
Fluidized Bed Boiler | TOTAL number of induced draft fans; include installed spares. | No_Induced_Draft_Fans | Numeric 5 | TOTAL number of induced draft fans; include installed spares.
Fluidized Bed Boiler | TOTAL number of gas recirculating fans; include installed spares. | No_Gas_Recirculating_Fans | Numeric 5 | TOTAL number of gas recirculating fans; include installed spares.
Fluidized Bed Boiler | TOTAL number of primary air heaters. | No_Primary_Air_Heaters | Numeric 5 | TOTAL number of primary air heaters.
Fluidized Bed Boiler | Enter the type of primary air heater(s) at the unit: | Type_Primary_Air_Heater | Numeric 1 | The type of primary air heater(s) at the unit: | 1 – Regenerative (Ljungstrom) – rotating heat exchanger that continuously rotates sections (baskets) composed of metal plates from the hot flue gas furnace exit plenum to the furnace intake air plenums. 2 – Tubular – hot flue gas from the furnace is channeled through tubes (vertical or horizontal) where the heat is transferred to the furnace intake air passing across the outside of the tubes. 3 – Steam Coil – similar to tubular except steam is used to preheat the intake air. 4 – Regenerative (Rothemühle) 9 – Other, describe
Fluidized Bed Boiler | TOTAL number of secondary air heaters. | No_Secondary_Air_Heaters | Numeric 5 | TOTAL number of secondary air heaters.
Fluidized Bed Boiler | Enter the type of secondary air heater(s) at the unit: | Type_Secondary_Air_Heater | Numeric 1 | The type of secondary air heater(s) at the unit: | 1 – Regenerative (Ljungstrom) – rotating heat exchanger that continuously rotates sections (baskets) composed of metal plates from the hot flue gas furnace exit plenum to the furnace intake air plenums. 2 – Tubular – hot flue gas from the furnace is channeled through tubes (vertical or horizontal) where the heat is transferred to the furnace intake air passing across the outside of the tubes. 3 – Steam Coil – similar to tubular except steam is used to preheat the intake air. 4 – Regenerative (Rothemühle) 9 – Other, describe 0 - Unit does not have a secondary air heater
Fluidized Bed Boiler | Does the unit have a mechanical precipitator? | Mech_Prec_Location | Numeric 1 | Whether or not the unit has a mechanical precipitator. | Yes No
Fluidized Bed Boiler | Does the unit have an electrostatic precipitator? | Elec_Prec_Location | Numeric 1 | Whether or not the unit has an electrostatis precipitator. | Yes No
Fluidized Bed Boiler | TOTAL number of baghouse booster fans installed on the unit. | No_Baghouse_Booster_Fans | Numeric 5 | TOTAL number of baghouse booster fans installed on the unit.
Fluidized Bed Boiler | Does the unit have a baghouse? | Baghouse | Numeric 1 | Whether or not the unit has a baghouse. | Yes No
Fluidized Bed Boiler | Does the unit have a fly ash removal system? | Type_Fly_Ash_Removal_Sys | Numeric 1 | Whether or not the unit has a fly ash removal system. | Yes No
Fuel - Fluidized Bed | Method of feeding the solid fuel into the boiler | Fuel_Feeding_Method | Numeric 1 | Enter the method of feeding the solid fuel into the boiler | 1 - Over-bed feed (BFB) - injection of the solids above the fluidized bed into a slightly negative pressure enviornment where the solids then fall into the fluidized bed. 2 - Under-bed feed (BFB) –injection of solids through multiple points to the bottom of the fluidized bed into a positive pressure environment. 3 - Both over–bed and under-bed feed (BFB) -combination of the two above. 4 - Within-bed feed (CFB) -injection of solids through a few feed points to the fluidized bed into a positive pressure environment. (This refers to the method of fuel feed in a circulating bed.) 9 – Other, describe
Fuel - Fluidized Bed | Method of feeding the sorbent into the boiler | Sorbent_Feeding_Method | Numeric 1 | Enter the method of feeding the sorbent into the boiler | 1 - Over-bed feed (BFB) - injection of the solids above the fluidized bed into a slightly negative pressure enviornment where the solids then fall into the fluidized bed. 2 - Under-bed feed (BFB) –injection of solids through multiple points to the bottom of the fluidized bed into a positive pressure environment. 3 - Both over–bed and under-bed feed (BFB) -combination of the two above. 4 - Within-bed feed (CFB) -injection of solids through a few feed points to the fluidized bed into a positive pressure environment. (This refers to the method of fuel feed in a circulating bed.) 9 – Other, describe
Fuel - Fluidized Bed | Feed with fuel | Feed_With_Fuel | Numeric 1 | Feed with fuel | 1 - Yes 2 - No
Fuel - Fluidized Bed | Method of feeding the bed material into the boiler | Bed_Mat_Feeding_Method | Numeric 1 | Enter the method of feeding the bed material into the boiler | 1 - Over-bed feed (BFB) - injection of the solids above the fluidized bed into a slightly negative pressure enviornment where the solids then fall into the fluidized bed. 2 - Under-bed feed (BFB) –injection of solids through multiple points to the bottom of the fluidized bed into a positive pressure environment. 3 - Both over–bed and under-bed feed (BFB) -combination of the two above. 4 - Within-bed feed (CFB) -injection of solids through a few feed points to the fluidized bed into a positive pressure environment. (This refers to the method of fuel feed in a circulating bed.) 9 – Other, describe
Fuel - Fluidized Bed | Primary Fuel | Primary_Fuel | Alpha 2 | The PRIMARY fuel is defined as that fuel primarily used to sustain load on the unit, (i.e., the first fuel of choice for either economic or control reasons) or that fuel contributing 50% or more of the load-carrying Btu. | BM - Biomass CC - Coal DI - Distiallate Oil (no. 2) GE - Geothermal GG - Gas JP - JP4 or JP5 KE - Kerosene LI - Lignite NU - Nuclear OG - Other Gas (Cu Ft) OL - Other Liquid (BBL) OO - Oil OS - Other Solid (Tons) PC - Petroleum Coke PE - Peat PR - Propane SL - Sludge Gas SO- Solar WA - Water WD - Wood WH - Waste Heat WM - Wind
Fuel - Fluidized Bed | Secondary Fuel | Secondary_Fuel | Alpha 2 | The SECONDARY fuel is that normally used to sustain load if the PRIMARY fuel is unavailable or uneconomical | BM - Biomass CC - Coal DI - Distiallate Oil (no. 2) GE - Geothermal GG - Gas JP - JP4 or JP5 KE - Kerosene LI - Lignite NU - Nuclear OG - Other Gas (Cu Ft) OL - Other Liquid (BBL) OO - Oil OS - Other Solid (Tons) PC - Petroleum Coke PE - Peat PR - Propane SL - Sludge Gas SO- Solar WA - Water WD - Wood WH - Waste Heat WM - Wind
Fuel - Fluidized Bed | Material Type | Material_Type | Alpha-Numeric 50 | Sorbent is a material (usually a limestone or dolomite) that is fed into the combustor with the solid fuel (coal) thereby reducing the SO2 that is released during the combustion process.Non-sorbent is a material other than sorbent that is used to build the bed.
Fuel - Fluidized Bed | Screened | Screened | Numeric 1 | Is it screened? | 1 - Yes 2 - No
Fuel - Fluidized Bed | Solid fuel crushing system | Solid_Fuel_Crusher | Numeric 1 | Does the unit use a solid fuel crushing system to supply fuel to the boiler? | 1 - Yes 2 - No
Fuel - Fluidized Bed | Type of solid fuel crushing system | Type_Solid_Fuel_Crusher | Alpha-Numeric 30 | Type of solid fuel crusher (i.e. Hog, Crusher, Mill)?
Fuel - Fluidized Bed | Char Reinjection System | Char_Reinjection_Sys | Numeric 1 | Does the unit have a Char reinjection system? | 1 - Yes 2 - No
Auxiliary Systems | Type of cooling water used in the condenser | Type_Water | Numeric 1 | Enter the type of cooling water used in the condenser: | 1 – Fresh – salinity values less than 0.50 parts per thousand. 2 – Brackish – salinity value ranging from approximately 0.50 to 17 parts per thousand. 3 – Salt – salinity values greater than 17 parts per thousand. 9 – Other, describe
Auxiliary Systems | TOTAL number of condensate pumps | No_Condensate_Pumps | Numeric 5 | TOTAL number of condensate pumps; include installed spares.
Auxiliary Systems | MINIMUM number of condensate pumps required to obtain maximum continuous output from the unit. | Min_No_Condensate_Pumps | Numeric 5 | MINIMUM number of condensate pumps required to obtain maximum continuous output from the unit.
Auxiliary Systems | TOTAL number of feedwater pumps | No_Feedwater_Pumps | Numeric 5 | TOTAL number of feedwater pumps; include installed spares.
Auxiliary Systems | MINIMUM number of feedwater pumps required to obtain maximum capacity from the unit. | Min_No_Feedwater_Pumps | Numeric 5 | MINIMUM number of feedwater pumps required to obtain maximum capacity from the unit.
Auxiliary Systems | Do you have a startup feedwater pump? | Startup_Feedwater_Pumps | Numeric 1 | Do you have a Startup Feedwater (Boiler Feed) Pump? 1 - Yes 2 - No | 1 - Yes 2 - No
Auxiliary Systems | Capabilities of the startup feedwater pump, if applicable | Cap_Startup_Feedwater_Pump | Numeric 1 | If yes, indicate the capabilities of the startup feedwater pump: | 1 – ADDITIVE: operated in conjunction with the feedwater (boiler feed) pumps. 2 – REPLACEMENT: can carry load when the feedwater pumps are inoperative. 3 – STARTUP only: cannot be used in lieu of the feedwater pumps. 9 – Other, describe
Auxiliary Systems | TOTAL number of high pressure feedwater heaters per train. | No_High_Press_Heaters | Numeric 5 | TOTAL number of high pressure feedwater heaters.
Auxiliary Systems | TOTAL number of intermediate pressure feedwater heaters per train. | No_Int_Press_Heaters | Numeric 5 | TOTAL number of intermediate pressure feedwater heaters per train.
Auxiliary Systems | TOTAL number of low pressure feedwater heaters per train. | No_Low_Press_Heaters | Numeric 5 | TOTAL number of low pressure feedwater heaters per train.
Auxiliary Systems | TOTAL number of circulating water pumps | No_Cir_Water_Pumps | Numeric 5 | TOTAL number of circulating water pumps; include installed spares.
Auxiliary Systems | Type of cooling tower(s) used | Type_Cooling_Tower | Numeric 1 | Enter the type of cooling tower(s) used: | 1 – Mechanical draft (induced, forced, cross-flow and counterflow) – fan(s) used to move ambient air through the tower. 2 – Atmospheric spray – air movement is dependent on atmospheric conditions and the aspirating effect of the spray nozzles. 3 – Hyperbolic (natural draft) – temperature difference between condenser circulating water and ambient air conditions, aided by hyperbolic tower shape, creates natural draft of air through the tower to cool the water. 4 – Deck-filled – wetted surfaces such as tiers of splash bars or decks aid in the breakup and retention of water drops to increase the evaporation rate. 5 – Coil shed – a combination structure of a cooling tower installed over a substructure that houses atmospheric coils or sections. 9 – Other, describe
Flue Gas DeSulferization | Date the FGD sytem was initally operated | FGD_Initial_Operation | yyyy | Enter the date the FGD system was initially operated: MM-DD-YYYY
Flue Gas DeSulferization | Was the FGD system a part of the original design of the unit? | Original_Design | Numeric 1 | Was the FGD system a part of the original design of the unit? A “no” answer means the FGD system was a retrofit after the unit entered service. 1-Yes 2-No | 1 - Yes 2 - No
Flue Gas DeSulferization | Are the FGD modules shared with another unit? | FGD_Models_Shared | Numeric 1 | Are the FGD modules shared with another unit? 1 – Yes 2 – No | 1 - Yes 2 - No
Flue Gas DeSulferization | Type combination of types of scrubber/absorber used on the unit | Scrubber_Absorber_Type | Numeric 1 | Enter the type combination of types of scrubber/absorber used on the unit: | 1 – Venturi – a conveying throat to accelerate the inlet flue gas to a higher velocity. 2 – Spray – an open gas absorption vessel in which scrubbing slurry is introduced into the gas stream from atomizing nozzles. 3 – Tray – tray(s) internal to the scrubber/absorber consists of a horizontal metal surface perforated with holes or slots mounted transversely across the vessel. 4 – Packed – a bed of stationary (static) or mobile (moving bed) packing, mounted transversely across the vessel. 5 – Combination – two or more of the above-noted designs used in the same tower. 9 – Other, describe
Flue Gas DeSulferization | TOTAL number of FGD fans | No_FGD_Fans | Numeric 5 | TOTAL number of FGD fans; include installed spares.
Flue Gas DeSulferization | MINIMUM number of FGD fans required to obtain maximum capacity from the unit. | Min_NO_FGD_Fans | Numeric 5 | MINIMUM number of FGD fans required to obtain maximum capacity from the unit.
Flue Gas DeSulferization | Location of the FGD fan(s) with respect to the FGD | FGD_Fan_Location | Numeric 1 | Enter the location of the FGD fan(s) with respect to the FGD: | 1- Before 2 - After
Steam Turbine | Year of Installation/manufacturing (Commissioning Date) | ST_Unit_Installation_Date | yyyy | The year of installation for the Steam Turbine. If the year of installation is not known, the manufacturing year should be provided.
Steam Turbine | Steam Turbine Outdoors | ST_Outdoors | Numeric 1 | Is 50% or more of the steam turbine outdoors (not enclosed in building framing and siding)? 1 – Yes 2 – No | 1 - Yes 2 - No
Steam Turbine | Steam Turbine Output (in MW) | ST_Output | Numeric 10.2 | Steam Turbine Output (in MW)
Generator | Year of Installation/manufacturing (Commissioning Date) | Gen_Unit_Installation_Date | yyyy | The year of installation for the generator. If the year of installation is not known, the manufacturing year should be provided.
Generator | Date of latest Rewind (or generator replacement) | New_Win_Date | yyyy | Service date of the latest rewind or generator replacement
Generator | Is 50% or more of the generator outdoors | Gen_Outdoors | Numeric 1 | Indicates whether or not 50% or more of the generators are outdoors | 1 - Yes 2 -No
Generator | Main Generator Nameplate | Main_Gen_Nameplate_Rating | Numeric 4.2 | Main generator nameplate rating, MW
Generator | Second Generator Nameplate | Sec_Gen_Nameplate_Rating | Numeric 4.2 | Second generator nameplate rating, MW
Generator | Third Generator Nameplate | Third_Gen_Nameplate_Rating | Numeric 4.2 | Third generator nameplate rating, MW
Generator | Generator Voltage tenth kV | Gen_Voltage | Numeric 4.1 | Generator voltage, tenth KV
Generator | Generator Capability, MVA | Gen_MVA | Numeric 4.2 | Generator Capability, MVA
Generator | Generator Speed (RPM) | Gen_RPM | Numeric 4 | Generator Speed (RPM)
Generator | Generator Power Factor (%) | Gen_PF | Numeric 2.2 | Generator Power Factor (%)
Generator | Single Excitation System or Redundant Excitation System | Excitation_Sys | Numeric 1 | Indicates whether the excitation system is single or redundant | 1 - Single 2 -Redundant
Generator | Enter the type of main exciter used at the unit | Exciter_Type | Numeric 1 | Indicates the type of main exciter used at the unit | 1 - Static – static excitation where dc is obtained by rectifying ac from generator terminals, and dc is fed into rotor by collector rings. 2 - Rotating dc generator – exciter supplies dc from a commutator into the main rotor by means of collector rings. 3 - Brushless – an ac (rotating armature type) exciter whose output is rectified by a semiconductor device to provide excitation to an electric machine. The semiconductor device would be mounted on and rotate with the ac exciter armature. 4 - Alternator rectifier 9 - Other, describe
Balance of Plant | Generator Synchronizing Breaker Interrupting Media Type (i.e.Vacuum, Oil, etc.) | Breaker_Inter_Media_Type | Numeric 1 | Indicates the type of breaker interrupting media type | 1 - Air/Air Blast (ACB) 2 - Oil (OCB) 3 - Vacuum (VCB) 4 - SF6/Gas (GCB) 9 - Other
Balance of Plant | Generator Synchronizing Breaker Nameplate Voltage, kV | Breaker_Nameplate_Voltage | Numeric 4 | Breaker nameplate voltage, kilo-Volts
Balance of Plant | Generator Synchronizing Breaker Nameplate Current Rating, kA | Breaker_Nameplate_Current | Numeric 4 | Breaker nameplate current, kilo-Amps
Balance of Plant | Generator Synchronizing Breaker Nameplate Interupt Rating, kA | Breaker_Nameplate_Inter_Rating | Numeric 4 | Breaker nameplate interrupt rating, kilo-Amps
Balance of Plant | Year of Installation/manufacturing (Commissioning Date) | BoP_Unit_Installation_Date | yyyy | The Balance of Plant year of installation. If the year of installation is not known, the manufacturing year should be provided.
Balance of Plant | Megavoltampere (MVA) size of the main transformer(s) | Main_Trans_MVA_Size | Numeric 4 | Megavoltampere (MVA) size of the main transformer(s)
Balance of Plant | HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV | Numeric 4 | HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV | Numeric 4 | LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Second HIGH SIDE voltage of the main transformer(s), kV | Main_Trans_High_Side_kV2 | Numeric 4 | Second HIGH SIDE voltage of the main transformer(s), kV
Balance of Plant | Second LOW SIDE voltage of the main transformer(s), kV | Main_Trans_Low_Side_kV2 | Numeric 4 | Second LOW SIDE voltage of the main transformer(s), kV
Balance of Plant | Enter the type of MAIN transformer at the unit: | Main_Trans_Type | Numeric 1 | Indicates the type of MAIN transformer at the unit; 1- Single phase, 2- Three phase, 3- Other, describe | 1 -Single phase 2 - Three phase 3 - Other, describe
Nox Reduction System | Gas Turbine Selective Non-Catalytic Reduction System (SNCR) | GT_SNCR | Numeric 1 | Yes/No; Does this unit include a GT SNCR? | 1 - Yes 2 -No
Nox Reduction System | Gas Turbine Selective Catalytic Reduction System (SCR ) | GT_SCR | Numeric 1 | Yes/No; Does this unit include a GT SCR? | 1 - Yes 2 -No
Nox Reduction System | Gas Turbine Catalytic Air Heaters (CAH ) | GT_CAH | Numeric 1 | Yes/No; Does this unit include a GT CAH? | 1 - Yes 2 -No
Nox Reduction System | Water Injection System | GT_WIS | Numeric 1 | Yes/No; Does this unit include a GT WIS? | 1 - Yes 2 -No