## Sheet1 (2)
Assumptions | Plant A | Plant B
#WTG= | 40 | 20
Rating(MW)= | 3 | 1 | [14 empty] | Assumptions | Plant A | Plant B
Hrs/Mo= | 720 | 720 | [14 empty] | #WTG= | 40 | 20
NCF= | 25% | 50% | [14 empty] | Rating(MW)= | 3 | 1
Availability= | Table | 100% | [14 empty] | Hrs/Mo= | 720 | 720
[17 empty] | NCF= | 25% | 50%
[17 empty] | Availability= | Table | 100%
Plant A | [7 empty] | Plant B |  |  |  | 43200 | Weighted
Availability | EFOR | Run Hrs | Down Hrs | LMWH | Energy | NDC | PHTH | Energy | EFOR | NDC | PHTH | Hours | Average | Generation | Expected | Installed
100% | 0% | 28800 | 0 | 0 | 21600 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 0% | 0% | 0% | 0% | 0%
99% | 1% | 28512 | 288 | 216 | 21384 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 0.6667% | 0.5% | 0.7481% | 0.75% | 0.8571%
98% | 2% | 28224 | 576 | 432 | 21168 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 1.333% | 1% | 1.492% | 1.5% | 1.714%
97% | 3% | 27936 | 864 | 648 | 20952 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 2% | 1.5% | 2.233% | 2.25% | 2.571%
96% | 4% | 27648 | 1152 | 864 | 20736 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 2.667% | 2% | 2.969% | 3% | 3.429%
95% | 5% | 27360 | 1440 | 1080 | 20520 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 3.333% | 2.5% | 3.701% | 3.75% | 4.286%
94% | 6% | 27072 | 1728 | 1296 | 20304 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 4% | 3% | 4.429% | 4.5% | 5.143%
93% | 7% | 26784 | 2016 | 1512 | 20088 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 4.667% | 3.5% | 5.153% | 5.25% | 6%
92% | 8% | 26496 | 2304 | 1728 | 19872 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 5.333% | 4% | 5.872% | 6% | 6.857%
91% | 9% | 26208 | 2592 | 1944 | 19656 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 6% | 4.5% | 6.587% | 6.75% | 7.714%
90% | 10% | 25920 | 2880 | 2160 | 19440 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 6.667% | 5% | 7.297% | 7.5% | 8.571%
89% | 11% | 25632 | 3168 | 2376 | 19224 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 7.333% | 5.5% | 8.003% | 8.25% | 9.429%
88% | 12% | 25344 | 3456 | 2592 | 19008 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 8% | 6% | 8.703% | 9% | 10.29%
87% | 13% | 25056 | 3744 | 2808 | 18792 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 8.667% | 6.5% | 9.399% | 9.75% | 11.14%
86% | 14% | 24768 | 4032 | 3024 | 18576 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 9.333% | 7% | 10.09% | 10.5% | 12%
85% | 15% | 24480 | 4320 | 3240 | 18360 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 10% | 7.5% | 10.77% | 11.25% | 12.86%
84% | 16% | 24192 | 4608 | 3456 | 18144 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 10.67% | 8% | 11.45% | 12% | 13.71%
83% | 17% | 23904 | 4896 | 3672 | 17928 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 11.33% | 8.5% | 12.13% | 12.75% | 14.57%
82% | 18% | 23616 | 5184 | 3888 | 17712 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 12% | 9% | 12.8% | 13.5% | 15.43%
81% | 19% | 23328 | 5472 | 4104 | 17496 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 12.67% | 9.5% | 13.46% | 14.25% | 16.29%
80% | 20% | 23040 | 5760 | 4320 | 17280 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 13.33% | 10% | 14.12% | 15% | 17.14%
79% | 21% | 22752 | 6048 | 4536 | 17064 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 14% | 10.5% | 14.77% | 15.75% | 18%
78% | 22% | 22464 | 6336 | 4752 | 16848 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 14.67% | 11% | 15.41% | 16.5% | 18.86%
77% | 23% | 22176 | 6624 | 4968 | 16632 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 15.33% | 11.5% | 16.05% | 17.25% | 19.71%
76% | 24% | 21888 | 6912 | 5184 | 16416 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 16% | 12% | 16.68% | 18% | 20.57%
75% | 25% | 21600 | 7200 | 5400 | 16200 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 16.67% | 12.5% | 17.31% | 18.75% | 21.43%
74% | 26% | 21312 | 7488 | 5616 | 15984 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 17.33% | 13% | 17.93% | 19.5% | 22.29%
73% | 27% | 21024 | 7776 | 5832 | 15768 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 18% | 13.5% | 18.54% | 20.25% | 23.14%
72% | 28% | 20736 | 8064 | 6048 | 15552 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 18.67% | 14% | 19.14% | 21% | 24%
71% | 29% | 20448 | 8352 | 6264 | 15336 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 19.33% | 14.5% | 19.73% | 21.75% | 24.86%
70% | 30% | 20160 | 8640 | 6480 | 15120 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 20% | 15% | 20.32% | 22.5% | 25.71%
69% | 31% | 19872 | 8928 | 6696 | 14904 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 20.67% | 15.5% | 20.9% | 23.25% | 26.57%
68% | 32% | 19584 | 9216 | 6912 | 14688 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 21.33% | 16% | 21.47% | 24% | 27.43%
67% | 33% | 19296 | 9504 | 7128 | 14472 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 22% | 16.5% | 22.04% | 24.75% | 28.29%
66% | 34% | 19008 | 9792 | 7344 | 14256 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 22.67% | 17% | 22.59% | 25.5% | 29.14%
65% | 35% | 18720 | 10080 | 7560 | 14040 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 23.33% | 17.5% | 23.14% | 26.25% | 30%
64% | 36% | 18432 | 10368 | 7776 | 13824 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 24% | 18% | 23.67% | 27% | 30.86%
63% | 37% | 18144 | 10656 | 7992 | 13608 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 24.67% | 18.5% | 24.2% | 27.75% | 31.71%
62% | 38% | 17856 | 10944 | 8208 | 13392 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 25.33% | 19% | 24.71% | 28.5% | 32.57%
61% | 39% | 17568 | 11232 | 8424 | 13176 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 26% | 19.5% | 25.22% | 29.25% | 33.43%
60% | 40% | 17280 | 11520 | 8640 | 12960 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 26.67% | 20% | 25.71% | 30% | 34.29%
59% | 41% | 16992 | 11808 | 8856 | 12744 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 27.33% | 20.5% | 26.2% | 30.75% | 35.14%
58% | 42% | 16704 | 12096 | 9072 | 12528 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 28% | 21% | 26.67% | 31.5% | 36%
57% | 43% | 16416 | 12384 | 9288 | 12312 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 28.67% | 21.5% | 27.13% | 32.25% | 36.86%
56% | 44% | 16128 | 12672 | 9504 | 12096 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 29.33% | 22% | 27.58% | 33% | 37.71%
55% | 45% | 15840 | 12960 | 9720 | 11880 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 30% | 22.5% | 28.02% | 33.75% | 38.57%
54% | 46% | 15552 | 13248 | 9936 | 11664 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 30.67% | 23% | 28.44% | 34.5% | 39.43%
53% | 47% | 15264 | 13536 | 10152 | 11448 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 31.33% | 23.5% | 28.85% | 35.25% | 40.29%
52% | 48% | 14976 | 13824 | 10368 | 11232 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 32% | 24% | 29.25% | 36% | 41.14%
51% | 49% | 14688 | 14112 | 10584 | 11016 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 32.67% | 24.5% | 29.63% | 36.75% | 42%
50% | 50% | 14400 | 14400 | 10800 | 10800 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 33.33% | 25% | 30% | 37.5% | 42.86%
49% | 51% | 14112 | 14688 | 11016 | 10584 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 34% | 25.5% | 30.35% | 38.25% | 43.71%
48% | 52% | 13824 | 14976 | 11232 | 10368 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 34.67% | 26% | 30.69% | 39% | 44.57%
47% | 53% | 13536 | 15264 | 11448 | 10152 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 35.33% | 26.5% | 31.01% | 39.75% | 45.43%
46% | 54% | 13248 | 15552 | 11664 | 9936 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 36% | 27% | 31.31% | 40.5% | 46.29%
45% | 55% | 12960 | 15840 | 11880 | 9720 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 36.67% | 27.5% | 31.6% | 41.25% | 47.14%
44% | 56% | 12672 | 16128 | 12096 | 9504 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 37.33% | 28% | 31.86% | 42% | 48%
43% | 57% | 12384 | 16416 | 12312 | 9288 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 38% | 28.5% | 32.11% | 42.75% | 48.86%
42% | 58% | 12096 | 16704 | 12528 | 9072 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 38.67% | 29% | 32.34% | 43.5% | 49.71%
41% | 59% | 11808 | 16992 | 12744 | 8856 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 39.33% | 29.5% | 32.54% | 44.25% | 50.57%
40% | 60% | 11520 | 17280 | 12960 | 8640 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 40% | 30% | 32.73% | 45% | 51.43%
39% | 61% | 11232 | 17568 | 13176 | 8424 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 40.67% | 30.5% | 32.89% | 45.75% | 52.29%
38% | 62% | 10944 | 17856 | 13392 | 8208 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 41.33% | 31% | 33.03% | 46.5% | 53.14%
37% | 63% | 10656 | 18144 | 13608 | 7992 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 42% | 31.5% | 33.14% | 47.25% | 54%
36% | 64% | 10368 | 18432 | 13824 | 7776 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 42.67% | 32% | 33.23% | 48% | 54.86%
35% | 65% | 10080 | 18720 | 14040 | 7560 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 43.33% | 32.5% | 33.29% | 48.75% | 55.71%
34% | 66% | 9792 | 19008 | 14256 | 7344 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 44% | 33% | 33.33% | 49.5% | 56.57%
33% | 67% | 9504 | 19296 | 14472 | 7128 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 44.67% | 33.5% | 33.33% | 50.25% | 57.43%
32% | 68% | 9216 | 19584 | 14688 | 6912 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 45.33% | 34% | 33.31% | 51% | 58.29%
31% | 69% | 8928 | 19872 | 14904 | 6696 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 46% | 34.5% | 33.25% | 51.75% | 59.14%
30% | 70% | 8640 | 20160 | 15120 | 6480 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 46.67% | 35% | 33.16% | 52.5% | 60%
29% | 71% | 8352 | 20448 | 15336 | 6264 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 47.33% | 35.5% | 33.03% | 53.25% | 60.86%
28% | 72% | 8064 | 20736 | 15552 | 6048 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 48% | 36% | 32.87% | 54% | 61.71%
27% | 73% | 7776 | 21024 | 15768 | 5832 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 48.67% | 36.5% | 32.67% | 54.75% | 62.57%
26% | 74% | 7488 | 21312 | 15984 | 5616 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 49.33% | 37% | 32.43% | 55.5% | 63.43%
25% | 75% | 7200 | 21600 | 16200 | 5400 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 50% | 37.5% | 32.14% | 56.25% | 64.29%
24% | 76% | 6912 | 21888 | 16416 | 5184 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 50.67% | 38% | 31.81% | 57% | 65.14%
23% | 77% | 6624 | 22176 | 16632 | 4968 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 51.33% | 38.5% | 31.44% | 57.75% | 66%
22% | 78% | 6336 | 22464 | 16848 | 4752 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 52% | 39% | 31.01% | 58.5% | 66.86%
21% | 79% | 6048 | 22752 | 17064 | 4536 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 52.67% | 39.5% | 30.53% | 59.25% | 67.71%
20% | 80% | 5760 | 23040 | 17280 | 4320 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 53.33% | 40% | 30% | 60% | 68.57%
19% | 81% | 5472 | 23328 | 17496 | 4104 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 54% | 40.5% | 29.41% | 60.75% | 69.43%
18% | 82% | 5184 | 23616 | 17712 | 3888 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 54.67% | 41% | 28.75% | 61.5% | 70.29%
17% | 83% | 4896 | 23904 | 17928 | 3672 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 55.33% | 41.5% | 28.03% | 62.25% | 71.14%
16% | 84% | 4608 | 24192 | 18144 | 3456 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 56% | 42% | 27.24% | 63% | 72%
15% | 85% | 4320 | 24480 | 18360 | 3240 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 56.67% | 42.5% | 26.38% | 63.75% | 72.86%
14% | 86% | 4032 | 24768 | 18576 | 3024 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 57.33% | 43% | 25.44% | 64.5% | 73.71%
13% | 87% | 3744 | 25056 | 18792 | 2808 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 58% | 43.5% | 24.41% | 65.25% | 74.57%
12% | 88% | 3456 | 25344 | 19008 | 2592 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 58.67% | 44% | 23.29% | 66% | 75.43%
11% | 89% | 3168 | 25632 | 19224 | 2376 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 59.33% | 44.5% | 22.08% | 66.75% | 76.29%
10% | 90% | 2880 | 25920 | 19440 | 2160 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 60% | 45% | 20.77% | 67.5% | 77.14%
9% | 91% | 2592 | 26208 | 19656 | 1944 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 60.67% | 45.5% | 19.35% | 68.25% | 78%
8% | 92% | 2304 | 26496 | 19872 | 1728 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 61.33% | 46% | 17.81% | 69% | 78.86%
7% | 93% | 2016 | 26784 | 20088 | 1512 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 62% | 46.5% | 16.14% | 69.75% | 79.71%
6% | 94% | 1728 | 27072 | 20304 | 1296 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 62.67% | 47% | 14.34% | 70.5% | 80.57%
5% | 95% | 1440 | 27360 | 20520 | 1080 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 63.33% | 47.5% | 12.39% | 71.25% | 81.43%
4% | 96% | 1152 | 27648 | 20736 | 864 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 64% | 48% | 10.29% | 72% | 82.29%
3% | 97% | 864 | 27936 | 20952 | 648 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 64.67% | 48.5% | 8.009% | 72.75% | 83.14%
2% | 98% | 576 | 28224 | 21168 | 432 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 65.33% | 49% | 5.547% | 73.5% | 84%
1% | 99% | 288 | 28512 | 21384 | 216 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 66% | 49.5% | 2.883% | 74.25% | 84.86%
0% | 100% | 0 | 28800 | 21600 | 0 | 30 | 28800 | 7200 | 0% | 10 | 14400 | 66.67% | 50% | 0% | 75% | 85.71%