## Parameters
EASTERN INTERCONNECTION CALCULATIONS
Balancing | Freq | 2016 Interconnection | 2016 | Eastern Interconnection |  |  | Epsilon1 | Epsilon10
Authority | Bias | Bias | L10 |  | FTL_Low | FTL_High | (Hz) | (Hz)
BA-01 | -100 | -5268.56 | 74.6677 |  | 59.946 | 60.054 | 0.018 | 0.0057
Enter Balancing Authority Acronym in cell "A4" and its Frequency Bias setting (negative number) in cell "B4"
ACE | Freq_Error | Frequency Bias | Actual_Freq | Sched_Freq | BAAL_Low at 60 Hz SF | BAAL_Low at 59.98 Hz SF | BAAL_Low at 60.02 Hz SF | BAAL_High at 60 Hz SF | BAAL_High at 59.98 Hz SF | BAAL_High at 60.02 Hz SF | CPS1 Bound at 60 Hz SF | CPS1 Bound at 59.98 Hz SF | CPS1 Bound at 60.02 Hz SF | Old L10 | Old L10 | CPS1 BAAL 60 | CPS1 BAAL 59.98 | CPS1 BAAL 60.02
-14.58 | -0.2 | -100 | 59.8 | 60 | -14.58 | -16.2 | -13.2545 |  |  |  | -1.62 | -1.8 | -1.4727 | -74.6677 | 74.6677 | -700 | -700 | -700
-14.6533 | -0.199 | -100 | 59.801 | 60 | -14.6533 | -16.2905 | -13.3151 |  |  |  | -1.6281 | -1.8101 | -1.4795 | -74.6677 | 74.6677 | -700 | -700 | -700
-14.7273 | -0.198 | -100 | 59.802 | 60 | -14.7273 | -16.382 | -13.3761 |  |  |  | -1.6364 | -1.8202 | -1.4862 | -74.6677 | 74.6677 | -700 | -700 | -700
-14.802 | -0.197 | -100 | 59.803 | 60 | -14.802 | -16.4746 | -13.4378 |  |  |  | -1.6447 | -1.8305 | -1.4931 | -74.6677 | 74.6677 | -700 | -700 | -700
-14.8776 | -0.196 | -100 | 59.804 | 60 | -14.8776 | -16.5682 | -13.5 |  |  |  | -1.6531 | -1.8409 | -1.5 | -74.6677 | 74.6677 | -700 | -700 | -700
-14.9538 | -0.195 | -100 | 59.805 | 60 | -14.9538 | -16.6629 | -13.5628 |  |  |  | -1.6615 | -1.8514 | -1.507 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.0309 | -0.194 | -100 | 59.806 | 60 | -15.0309 | -16.7586 | -13.6262 |  |  |  | -1.6701 | -1.8621 | -1.514 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.1088 | -0.193 | -100 | 59.807 | 60 | -15.1088 | -16.8555 | -13.6901 |  |  |  | -1.6788 | -1.8728 | -1.5211 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.1875 | -0.192 | -100 | 59.808 | 60 | -15.1875 | -16.9535 | -13.7547 |  |  |  | -1.6875 | -1.8837 | -1.5283 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.267 | -0.191 | -100 | 59.809 | 60 | -15.267 | -17.0526 | -13.8199 |  |  |  | -1.6963 | -1.8947 | -1.5355 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.3474 | -0.19 | -100 | 59.81 | 60 | -15.3474 | -17.1529 | -13.8857 |  |  |  | -1.7053 | -1.9059 | -1.5429 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.4286 | -0.189 | -100 | 59.811 | 60 | -15.4286 | -17.2544 | -13.9522 |  |  |  | -1.7143 | -1.9172 | -1.5502 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.5106 | -0.188 | -100 | 59.812 | 60 | -15.5106 | -17.3571 | -14.0192 |  |  |  | -1.7234 | -1.9286 | -1.5577 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.5936 | -0.187 | -100 | 59.813 | 60 | -15.5936 | -17.4611 | -14.087 |  |  |  | -1.7326 | -1.9401 | -1.5652 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.6774 | -0.186 | -100 | 59.814 | 60 | -15.6774 | -17.5663 | -14.1553 |  |  |  | -1.7419 | -1.9518 | -1.5728 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.7622 | -0.185 | -100 | 59.815 | 60 | -15.7622 | -17.6727 | -14.2244 |  |  |  | -1.7514 | -1.9636 | -1.5805 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.8478 | -0.184 | -100 | 59.816 | 60 | -15.8478 | -17.7805 | -14.2941 |  |  |  | -1.7609 | -1.9756 | -1.5882 | -74.6677 | 74.6677 | -700 | -700 | -700
-15.9344 | -0.183 | -100 | 59.817 | 60 | -15.9344 | -17.8896 | -14.3645 |  |  |  | -1.7705 | -1.9877 | -1.5961 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.022 | -0.182 | -100 | 59.818 | 60 | -16.022 | -18 | -14.4356 |  |  |  | -1.7802 | -2 | -1.604 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.1105 | -0.181 | -100 | 59.819 | 60 | -16.1105 | -18.1118 | -14.5075 |  |  |  | -1.7901 | -2.0124 | -1.6119 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.2 | -0.18 | -100 | 59.82 | 60 | -16.2 | -18.225 | -14.58 |  |  |  | -1.8 | -2.025 | -1.62 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.2905 | -0.179 | -100 | 59.821 | 60 | -16.2905 | -18.3396 | -14.6533 |  |  |  | -1.8101 | -2.0377 | -1.6281 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.382 | -0.178 | -100 | 59.822 | 60 | -16.382 | -18.4557 | -14.7273 |  |  |  | -1.8202 | -2.0506 | -1.6364 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.4746 | -0.177 | -100 | 59.823 | 60 | -16.4746 | -18.5732 | -14.802 |  |  |  | -1.8305 | -2.0637 | -1.6447 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.5682 | -0.176 | -100 | 59.824 | 60 | -16.5682 | -18.6923 | -14.8776 |  |  |  | -1.8409 | -2.0769 | -1.6531 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.6629 | -0.175 | -100 | 59.825 | 60 | -16.6629 | -18.8129 | -14.9538 |  |  |  | -1.8514 | -2.0903 | -1.6615 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.7586 | -0.174 | -100 | 59.826 | 60 | -16.7586 | -18.9351 | -15.0309 |  |  |  | -1.8621 | -2.1039 | -1.6701 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.8555 | -0.173 | -100 | 59.827 | 60 | -16.8555 | -19.0588 | -15.1088 |  |  |  | -1.8728 | -2.1176 | -1.6788 | -74.6677 | 74.6677 | -700 | -700 | -700
-16.9535 | -0.172 | -100 | 59.828 | 60 | -16.9535 | -19.1842 | -15.1875 |  |  |  | -1.8837 | -2.1316 | -1.6875 | -74.6677 | 74.6677 | -700 | -700 | -700
-17.0526 | -0.171 | -100 | 59.829 | 60 | -17.0526 | -19.3113 | -15.267 |  |  |  | -1.8947 | -2.1457 | -1.6963 | -74.6677 | 74.6677 | -700 | -700 | -700
-17.1529 | -0.17 | -100 | 59.83 | 60 | -17.1529 | -19.44 | -15.3474 |  |  |  | -1.9059 | -2.16 | -1.7053 | -74.6677 | 74.6677 | -700 | -700 | -700
-17.2544 | -0.169 | -100 | 59.831 | 60 | -17.2544 | -19.5705 | -15.4286 |  |  |  | -1.9172 | -2.1745 | -1.7143 | -74.6677 | 74.6677 | -700 | -700 | -700
-17.3571 | -0.168 | -100 | 59.832 | 60 | -17.3571 | -19.7027 | -15.5106 |  |  |  | -1.9286 | -2.1892 | -1.7234 | -74.6677 | 74.6677 | -700 | -700 | -700
-17.4611 | -0.167 | -100 | 59.833 | 60 | -17.4611 | -19.8367 | -15.5936 |  |  |  | -1.9401 | -2.2041 | -1.7326 | -74.6677 | 74.6677 | -700 | -700 | -700
-17.5663 | -0.166 | -100 | 59.834 | 60 | -17.5663 | -19.9726 | -15.6774 |  |  |  | -1.9518 | -2.2192 | -1.7419 | -74.6677 | 74.6677 | -700 | -700 | -700
-17.6727 | -0.165 | -100 | 59.835 | 60 | -17.6727 | -20.1103 | -15.7622 |  |  |  | -1.9636 | -2.2345 | -1.7514 | -74.6677 | 74.6677 | -700 | -700 | -700
-17.7805 | -0.164 | -100 | 59.836 | 60 | -17.7805 | -20.25 | -15.8478 |  |  |  | -1.9756 | -2.25 | -1.7609 | -74.6677 | 74.6677 | -700 | -700 | -700
-17.8896 | -0.163 | -100 | 59.837 | 60 | -17.8896 | -20.3916 | -15.9344 |  |  |  | -1.9877 | -2.2657 | -1.7705 | -74.6677 | 74.6677 | -700 | -700 | -700
-18 | -0.162 | -100 | 59.838 | 60 | -18 | -20.5352 | -16.022 |  |  |  | -2 | -2.2817 | -1.7802 | -74.6677 | 74.6677 | -700 | -700 | -700
-18.1118 | -0.161 | -100 | 59.839 | 60 | -18.1118 | -20.6809 | -16.1105 |  |  |  | -2.0124 | -2.2979 | -1.7901 | -74.6677 | 74.6677 | -700 | -700 | -700
-18.225 | -0.16 | -100 | 59.84 | 60 | -18.225 | -20.8286 | -16.2 |  |  |  | -2.025 | -2.3143 | -1.8 | -74.6677 | 74.6677 | -700 | -700 | -700
-18.3396 | -0.159 | -100 | 59.841 | 60 | -18.3396 | -20.9784 | -16.2905 |  |  |  | -2.0377 | -2.3309 | -1.8101 | -74.6677 | 74.6677 | -700 | -700 | -700
-18.4557 | -0.158 | -100 | 59.842 | 60 | -18.4557 | -21.1304 | -16.382 |  |  |  | -2.0506 | -2.3478 | -1.8202 | -74.6677 | 74.6677 | -700 | -700 | -700
-18.5732 | -0.157 | -100 | 59.843 | 60 | -18.5732 | -21.2847 | -16.4746 |  |  |  | -2.0637 | -2.365 | -1.8305 | -74.6677 | 74.6677 | -700 | -700 | -700
-18.6923 | -0.156 | -100 | 59.844 | 60 | -18.6923 | -21.4412 | -16.5682 |  |  |  | -2.0769 | -2.3824 | -1.8409 | -74.6677 | 74.6677 | -700 | -700 | -700
-18.8129 | -0.155 | -100 | 59.845 | 60 | -18.8129 | -21.6 | -16.6629 |  |  |  | -2.0903 | -2.4 | -1.8514 | -74.6677 | 74.6677 | -700 | -700 | -700
-18.9351 | -0.154 | -100 | 59.846 | 60 | -18.9351 | -21.7612 | -16.7586 |  |  |  | -2.1039 | -2.4179 | -1.8621 | -74.6677 | 74.6677 | -700 | -700 | -700
-19.0588 | -0.153 | -100 | 59.847 | 60 | -19.0588 | -21.9248 | -16.8555 |  |  |  | -2.1176 | -2.4361 | -1.8728 | -74.6677 | 74.6677 | -700 | -700 | -700
-19.1842 | -0.152 | -100 | 59.848 | 60 | -19.1842 | -22.0909 | -16.9535 |  |  |  | -2.1316 | -2.4545 | -1.8837 | -74.6677 | 74.6677 | -700 | -700 | -700
-19.3113 | -0.151 | -100 | 59.849 | 60 | -19.3113 | -22.2595 | -17.0526 |  |  |  | -2.1457 | -2.4733 | -1.8947 | -74.6677 | 74.6677 | -700 | -700 | -700
-19.44 | -0.15 | -100 | 59.85 | 60 | -19.44 | -22.4308 | -17.1529 |  |  |  | -2.16 | -2.4923 | -1.9059 | -74.6677 | 74.6677 | -700 | -700 | -700
-19.5705 | -0.149 | -100 | 59.851 | 60 | -19.5705 | -22.6047 | -17.2544 |  |  |  | -2.1745 | -2.5116 | -1.9172 | -74.6677 | 74.6677 | -700 | -700 | -700
-19.7027 | -0.148 | -100 | 59.852 | 60 | -19.7027 | -22.7812 | -17.3571 |  |  |  | -2.1892 | -2.5313 | -1.9286 | -74.6677 | 74.6677 | -700 | -700 | -700
-19.8367 | -0.147 | -100 | 59.853 | 60 | -19.8367 | -22.9606 | -17.4611 |  |  |  | -2.2041 | -2.5512 | -1.9401 | -74.6677 | 74.6677 | -700 | -700 | -700
-19.9726 | -0.146 | -100 | 59.854 | 60 | -19.9726 | -23.1429 | -17.5663 |  |  |  | -2.2192 | -2.5714 | -1.9518 | -74.6677 | 74.6677 | -700 | -700 | -700
-20.1103 | -0.145 | -100 | 59.855 | 60 | -20.1103 | -23.328 | -17.6727 |  |  |  | -2.2345 | -2.592 | -1.9636 | -74.6677 | 74.6677 | -700 | -700 | -700
-20.25 | -0.144 | -100 | 59.856 | 60 | -20.25 | -23.5161 | -17.7805 |  |  |  | -2.25 | -2.6129 | -1.9756 | -74.6677 | 74.6677 | -700 | -700 | -700
-20.3916 | -0.143 | -100 | 59.857 | 60 | -20.3916 | -23.7073 | -17.8896 |  |  |  | -2.2657 | -2.6341 | -1.9877 | -74.6677 | 74.6677 | -700 | -700 | -700
-20.5352 | -0.142 | -100 | 59.858 | 60 | -20.5352 | -23.9016 | -18 |  |  |  | -2.2817 | -2.6557 | -2 | -74.6677 | 74.6677 | -700 | -700 | -700
-20.6809 | -0.141 | -100 | 59.859 | 60 | -20.6809 | -24.0992 | -18.1118 |  |  |  | -2.2979 | -2.6777 | -2.0124 | -74.6677 | 74.6677 | -700 | -700 | -700
-20.8286 | -0.14 | -100 | 59.86 | 60 | -20.8286 | -24.3 | -18.225 |  |  |  | -2.3143 | -2.7 | -2.025 | -74.6677 | 74.6677 | -700 | -700 | -700
-20.9784 | -0.139 | -100 | 59.861 | 60 | -20.9784 | -24.5042 | -18.3396 |  |  |  | -2.3309 | -2.7227 | -2.0377 | -74.6677 | 74.6677 | -700 | -700 | -700
-21.1304 | -0.138 | -100 | 59.862 | 60 | -21.1304 | -24.7119 | -18.4557 |  |  |  | -2.3478 | -2.7458 | -2.0506 | -74.6677 | 74.6677 | -700 | -700 | -700
-21.2847 | -0.137 | -100 | 59.863 | 60 | -21.2847 | -24.9231 | -18.5732 |  |  |  | -2.365 | -2.7692 | -2.0637 | -74.6677 | 74.6677 | -700 | -700 | -700
-21.4412 | -0.136 | -100 | 59.864 | 60 | -21.4412 | -25.1379 | -18.6923 |  |  |  | -2.3824 | -2.7931 | -2.0769 | -74.6677 | 74.6677 | -700 | -700 | -700
-21.6 | -0.135 | -100 | 59.865 | 60 | -21.6 | -25.3565 | -18.8129 |  |  |  | -2.4 | -2.8174 | -2.0903 | -74.6677 | 74.6677 | -700 | -700 | -700
-21.7612 | -0.134 | -100 | 59.866 | 60 | -21.7612 | -25.5789 | -18.9351 |  |  |  | -2.4179 | -2.8421 | -2.1039 | -74.6677 | 74.6677 | -700 | -700 | -700
-21.9248 | -0.133 | -100 | 59.867 | 60 | -21.9248 | -25.8053 | -19.0588 |  |  |  | -2.4361 | -2.8673 | -2.1176 | -74.6677 | 74.6677 | -700 | -700 | -700
-22.0909 | -0.132 | -100 | 59.868 | 60 | -22.0909 | -26.0357 | -19.1842 |  |  |  | -2.4545 | -2.8929 | -2.1316 | -74.6677 | 74.6677 | -700 | -700 | -700
-22.2595 | -0.131 | -100 | 59.869 | 60 | -22.2595 | -26.2703 | -19.3113 |  |  |  | -2.4733 | -2.9189 | -2.1457 | -74.6677 | 74.6677 | -700 | -700 | -700
-22.4308 | -0.13 | -100 | 59.87 | 60 | -22.4308 | -26.5091 | -19.44 |  |  |  | -2.4923 | -2.9455 | -2.16 | -74.6677 | 74.6677 | -700 | -700 | -700
-22.6047 | -0.129 | -100 | 59.871 | 60 | -22.6047 | -26.7523 | -19.5705 |  |  |  | -2.5116 | -2.9725 | -2.1745 | -74.6677 | 74.6677 | -700 | -700 | -700
-22.7812 | -0.128 | -100 | 59.872 | 60 | -22.7812 | -27 | -19.7027 |  |  |  | -2.5313 | -3 | -2.1892 | -74.6677 | 74.6677 | -700 | -700 | -700
-22.9606 | -0.127 | -100 | 59.873 | 60 | -22.9606 | -27.2523 | -19.8367 |  |  |  | -2.5512 | -3.028 | -2.2041 | -74.6677 | 74.6677 | -700 | -700 | -700
-23.1429 | -0.126 | -100 | 59.874 | 60 | -23.1429 | -27.5094 | -19.9726 |  |  |  | -2.5714 | -3.0566 | -2.2192 | -74.6677 | 74.6677 | -700 | -700 | -700
-23.328 | -0.125 | -100 | 59.875 | 60 | -23.328 | -27.7714 | -20.1103 |  |  |  | -2.592 | -3.0857 | -2.2345 | -74.6677 | 74.6677 | -700 | -700 | -700
-23.5161 | -0.124 | -100 | 59.876 | 60 | -23.5161 | -28.0385 | -20.25 |  |  |  | -2.6129 | -3.1154 | -2.25 | -74.6677 | 74.6677 | -700 | -700 | -700
-23.7073 | -0.123 | -100 | 59.877 | 60 | -23.7073 | -28.3107 | -20.3916 |  |  |  | -2.6341 | -3.1456 | -2.2657 | -74.6677 | 74.6677 | -700 | -700 | -700
-23.9016 | -0.122 | -100 | 59.878 | 60 | -23.9016 | -28.5882 | -20.5352 |  |  |  | -2.6557 | -3.1765 | -2.2817 | -74.6677 | 74.6677 | -700 | -700 | -700
-24.0992 | -0.121 | -100 | 59.879 | 60 | -24.0992 | -28.8713 | -20.6809 |  |  |  | -2.6777 | -3.2079 | -2.2979 | -74.6677 | 74.6677 | -700 | -700 | -700
-24.3 | -0.12 | -100 | 59.88 | 60 | -24.3 | -29.16 | -20.8286 |  |  |  | -2.7 | -3.24 | -2.3143 | -74.6677 | 74.6677 | -700 | -700 | -700
-24.5042 | -0.119 | -100 | 59.881 | 60 | -24.5042 | -29.4545 | -20.9784 |  |  |  | -2.7227 | -3.2727 | -2.3309 | -74.6677 | 74.6677 | -700 | -700 | -700
-24.7119 | -0.118 | -100 | 59.882 | 60 | -24.7119 | -29.7551 | -21.1304 |  |  |  | -2.7458 | -3.3061 | -2.3478 | -74.6677 | 74.6677 | -700 | -700 | -700
-24.9231 | -0.117 | -100 | 59.883 | 60 | -24.9231 | -30.0619 | -21.2847 |  |  |  | -2.7692 | -3.3402 | -2.365 | -74.6677 | 74.6677 | -700 | -700 | -700
-25.1379 | -0.116 | -100 | 59.884 | 60 | -25.1379 | -30.375 | -21.4412 |  |  |  | -2.7931 | -3.375 | -2.3824 | -74.6677 | 74.6677 | -700 | -700 | -700
-25.3565 | -0.115 | -100 | 59.885 | 60 | -25.3565 | -30.6947 | -21.6 |  |  |  | -2.8174 | -3.4105 | -2.4 | -74.6677 | 74.6677 | -700 | -700 | -700
-25.5789 | -0.114 | -100 | 59.886 | 60 | -25.5789 | -31.0213 | -21.7612 |  |  |  | -2.8421 | -3.4468 | -2.4179 | -74.6677 | 74.6677 | -700 | -700 | -700
-25.8053 | -0.113 | -100 | 59.887 | 60 | -25.8053 | -31.3548 | -21.9248 |  |  |  | -2.8673 | -3.4839 | -2.4361 | -74.6677 | 74.6677 | -700 | -700 | -700
-26.0357 | -0.112 | -100 | 59.888 | 60 | -26.0357 | -31.6957 | -22.0909 |  |  |  | -2.8929 | -3.5217 | -2.4545 | -74.6677 | 74.6677 | -700 | -700 | -700
-26.2703 | -0.111 | -100 | 59.889 | 60 | -26.2703 | -32.044 | -22.2595 |  |  |  | -2.9189 | -3.5604 | -2.4733 | -74.6677 | 74.6677 | -700 | -700 | -700
-26.5091 | -0.11 | -100 | 59.89 | 60 | -26.5091 | -32.4 | -22.4308 |  |  |  | -2.9455 | -3.6 | -2.4923 | -74.6677 | 74.6677 | -700 | -700 | -700
-26.7523 | -0.109 | -100 | 59.891 | 60 | -26.7523 | -32.764 | -22.6047 |  |  |  | -2.9725 | -3.6404 | -2.5116 | -74.6677 | 74.6677 | -700 | -700 | -700
-27 | -0.108 | -100 | 59.892 | 60 | -27 | -33.1364 | -22.7812 |  |  |  | -3 | -3.6818 | -2.5313 | -74.6677 | 74.6677 | -700 | -700 | -700
-27.2523 | -0.107 | -100 | 59.893 | 60 | -27.2523 | -33.5172 | -22.9606 |  |  |  | -3.028 | -3.7241 | -2.5512 | -74.6677 | 74.6677 | -700 | -700 | -700
-27.5094 | -0.106 | -100 | 59.894 | 60 | -27.5094 | -33.907 | -23.1429 |  |  |  | -3.0566 | -3.7674 | -2.5714 | -74.6677 | 74.6677 | -700 | -700 | -700
-27.7714 | -0.105 | -100 | 59.895 | 60 | -27.7714 | -34.3059 | -23.328 |  |  |  | -3.0857 | -3.8118 | -2.592 | -74.6677 | 74.6677 | -700 | -700 | -700
-28.0385 | -0.104 | -100 | 59.896 | 60 | -28.0385 | -34.7143 | -23.5161 |  |  |  | -3.1154 | -3.8571 | -2.6129 | -74.6677 | 74.6677 | -700 | -700 | -700
-28.3107 | -0.103 | -100 | 59.897 | 60 | -28.3107 | -35.1325 | -23.7073 |  |  |  | -3.1456 | -3.9036 | -2.6341 | -74.6677 | 74.6677 | -700 | -700 | -700
-28.5882 | -0.102 | -100 | 59.898 | 60 | -28.5882 | -35.561 | -23.9016 |  |  |  | -3.1765 | -3.9512 | -2.6557 | -74.6677 | 74.6677 | -700 | -700 | -700
-28.8713 | -0.101 | -100 | 59.899 | 60 | -28.8713 | -36 | -24.0992 |  |  |  | -3.2079 | -4 | -2.6777 | -74.6677 | 74.6677 | -700 | -700 | -700
-29.16 | -0.1 | -100 | 59.9 | 60 | -29.16 | -36.45 | -24.3 |  |  |  | -3.24 | -4.05 | -2.7 | -74.6677 | 74.6677 | -700 | -700 | -700
-29.4545 | -0.099 | -100 | 59.901 | 60 | -29.4545 | -36.9114 | -24.5042 |  |  |  | -3.2727 | -4.1013 | -2.7227 | -74.6677 | 74.6677 | -700 | -700 | -700
-29.7551 | -0.098 | -100 | 59.902 | 60 | -29.7551 | -37.3846 | -24.7119 |  |  |  | -3.3061 | -4.1538 | -2.7458 | -74.6677 | 74.6677 | -700 | -700 | -700
-30.0619 | -0.097 | -100 | 59.903 | 60 | -30.0619 | -37.8701 | -24.9231 |  |  |  | -3.3402 | -4.2078 | -2.7692 | -74.6677 | 74.6677 | -700 | -700 | -700
-30.375 | -0.096 | -100 | 59.904 | 60 | -30.375 | -38.3684 | -25.1379 |  |  |  | -3.375 | -4.2632 | -2.7931 | -74.6677 | 74.6677 | -700 | -700 | -700
-30.6947 | -0.095 | -100 | 59.905 | 60 | -30.6947 | -38.88 | -25.3565 |  |  |  | -3.4105 | -4.32 | -2.8174 | -74.6677 | 74.6677 | -700 | -700 | -700
-31.0213 | -0.094 | -100 | 59.906 | 60 | -31.0213 | -39.4054 | -25.5789 |  |  |  | -3.4468 | -4.3784 | -2.8421 | -74.6677 | 74.6677 | -700 | -700 | -700
-31.3548 | -0.093 | -100 | 59.907 | 60 | -31.3548 | -39.9452 | -25.8053 |  |  |  | -3.4839 | -4.4384 | -2.8673 | -74.6677 | 74.6677 | -700 | -700 | -700
-31.6957 | -0.092 | -100 | 59.908 | 60 | -31.6957 | -40.5 | -26.0357 |  |  |  | -3.5217 | -4.5 | -2.8929 | -74.6677 | 74.6677 | -700 | -700 | -700
-32.044 | -0.091 | -100 | 59.909 | 60 | -32.044 | -41.0704 | -26.2703 |  |  |  | -3.5604 | -4.5634 | -2.9189 | -74.6677 | 74.6677 | -700 | -700 | -700
-32.4 | -0.09 | -100 | 59.91 | 60 | -32.4 | -41.6571 | -26.5091 |  |  |  | -3.6 | -4.6286 | -2.9455 | -74.6677 | 74.6677 | -700 | -700 | -700
-32.764 | -0.089 | -100 | 59.911 | 60 | -32.764 | -42.2609 | -26.7523 |  |  |  | -3.6404 | -4.6957 | -2.9725 | -74.6677 | 74.6677 | -700 | -700 | -700
-33.1364 | -0.088 | -100 | 59.912 | 60 | -33.1364 | -42.8824 | -27 |  |  |  | -3.6818 | -4.7647 | -3 | -74.6677 | 74.6677 | -700 | -700 | -700
-33.5172 | -0.087 | -100 | 59.913 | 60 | -33.5172 | -43.5224 | -27.2523 |  |  |  | -3.7241 | -4.8358 | -3.028 | -74.6677 | 74.6677 | -700 | -700 | -700
-33.907 | -0.086 | -100 | 59.914 | 60 | -33.907 | -44.1818 | -27.5094 |  |  |  | -3.7674 | -4.9091 | -3.0566 | -74.6677 | 74.6677 | -700 | -700 | -700
-34.3059 | -0.085 | -100 | 59.915 | 60 | -34.3059 | -44.8615 | -27.7714 |  |  |  | -3.8118 | -4.9846 | -3.0857 | -74.6677 | 74.6677 | -700 | -700 | -700
-34.7143 | -0.084 | -100 | 59.916 | 60 | -34.7143 | -45.5625 | -28.0385 |  |  |  | -3.8571 | -5.0625 | -3.1154 | -74.6677 | 74.6677 | -700 | -700 | -700
-35.1325 | -0.083 | -100 | 59.917 | 60 | -35.1325 | -46.2857 | -28.3107 |  |  |  | -3.9036 | -5.1429 | -3.1456 | -74.6677 | 74.6677 | -700 | -700 | -700
-35.561 | -0.082 | -100 | 59.918 | 60 | -35.561 | -47.0323 | -28.5882 |  |  |  | -3.9512 | -5.2258 | -3.1765 | -74.6677 | 74.6677 | -700 | -700 | -700
-36 | -0.081 | -100 | 59.919 | 60 | -36 | -47.8033 | -28.8713 |  |  |  | -4 | -5.3115 | -3.2079 | -74.6677 | 74.6677 | -700 | -700 | -700
-36.45 | -0.08 | -100 | 59.92 | 60 | -36.45 | -48.6 | -29.16 |  |  |  | -4.05 | -5.4 | -3.24 | -74.6677 | 74.6677 | -700 | -700 | -700
-36.9114 | -0.079 | -100 | 59.921 | 60 | -36.9114 | -49.4237 | -29.4545 |  |  |  | -4.1013 | -5.4915 | -3.2727 | -74.6677 | 74.6677 | -700 | -700 | -700
-37.3846 | -0.078 | -100 | 59.922 | 60 | -37.3846 | -50.2759 | -29.7551 |  |  |  | -4.1538 | -5.5862 | -3.3061 | -74.6677 | 74.6677 | -700 | -700 | -700
-37.8701 | -0.077 | -100 | 59.923 | 60 | -37.8701 | -51.1579 | -30.0619 |  |  |  | -4.2078 | -5.6842 | -3.3402 | -74.6677 | 74.6677 | -700 | -700 | -700
-38.3684 | -0.076 | -100 | 59.924 | 60 | -38.3684 | -52.0714 | -30.375 |  |  |  | -4.2632 | -5.7857 | -3.375 | -74.6677 | 74.6677 | -700 | -700 | -700
-38.88 | -0.075 | -100 | 59.925 | 60 | -38.88 | -53.0182 | -30.6947 |  |  |  | -4.32 | -5.8909 | -3.4105 | -74.6677 | 74.6677 | -700 | -700 | -700
-39.4054 | -0.074 | -100 | 59.926 | 60 | -39.4054 | -54 | -31.0213 |  |  |  | -4.3784 | -6 | -3.4468 | -74.6677 | 74.6677 | -700 | -700 | -700
-39.9452 | -0.073 | -100 | 59.927 | 60 | -39.9452 | -55.0189 | -31.3548 |  |  |  | -4.4384 | -6.1132 | -3.4839 | -74.6677 | 74.6677 | -700 | -700 | -700
-40.5 | -0.072 | -100 | 59.928 | 60 | -40.5 | -56.0769 | -31.6957 |  |  |  | -4.5 | -6.2308 | -3.5217 | -74.6677 | 74.6677 | -700 | -700 | -700
-41.0704 | -0.071 | -100 | 59.929 | 60 | -41.0704 | -57.1765 | -32.044 |  |  |  | -4.5634 | -6.3529 | -3.5604 | -74.6677 | 74.6677 | -700 | -700 | -700
-41.6571 | -0.07 | -100 | 59.93 | 60 | -41.6571 | -58.32 | -32.4 |  |  |  | -4.6286 | -6.48 | -3.6 | -74.6677 | 74.6677 | -700 | -700 | -700
-42.2609 | -0.069 | -100 | 59.931 | 60 | -42.2609 | -59.5102 | -32.764 |  |  |  | -4.6957 | -6.6122 | -3.6404 | -74.6677 | 74.6677 | -700 | -700 | -700
-42.8824 | -0.068 | -100 | 59.932 | 60 | -42.8824 | -60.75 | -33.1364 |  |  |  | -4.7647 | -6.75 | -3.6818 | -74.6677 | 74.6677 | -700 | -700 | -700
-43.5224 | -0.067 | -100 | 59.933 | 60 | -43.5224 | -62.0426 | -33.5172 |  |  |  | -4.8358 | -6.8936 | -3.7241 | -74.6677 | 74.6677 | -700 | -700 | -700
-44.1818 | -0.066 | -100 | 59.934 | 60 | -44.1818 | -63.3913 | -33.907 |  |  |  | -4.9091 | -7.0435 | -3.7674 | -74.6677 | 74.6677 | -700 | -700 | -700
-44.8615 | -0.065 | -100 | 59.935 | 60 | -44.8615 | -64.8 | -34.3059 |  |  |  | -4.9846 | -7.2 | -3.8118 | -74.6677 | 74.6677 | -700 | -700 | -700
-45.5625 | -0.064 | -100 | 59.936 | 60 | -45.5625 | -66.2727 | -34.7143 |  |  |  | -5.0625 | -7.3636 | -3.8571 | -74.6677 | 74.6677 | -700 | -700 | -700
-46.2857 | -0.063 | -100 | 59.937 | 60 | -46.2857 | -67.814 | -35.1325 |  |  |  | -5.1429 | -7.5349 | -3.9036 | -74.6677 | 74.6677 | -700 | -700 | -700
-47.0323 | -0.062 | -100 | 59.938 | 60 | -47.0323 | -69.4286 | -35.561 |  |  |  | -5.2258 | -7.7143 | -3.9512 | -74.6677 | 74.6677 | -700 | -700 | -700
-47.8033 | -0.061 | -100 | 59.939 | 60 | -47.8033 | -71.1219 | -36 |  |  |  | -5.3115 | -7.9024 | -4 | -74.6677 | 74.6677 | -700 | -700 | -700
-48.6 | -0.06 | -100 | 59.94 | 60 | -48.6 | -72.9 | -36.45 |  |  |  | -5.4 | -8.1 | -4.05 | -74.6677 | 74.6677 | -700 | -700 | -700
-49.4237 | -0.059 | -100 | 59.941 | 60 | -49.4237 | -74.7692 | -36.9114 |  |  |  | -5.4915 | -8.3077 | -4.1013 | -74.6677 | 74.6677 | -700 | -700 | -700
-50.2759 | -0.058 | -100 | 59.942 | 60 | -50.2759 | -76.7368 | -37.3846 |  |  |  | -5.5862 | -8.5263 | -4.1538 | -74.6677 | 74.6677 | -700 | -700 | -700
-51.1579 | -0.057 | -100 | 59.943 | 60 | -51.1579 | -78.8108 | -37.8701 |  |  |  | -5.6842 | -8.7568 | -4.2078 | -74.6677 | 74.6677 | -700 | -700 | -700
-52.0714 | -0.056 | -100 | 59.944 | 60 | -52.0714 | -81 | -38.3684 |  |  |  | -5.7857 | -9 | -4.2632 | -74.6677 | 74.6677 | -700 | -700 | -700
-53.0182 | -0.055 | -100 | 59.945 | 60 | -53.0182 | -83.3143 | -38.88 |  |  |  | -5.8909 | -9.2571 | -4.32 | -74.6677 | 74.6677 | -700 | -700 | -700
-54 | -0.054 | -100 | 59.946 | 60 | -54 | -85.7647 | -39.4054 |  |  |  | -6 | -9.5294 | -4.3784 | -74.6677 | 74.6677 | -700 | -700 | -700
-55.0189 | -0.053 | -100 | 59.947 | 60 | -55.0189 | -88.3636 | -39.9452 |  |  |  | -6.1132 | -9.8182 | -4.4384 | -74.6677 | 74.6677 | -700 | -700 | -700
-56.0769 | -0.052 | -100 | 59.948 | 60 | -56.0769 | -91.125 | -40.5 |  |  |  | -6.2308 | -10.125 | -4.5 | -74.6677 | 74.6677 | -700 | -700 | -700
-57.1765 | -0.051 | -100 | 59.949 | 60 | -57.1765 | -94.0645 | -41.0704 |  |  |  | -6.3529 | -10.4516 | -4.5634 | -74.6677 | 74.6677 | -700 | -700 | -700
-58.32 | -0.05 | -100 | 59.95 | 60 | -58.32 | -97.2 | -41.6571 |  |  |  | -6.48 | -10.8 | -4.6286 | -74.6677 | 74.6677 | -700 | -700 | -700
-59.5102 | -0.049 | -100 | 59.951 | 60 | -59.5102 | -100.5517 | -42.2609 |  |  |  | -6.6122 | -11.1724 | -4.6957 | -74.6677 | 74.6677 | -700 | -700 | -700
-60.75 | -0.048 | -100 | 59.952 | 60 | -60.75 | -104.1429 | -42.8824 |  |  |  | -6.75 | -11.5714 | -4.7647 | -74.6677 | 74.6677 | -700 | -700 | -700
-62.0426 | -0.047 | -100 | 59.953 | 60 | -62.0426 | -108 | -43.5224 |  |  |  | -6.8936 | -12 | -4.8358 | -74.6677 | 74.6677 | -700 | -700 | -700
-63.3913 | -0.046 | -100 | 59.954 | 60 | -63.3913 | -112.1538 | -44.1818 |  |  |  | -7.0435 | -12.4615 | -4.9091 | -74.6677 | 74.6677 | -700 | -700 | -700
-64.8 | -0.045 | -100 | 59.955 | 60 | -64.8 | -116.64 | -44.8615 |  |  |  | -7.2 | -12.96 | -4.9846 | -74.6677 | 74.6677 | -700 | -700 | -700
-66.2727 | -0.044 | -100 | 59.956 | 60 | -66.2727 | -121.5 | -45.5625 |  |  |  | -7.3636 | -13.5 | -5.0625 | -74.6677 | 74.6677 | -700 | -700 | -700
-67.814 | -0.043 | -100 | 59.957 | 60 | -67.814 | -126.7826 | -46.2857 |  |  |  | -7.5349 | -14.087 | -5.1429 | -74.6677 | 74.6677 | -700 | -700 | -700
-69.4286 | -0.042 | -100 | 59.958 | 60 | -69.4286 | -132.5454 | -47.0323 |  |  |  | -7.7143 | -14.7273 | -5.2258 | -74.6677 | 74.6677 | -700 | -700 | -700
-71.1219 | -0.041 | -100 | 59.959 | 60 | -71.1219 | -138.8571 | -47.8033 |  |  |  | -7.9024 | -15.4286 | -5.3115 | -74.6677 | 74.6677 | -700 | -700 | -700
-72.9 | -0.04 | -100 | 59.96 | 60 | -72.9 | -145.8 | -48.6 |  |  |  | -8.1 | -16.2 | -5.4 | -74.6677 | 74.6677 | -700 | -700 | -700
-74.7692 | -0.039 | -100 | 59.961 | 60 | -74.7692 | -153.4737 | -49.4237 |  |  |  | -8.3077 | -17.0526 | -5.4915 | -74.6677 | 74.6677 | -700 | -700 | -700
-76.7368 | -0.038 | -100 | 59.962 | 60 | -76.7368 | -162 | -50.2759 |  |  |  | -8.5263 | -18 | -5.5862 | -74.6677 | 74.6677 | -700 | -700 | -700
-78.8108 | -0.037 | -100 | 59.963 | 60 | -78.8108 | -171.5294 | -51.1579 |  |  |  | -8.7568 | -19.0588 | -5.6842 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-81 | -0.036 | -100 | 59.964 | 60 | -81 | -182.25 | -52.0714 |  |  |  | -9 | -20.25 | -5.7857 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-83.3143 | -0.035 | -100 | 59.965 | 60 | -83.3143 | -194.4 | -53.0182 |  |  |  | -9.2571 | -21.6 | -5.8909 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-85.7647 | -0.034 | -100 | 59.966 | 60 | -85.7647 | -208.2857 | -54 |  |  |  | -9.5294 | -23.1429 | -6 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-88.3636 | -0.033 | -100 | 59.967 | 60 | -88.3636 | -224.3077 | -55.0189 |  |  |  | -9.8182 | -24.9231 | -6.1132 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-91.125 | -0.032 | -100 | 59.968 | 60 | -91.125 | -243 | -56.0769 |  |  |  | -10.125 | -27 | -6.2308 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-94.0645 | -0.031 | -100 | 59.969 | 60 | -94.0645 | -265.0909 | -57.1765 |  |  |  | -10.4516 | -29.4545 | -6.3529 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-97.2 | -0.03 | -100 | 59.97 | 60 | -97.2 | -291.6 | -58.32 |  |  |  | -10.8 | -32.4 | -6.48 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-100.5517 | -0.029 | -100 | 59.971 | 60 | -100.5517 | -324 | -59.5102 |  |  |  | -11.1724 | -36 | -6.6122 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-104.1429 | -0.028 | -100 | 59.972 | 60 | -104.1429 | -364.5 | -60.75 |  |  |  | -11.5714 | -40.5 | -6.75 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-108 | -0.027 | -100 | 59.973 | 60 | -108 | -416.5714 | -62.0426 |  |  |  | -12 | -46.2857 | -6.8936 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-112.1538 | -0.026 | -100 | 59.974 | 60 | -112.1538 | -485.9999 | -63.3913 |  |  |  | -12.4615 | -54 | -7.0435 | -74.6677 | 74.6677 | -700 | -699.9999 | -700
-116.64 | -0.025 | -100 | 59.975 | 60 | -116.64 | -583.1999 | -64.8 |  |  |  | -12.96 | -64.8 | -7.2 | -74.6677 | 74.6677 | -700 | -699.9998 | -700
-121.5 | -0.024 | -100 | 59.976 | 60 | -121.5 | -728.9998 | -66.2727 |  |  |  | -13.5 | -81 | -7.3636 | -74.6677 | 74.6677 | -700 | -699.9998 | -700
-126.7826 | -0.023 | -100 | 59.977 | 60 | -126.7826 | -971.9997 | -67.814 |  |  |  | -14.087 | -108 | -7.5349 | -74.6677 | 74.6677 | -700 | -699.9997 | -700
-132.5454 | -0.022 | -100 | 59.978 | 60 | -132.5454 | -1457.9993 | -69.4286 |  |  |  | -14.7273 | -162 | -7.7143 | -74.6677 | 74.6677 | -700 | -699.9996 | -700
-138.8571 | -0.021 | -100 | 59.979 | 60 | -138.8571 | -2915.9971 | -71.1219 |  |  |  | -15.4286 | -324 | -7.9024 | -74.6677 | 74.6677 | -700 | -699.9991 | -700
-142.2439 | -0.0205 | -100 | 59.9795 | 60 | -142.2439 | -5831.9883 | -72 |  |  |  | -15.8049 | -648 | -8 | -74.6677 | 74.6677 | -700 | -699.9982 | -700
-145.0746 | -0.0201 | -100 | 59.9799 | 60 | -145.0746 | -29159.7084 | -72.7182 |  |  |  | -16.1194 | -3240 | -8.0798 | -74.6677 | 74.6677 | -700 | -699.991 | -700
-145.8 | -0.02 | -100 | 59.98 | 60 | -145.8 |  | -72.9 |  |  |  | -16.2 | 360294920323.1335 | -8.1 | -74.6677 | 74.6677 | -700 | 200 | -700
-146.5327 | -0.0199 | -100 | 59.9801 | 60 | -146.5327 |  | -73.0827 |  | 29160 |  | -16.2814 | 3240 | -8.1203 | -74.6677 | 74.6677 | -700 | -700 | -700
-149.5385 | -0.0195 | -100 | 59.9805 | 60 | -149.5385 |  | -73.8228 |  | 5832 |  | -16.6154 | 648 | -8.2025 | -74.6677 | 74.6677 | -700 | -700 | -700
-153.4737 | -0.019 | -100 | 59.981 | 60 | -153.4737 |  | -74.7692 |  | 2916 |  | -17.0526 | 324 | -8.3077 | -74.6677 | 74.6677 | -700 | -700 | -700
-162 | -0.018 | -100 | 59.982 | 60 | -162 |  | -76.7368 |  | 1458 |  | -18 | 162 | -8.5263 | -74.6677 | 74.6677 | -700 | -700 | -700
-171.5294 | -0.017 | -100 | 59.983 | 60 | -171.5294 |  | -78.8108 |  | 972 |  | -19.0588 | 108 | -8.7568 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-182.25 | -0.016 | -100 | 59.984 | 60 | -182.25 |  | -81 |  | 729 |  | -20.25 | 81 | -9 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-194.4 | -0.015 | -100 | 59.985 | 60 | -194.4 |  | -83.3143 |  | 583.2 |  | -21.6 | 64.8 | -9.2571 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-208.2857 | -0.014 | -100 | 59.986 | 60 | -208.2857 |  | -85.7647 |  | 486 |  | -23.1429 | 54 | -9.5294 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-224.3077 | -0.013 | -100 | 59.987 | 60 | -224.3077 |  | -88.3636 |  | 416.5714 |  | -24.9231 | 46.2857 | -9.8182 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-243 | -0.012 | -100 | 59.988 | 60 | -243 |  | -91.125 |  | 364.5 |  | -27 | 40.5 | -10.125 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-265.0909 | -0.011 | -100 | 59.989 | 60 | -265.0909 |  | -94.0645 |  | 324 |  | -29.4545 | 36 | -10.4516 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-291.6 | -0.01 | -100 | 59.99 | 60 | -291.6 |  | -97.2 |  | 291.6 |  | -32.4 | 32.4 | -10.8 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-324 | -0.009 | -100 | 59.991 | 60 | -324 |  | -100.5517 |  | 265.0909 |  | -36 | 29.4545 | -11.1724 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-364.5 | -0.008 | -100 | 59.992 | 60 | -364.5 |  | -104.1429 |  | 243 |  | -40.5 | 27 | -11.5714 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-416.5714 | -0.007 | -100 | 59.993 | 60 | -416.5714 |  | -108 |  | 224.3077 |  | -46.2857 | 24.9231 | -12 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-485.9999 | -0.006 | -100 | 59.994 | 60 | -485.9999 |  | -112.1538 |  | 208.2857 |  | -54 | 23.1429 | -12.4615 | -74.6677 | 74.6677 | -699.9999 | -700 | -700
-583.1999 | -0.005 | -100 | 59.995 | 60 | -583.1999 |  | -116.64 |  | 194.4 |  | -64.8 | 21.6 | -12.96 | -74.6677 | 74.6677 | -699.9998 | -700 | -700
-728.9998 | -0.004 | -100 | 59.996 | 60 | -728.9998 |  | -121.5 |  | 182.25 |  | -81 | 20.25 | -13.5 | -74.6677 | 74.6677 | -699.9998 | -700 | -700
-971.9997 | -0.003 | -100 | 59.997 | 60 | -971.9997 |  | -126.7826 |  | 171.5294 |  | -108 | 19.0588 | -14.087 | -74.6677 | 74.6677 | -699.9997 | -700 | -700
-1457.9993 | -0.002 | -100 | 59.998 | 60 | -1457.9993 |  | -132.5454 |  | 162 |  | -162 | 18 | -14.7273 | -74.6677 | 74.6677 | -699.9996 | -700 | -700
-2915.9971 | -0.001 | -100 | 59.999 | 60 | -2915.9971 |  | -138.8571 |  | 153.4737 |  | -324 | 17.0526 | -15.4286 | -74.6677 | 74.6677 | -699.9991 | -700 | -700
-5831.9883 | -0.0005 | -100 | 59.9995 | 60 | -5831.9883 |  | -142.2439 |  | 149.5385 |  | -648 | 16.6154 | -15.8049 | -74.6677 | 74.6677 | -699.9982 | -700 | -700
-29159.7084 | -0.0001 | -100 | 59.9999 | 60 | -29159.7084 |  | -145.0746 |  | 146.5327 |  | -3240 | 16.2814 | -16.1194 | -74.6677 | 74.6677 | -699.991 | -700 | -700
29160 | 0.0001 | -100 | 60.0001 | 60 |  |  | -146.5327 | 29160 | 145.0746 |  | 3240 | 16.1194 | -16.2814 | -74.6677 | 74.6677 | -700 | -700 | -700
5832 | 0.0005 | -100 | 60.0005 | 60 |  |  | -149.5385 | 5832 | 142.2439 |  | 648 | 15.8049 | -16.6154 | -74.6677 | 74.6677 | -700 | -700 | -700
2916 | 0.001 | -100 | 60.001 | 60 |  |  | -153.4737 | 2916 | 138.8571 |  | 324 | 15.4286 | -17.0526 | -74.6677 | 74.6677 | -700 | -700 | -700
1458 | 0.002 | -100 | 60.002 | 60 |  |  | -162 | 1458 | 132.5455 |  | 162 | 14.7273 | -18 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
972 | 0.003 | -100 | 60.003 | 60 |  |  | -171.5294 | 972 | 126.7826 |  | 108 | 14.087 | -19.0588 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
729 | 0.004 | -100 | 60.004 | 60 |  |  | -182.25 | 729 | 121.5 |  | 81 | 13.5 | -20.25 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
583.2 | 0.005 | -100 | 60.005 | 60 |  |  | -194.4 | 583.2 | 116.64 |  | 64.8 | 12.96 | -21.6 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
486 | 0.006 | -100 | 60.006 | 60 |  |  | -208.2857 | 486 | 112.1538 |  | 54 | 12.4615 | -23.1429 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
416.5714 | 0.007 | -100 | 60.007 | 60 |  |  | -224.3077 | 416.5714 | 108 |  | 46.2857 | 12 | -24.9231 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
364.5 | 0.008 | -100 | 60.008 | 60 |  |  | -243 | 364.5 | 104.1429 |  | 40.5 | 11.5714 | -27 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
324 | 0.009 | -100 | 60.009 | 60 |  |  | -265.0909 | 324 | 100.5517 |  | 36 | 11.1724 | -29.4545 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
291.6 | 0.01 | -100 | 60.01 | 60 |  |  | -291.6 | 291.6 | 97.2 |  | 32.4 | 10.8 | -32.4 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
265.0909 | 0.011 | -100 | 60.011 | 60 |  |  | -324 | 265.0909 | 94.0645 |  | 29.4545 | 10.4516 | -36 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
243 | 0.012 | -100 | 60.012 | 60 |  |  | -364.5 | 243 | 91.125 |  | 27 | 10.125 | -40.5 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
224.3077 | 0.013 | -100 | 60.013 | 60 |  |  | -416.5714 | 224.3077 | 88.3636 |  | 24.9231 | 9.8182 | -46.2857 | -74.6677 | 74.6677 | -700 | -700 | -699.9999
208.2857 | 0.014 | -100 | 60.014 | 60 |  |  | -485.9999 | 208.2857 | 85.7647 |  | 23.1429 | 9.5294 | -54 | -74.6677 | 74.6677 | -700 | -700 | -699.9998
194.4 | 0.015 | -100 | 60.015 | 60 |  |  | -583.1999 | 194.4 | 83.3143 |  | 21.6 | 9.2571 | -64.8 | -74.6677 | 74.6677 | -700 | -700 | -699.9998
182.25 | 0.016 | -100 | 60.016 | 60 |  |  | -728.9998 | 182.25 | 81 |  | 20.25 | 9 | -81 | -74.6677 | 74.6677 | -700 | -700 | -699.9998
171.5294 | 0.017 | -100 | 60.017 | 60 |  |  | -971.9997 | 171.5294 | 78.8108 |  | 19.0588 | 8.7568 | -108 | -74.6677 | 74.6677 | -700 | -700 | -699.9997
162 | 0.018 | -100 | 60.018 | 60 |  |  | -1457.9993 | 162 | 76.7368 |  | 18 | 8.5263 | -162 | -74.6677 | 74.6677 | -700 | -700 | -699.9995
153.4737 | 0.019 | -100 | 60.019 | 60 |  |  | -2915.9971 | 153.4737 | 74.7692 |  | 17.0526 | 8.3077 | -324 | -74.6677 | 74.6677 | -700 | -700 | -699.9991
149.5385 | 0.0195 | -100 | 60.0195 | 60 |  |  | -5831.9883 | 149.5385 | 73.8228 |  | 16.6154 | 8.2025 | -648 | -74.6677 | 74.6677 | -700 | -700 | -699.9982
146.5327 | 0.0199 | -100 | 60.0199 | 60 |  |  | -29159.7084 | 146.5327 | 73.0827 |  | 16.2814 | 8.1203 | -3240 | -74.6677 | 74.6677 | -700 | -700 | -699.991
145.8 | 0.02 | -100 | 60.02 | 60 |  |  |  | 145.8 | 72.9 |  | 16.2 | 8.1 | 324686451521.8103 | -74.6677 | 74.6677 | -700 | -700 | 200
145.0746 | 0.0201 | -100 | 60.0201 | 60 |  |  |  | 145.0746 | 72.7182 | 29160 | 16.1194 | 8.0798 | 3240 | -74.6677 | 74.6677 | -700 | -700 | -700
142.2439 | 0.0205 | -100 | 60.0205 | 60 |  |  |  | 142.2439 | 72 | 5832 | 15.8049 | 8 | 648 | -74.6677 | 74.6677 | -700 | -700 | -700
138.8571 | 0.021 | -100 | 60.021 | 60 |  |  |  | 138.8571 | 71.122 | 2916 | 15.4286 | 7.9024 | 324 | -74.6677 | 74.6677 | -700 | -700 | -700
132.5455 | 0.022 | -100 | 60.022 | 60 |  |  |  | 132.5455 | 69.4286 | 1458 | 14.7273 | 7.7143 | 162 | -74.6677 | 74.6677 | -700 | -700 | -700
126.7826 | 0.023 | -100 | 60.023 | 60 |  |  |  | 126.7826 | 67.814 | 972 | 14.087 | 7.5349 | 108 | -74.6677 | 74.6677 | -700 | -700 | -700
121.5 | 0.024 | -100 | 60.024 | 60 |  |  |  | 121.5 | 66.2727 | 729 | 13.5 | 7.3636 | 81 | -74.6677 | 74.6677 | -700 | -700 | -700
116.64 | 0.025 | -100 | 60.025 | 60 |  |  |  | 116.64 | 64.8 | 583.2 | 12.96 | 7.2 | 64.8 | -74.6677 | 74.6677 | -700 | -700 | -700
112.1538 | 0.026 | -100 | 60.026 | 60 |  |  |  | 112.1538 | 63.3913 | 486 | 12.4615 | 7.0435 | 54 | -74.6677 | 74.6677 | -700 | -700 | -700
108 | 0.027 | -100 | 60.027 | 60 |  |  |  | 108 | 62.0426 | 416.5714 | 12 | 6.8936 | 46.2857 | -74.6677 | 74.6677 | -700 | -700 | -700
104.1429 | 0.028 | -100 | 60.028 | 60 |  |  |  | 104.1429 | 60.75 | 364.5 | 11.5714 | 6.75 | 40.5 | -74.6677 | 74.6677 | -700 | -700 | -700
100.5517 | 0.029 | -100 | 60.029 | 60 |  |  |  | 100.5517 | 59.5102 | 324 | 11.1724 | 6.6122 | 36 | -74.6677 | 74.6677 | -700 | -700 | -700
97.2 | 0.03 | -100 | 60.03 | 60 |  |  |  | 97.2 | 58.32 | 291.6 | 10.8 | 6.48 | 32.4 | -74.6677 | 74.6677 | -700 | -700 | -700
94.0645 | 0.031 | -100 | 60.031 | 60 |  |  |  | 94.0645 | 57.1765 | 265.0909 | 10.4516 | 6.3529 | 29.4545 | -74.6677 | 74.6677 | -700 | -700 | -700
91.125 | 0.032 | -100 | 60.032 | 60 |  |  |  | 91.125 | 56.0769 | 243 | 10.125 | 6.2308 | 27 | -74.6677 | 74.6677 | -700 | -700 | -700
88.3636 | 0.033 | -100 | 60.033 | 60 |  |  |  | 88.3636 | 55.0189 | 224.3077 | 9.8182 | 6.1132 | 24.9231 | -74.6677 | 74.6677 | -700 | -700 | -700
85.7647 | 0.034 | -100 | 60.034 | 60 |  |  |  | 85.7647 | 54 | 208.2857 | 9.5294 | 6 | 23.1429 | -74.6677 | 74.6677 | -700 | -700 | -700
83.3143 | 0.035 | -100 | 60.035 | 60 |  |  |  | 83.3143 | 53.0182 | 194.4 | 9.2571 | 5.8909 | 21.6 | -74.6677 | 74.6677 | -700 | -700 | -700
81 | 0.036 | -100 | 60.036 | 60 |  |  |  | 81 | 52.0714 | 182.25 | 9 | 5.7857 | 20.25 | -74.6677 | 74.6677 | -700 | -700 | -700
78.8108 | 0.037 | -100 | 60.037 | 60 |  |  |  | 78.8108 | 51.1579 | 171.5294 | 8.7568 | 5.6842 | 19.0588 | -74.6677 | 74.6677 | -700 | -700 | -700
76.7368 | 0.038 | -100 | 60.038 | 60 |  |  |  | 76.7368 | 50.2759 | 162 | 8.5263 | 5.5862 | 18 | -74.6677 | 74.6677 | -700 | -700 | -700
74.7692 | 0.039 | -100 | 60.039 | 60 |  |  |  | 74.7692 | 49.4237 | 153.4737 | 8.3077 | 5.4915 | 17.0526 | -74.6677 | 74.6677 | -700 | -700 | -700
72.9 | 0.04 | -100 | 60.04 | 60 |  |  |  | 72.9 | 48.6 | 145.8 | 8.1 | 5.4 | 16.2 | -74.6677 | 74.6677 | -700 | -700 | -700
71.122 | 0.041 | -100 | 60.041 | 60 |  |  |  | 71.122 | 47.8033 | 138.8571 | 7.9024 | 5.3115 | 15.4286 | -74.6677 | 74.6677 | -700 | -700 | -700
69.4286 | 0.042 | -100 | 60.042 | 60 |  |  |  | 69.4286 | 47.0323 | 132.5455 | 7.7143 | 5.2258 | 14.7273 | -74.6677 | 74.6677 | -700 | -700 | -700
67.814 | 0.043 | -100 | 60.043 | 60 |  |  |  | 67.814 | 46.2857 | 126.7826 | 7.5349 | 5.1429 | 14.087 | -74.6677 | 74.6677 | -700 | -700 | -700
66.2727 | 0.044 | -100 | 60.044 | 60 |  |  |  | 66.2727 | 45.5625 | 121.5 | 7.3636 | 5.0625 | 13.5 | -74.6677 | 74.6677 | -700 | -700 | -700
64.8 | 0.045 | -100 | 60.045 | 60 |  |  |  | 64.8 | 44.8615 | 116.64 | 7.2 | 4.9846 | 12.96 | -74.6677 | 74.6677 | -700 | -700 | -700
63.3913 | 0.046 | -100 | 60.046 | 60 |  |  |  | 63.3913 | 44.1818 | 112.1538 | 7.0435 | 4.9091 | 12.4615 | -74.6677 | 74.6677 | -700 | -700 | -700
62.0426 | 0.047 | -100 | 60.047 | 60 |  |  |  | 62.0426 | 43.5224 | 108 | 6.8936 | 4.8358 | 12 | -74.6677 | 74.6677 | -700 | -700 | -700
60.75 | 0.048 | -100 | 60.048 | 60 |  |  |  | 60.75 | 42.8824 | 104.1429 | 6.75 | 4.7647 | 11.5714 | -74.6677 | 74.6677 | -700 | -700 | -700
59.5102 | 0.049 | -100 | 60.049 | 60 |  |  |  | 59.5102 | 42.2609 | 100.5517 | 6.6122 | 4.6957 | 11.1724 | -74.6677 | 74.6677 | -700 | -700 | -700
58.32 | 0.05 | -100 | 60.05 | 60 |  |  |  | 58.32 | 41.6571 | 97.2 | 6.48 | 4.6286 | 10.8 | -74.6677 | 74.6677 | -700 | -700 | -700
57.1765 | 0.051 | -100 | 60.051 | 60 |  |  |  | 57.1765 | 41.0704 | 94.0645 | 6.3529 | 4.5634 | 10.4516 | -74.6677 | 74.6677 | -700 | -700 | -700
56.0769 | 0.052 | -100 | 60.052 | 60 |  |  |  | 56.0769 | 40.5 | 91.125 | 6.2308 | 4.5 | 10.125 | -74.6677 | 74.6677 | -700 | -700 | -700
55.0189 | 0.053 | -100 | 60.053 | 60 |  |  |  | 55.0189 | 39.9452 | 88.3636 | 6.1132 | 4.4384 | 9.8182 | -74.6677 | 74.6677 | -700 | -700 | -700
54 | 0.054 | -100 | 60.054 | 60 |  |  |  | 54 | 39.4054 | 85.7647 | 6 | 4.3784 | 9.5294 | -74.6677 | 74.6677 | -700 | -700 | -700
53.0182 | 0.055 | -100 | 60.055 | 60 |  |  |  | 53.0182 | 38.88 | 83.3143 | 5.8909 | 4.32 | 9.2571 | -74.6677 | 74.6677 | -700 | -700 | -700
52.0714 | 0.056 | -100 | 60.056 | 60 |  |  |  | 52.0714 | 38.3684 | 81 | 5.7857 | 4.2632 | 9 | -74.6677 | 74.6677 | -700 | -700 | -700
51.1579 | 0.057 | -100 | 60.057 | 60 |  |  |  | 51.1579 | 37.8701 | 78.8108 | 5.6842 | 4.2078 | 8.7568 | -74.6677 | 74.6677 | -700 | -700 | -700
50.2759 | 0.058 | -100 | 60.058 | 60 |  |  |  | 50.2759 | 37.3846 | 76.7368 | 5.5862 | 4.1538 | 8.5263 | -74.6677 | 74.6677 | -700 | -700 | -700
49.4237 | 0.059 | -100 | 60.059 | 60 |  |  |  | 49.4237 | 36.9114 | 74.7692 | 5.4915 | 4.1013 | 8.3077 | -74.6677 | 74.6677 | -700 | -700 | -700
48.6 | 0.06 | -100 | 60.06 | 60 |  |  |  | 48.6 | 36.45 | 72.9 | 5.4 | 4.05 | 8.1 | -74.6677 | 74.6677 | -700 | -700 | -700
47.8033 | 0.061 | -100 | 60.061 | 60 |  |  |  | 47.8033 | 36 | 71.122 | 5.3115 | 4 | 7.9024 | -74.6677 | 74.6677 | -700 | -700 | -700
47.0323 | 0.062 | -100 | 60.062 | 60 |  |  |  | 47.0323 | 35.561 | 69.4286 | 5.2258 | 3.9512 | 7.7143 | -74.6677 | 74.6677 | -700 | -700 | -700
46.2857 | 0.063 | -100 | 60.063 | 60 |  |  |  | 46.2857 | 35.1325 | 67.814 | 5.1429 | 3.9036 | 7.5349 | -74.6677 | 74.6677 | -700 | -700 | -700
45.5625 | 0.064 | -100 | 60.064 | 60 |  |  |  | 45.5625 | 34.7143 | 66.2727 | 5.0625 | 3.8571 | 7.3636 | -74.6677 | 74.6677 | -700 | -700 | -700
44.8615 | 0.065 | -100 | 60.065 | 60 |  |  |  | 44.8615 | 34.3059 | 64.8 | 4.9846 | 3.8118 | 7.2 | -74.6677 | 74.6677 | -700 | -700 | -700
44.1818 | 0.066 | -100 | 60.066 | 60 |  |  |  | 44.1818 | 33.907 | 63.3913 | 4.9091 | 3.7674 | 7.0435 | -74.6677 | 74.6677 | -700 | -700 | -700
43.5224 | 0.067 | -100 | 60.067 | 60 |  |  |  | 43.5224 | 33.5172 | 62.0426 | 4.8358 | 3.7241 | 6.8936 | -74.6677 | 74.6677 | -700 | -700 | -700
42.8824 | 0.068 | -100 | 60.068 | 60 |  |  |  | 42.8824 | 33.1364 | 60.75 | 4.7647 | 3.6818 | 6.75 | -74.6677 | 74.6677 | -700 | -700 | -700
42.2609 | 0.069 | -100 | 60.069 | 60 |  |  |  | 42.2609 | 32.764 | 59.5102 | 4.6957 | 3.6404 | 6.6122 | -74.6677 | 74.6677 | -700 | -700 | -700
41.6571 | 0.07 | -100 | 60.07 | 60 |  |  |  | 41.6571 | 32.4 | 58.32 | 4.6286 | 3.6 | 6.48 | -74.6677 | 74.6677 | -700 | -700 | -700
41.0704 | 0.071 | -100 | 60.071 | 60 |  |  |  | 41.0704 | 32.044 | 57.1765 | 4.5634 | 3.5604 | 6.3529 | -74.6677 | 74.6677 | -700 | -700 | -700
40.5 | 0.072 | -100 | 60.072 | 60 |  |  |  | 40.5 | 31.6957 | 56.0769 | 4.5 | 3.5217 | 6.2308 | -74.6677 | 74.6677 | -700 | -700 | -700
39.9452 | 0.073 | -100 | 60.073 | 60 |  |  |  | 39.9452 | 31.3548 | 55.0189 | 4.4384 | 3.4839 | 6.1132 | -74.6677 | 74.6677 | -700 | -700 | -700
39.4054 | 0.074 | -100 | 60.074 | 60 |  |  |  | 39.4054 | 31.0213 | 54 | 4.3784 | 3.4468 | 6 | -74.6677 | 74.6677 | -700 | -700 | -700
38.88 | 0.075 | -100 | 60.075 | 60 |  |  |  | 38.88 | 30.6947 | 53.0182 | 4.32 | 3.4105 | 5.8909 | -74.6677 | 74.6677 | -700 | -700 | -700
38.3684 | 0.076 | -100 | 60.076 | 60 |  |  |  | 38.3684 | 30.375 | 52.0714 | 4.2632 | 3.375 | 5.7857 | -74.6677 | 74.6677 | -700 | -700 | -700
37.8701 | 0.077 | -100 | 60.077 | 60 |  |  |  | 37.8701 | 30.0619 | 51.1579 | 4.2078 | 3.3402 | 5.6842 | -74.6677 | 74.6677 | -700 | -700 | -700
37.3846 | 0.078 | -100 | 60.078 | 60 |  |  |  | 37.3846 | 29.7551 | 50.2759 | 4.1538 | 3.3061 | 5.5862 | -74.6677 | 74.6677 | -700 | -700 | -700
36.9114 | 0.079 | -100 | 60.079 | 60 |  |  |  | 36.9114 | 29.4545 | 49.4237 | 4.1013 | 3.2727 | 5.4915 | -74.6677 | 74.6677 | -700 | -700 | -700
36.45 | 0.08 | -100 | 60.08 | 60 |  |  |  | 36.45 | 29.16 | 48.6 | 4.05 | 3.24 | 5.4 | -74.6677 | 74.6677 | -700 | -700 | -700
36 | 0.081 | -100 | 60.081 | 60 |  |  |  | 36 | 28.8713 | 47.8033 | 4 | 3.2079 | 5.3115 | -74.6677 | 74.6677 | -700 | -700 | -700
35.561 | 0.082 | -100 | 60.082 | 60 |  |  |  | 35.561 | 28.5882 | 47.0323 | 3.9512 | 3.1765 | 5.2258 | -74.6677 | 74.6677 | -700 | -700 | -700
35.1325 | 0.083 | -100 | 60.083 | 60 |  |  |  | 35.1325 | 28.3107 | 46.2857 | 3.9036 | 3.1456 | 5.1429 | -74.6677 | 74.6677 | -700 | -700 | -700
34.7143 | 0.084 | -100 | 60.084 | 60 |  |  |  | 34.7143 | 28.0385 | 45.5625 | 3.8571 | 3.1154 | 5.0625 | -74.6677 | 74.6677 | -700 | -700 | -700
34.3059 | 0.085 | -100 | 60.085 | 60 |  |  |  | 34.3059 | 27.7714 | 44.8615 | 3.8118 | 3.0857 | 4.9846 | -74.6677 | 74.6677 | -700 | -700 | -700
33.907 | 0.086 | -100 | 60.086 | 60 |  |  |  | 33.907 | 27.5094 | 44.1818 | 3.7674 | 3.0566 | 4.9091 | -74.6677 | 74.6677 | -700 | -700 | -700
33.5172 | 0.087 | -100 | 60.087 | 60 |  |  |  | 33.5172 | 27.2523 | 43.5224 | 3.7241 | 3.028 | 4.8358 | -74.6677 | 74.6677 | -700 | -700 | -700
33.1364 | 0.088 | -100 | 60.088 | 60 |  |  |  | 33.1364 | 27 | 42.8824 | 3.6818 | 3 | 4.7647 | -74.6677 | 74.6677 | -700 | -700 | -700
32.764 | 0.089 | -100 | 60.089 | 60 |  |  |  | 32.764 | 26.7523 | 42.2609 | 3.6404 | 2.9725 | 4.6957 | -74.6677 | 74.6677 | -700 | -700 | -700
32.4 | 0.09 | -100 | 60.09 | 60 |  |  |  | 32.4 | 26.5091 | 41.6571 | 3.6 | 2.9455 | 4.6286 | -74.6677 | 74.6677 | -700 | -700 | -700
32.044 | 0.091 | -100 | 60.091 | 60 |  |  |  | 32.044 | 26.2703 | 41.0704 | 3.5604 | 2.9189 | 4.5634 | -74.6677 | 74.6677 | -700 | -700 | -700
31.6957 | 0.092 | -100 | 60.092 | 60 |  |  |  | 31.6957 | 26.0357 | 40.5 | 3.5217 | 2.8929 | 4.5 | -74.6677 | 74.6677 | -700 | -700 | -700
31.3548 | 0.093 | -100 | 60.093 | 60 |  |  |  | 31.3548 | 25.8053 | 39.9452 | 3.4839 | 2.8673 | 4.4384 | -74.6677 | 74.6677 | -700 | -700 | -700
31.0213 | 0.094 | -100 | 60.094 | 60 |  |  |  | 31.0213 | 25.5789 | 39.4054 | 3.4468 | 2.8421 | 4.3784 | -74.6677 | 74.6677 | -700 | -700 | -700
30.6947 | 0.095 | -100 | 60.095 | 60 |  |  |  | 30.6947 | 25.3565 | 38.88 | 3.4105 | 2.8174 | 4.32 | -74.6677 | 74.6677 | -700 | -700 | -700
30.375 | 0.096 | -100 | 60.096 | 60 |  |  |  | 30.375 | 25.1379 | 38.3684 | 3.375 | 2.7931 | 4.2632 | -74.6677 | 74.6677 | -700 | -700 | -700
30.0619 | 0.097 | -100 | 60.097 | 60 |  |  |  | 30.0619 | 24.9231 | 37.8701 | 3.3402 | 2.7692 | 4.2078 | -74.6677 | 74.6677 | -700 | -700 | -700
29.7551 | 0.098 | -100 | 60.098 | 60 |  |  |  | 29.7551 | 24.7119 | 37.3846 | 3.3061 | 2.7458 | 4.1538 | -74.6677 | 74.6677 | -700 | -700 | -700
29.4545 | 0.099 | -100 | 60.099 | 60 |  |  |  | 29.4545 | 24.5042 | 36.9114 | 3.2727 | 2.7227 | 4.1013 | -74.6677 | 74.6677 | -700 | -700 | -700
29.16 | 0.1 | -100 | 60.1 | 60 |  |  |  | 29.16 | 24.3 | 36.45 | 3.24 | 2.7 | 4.05 | -74.6677 | 74.6677 | -700 | -700 | -700
28.8713 | 0.101 | -100 | 60.101 | 60 |  |  |  | 28.8713 | 24.0992 | 36 | 3.2079 | 2.6777 | 4 | -74.6677 | 74.6677 | -700 | -700 | -700
28.5882 | 0.102 | -100 | 60.102 | 60 |  |  |  | 28.5882 | 23.9016 | 35.561 | 3.1765 | 2.6557 | 3.9512 | -74.6677 | 74.6677 | -700 | -700 | -700
28.3107 | 0.103 | -100 | 60.103 | 60 |  |  |  | 28.3107 | 23.7073 | 35.1325 | 3.1456 | 2.6341 | 3.9036 | -74.6677 | 74.6677 | -700 | -700 | -700
28.0385 | 0.104 | -100 | 60.104 | 60 |  |  |  | 28.0385 | 23.5161 | 34.7143 | 3.1154 | 2.6129 | 3.8571 | -74.6677 | 74.6677 | -700 | -700 | -700
27.7714 | 0.105 | -100 | 60.105 | 60 |  |  |  | 27.7714 | 23.328 | 34.3059 | 3.0857 | 2.592 | 3.8118 | -74.6677 | 74.6677 | -700 | -700 | -700
27.5094 | 0.106 | -100 | 60.106 | 60 |  |  |  | 27.5094 | 23.1429 | 33.907 | 3.0566 | 2.5714 | 3.7674 | -74.6677 | 74.6677 | -700 | -700 | -700
27.2523 | 0.107 | -100 | 60.107 | 60 |  |  |  | 27.2523 | 22.9606 | 33.5172 | 3.028 | 2.5512 | 3.7241 | -74.6677 | 74.6677 | -700 | -700 | -700
27 | 0.108 | -100 | 60.108 | 60 |  |  |  | 27 | 22.7812 | 33.1364 | 3 | 2.5312 | 3.6818 | -74.6677 | 74.6677 | -700 | -700 | -700
26.7523 | 0.109 | -100 | 60.109 | 60 |  |  |  | 26.7523 | 22.6047 | 32.764 | 2.9725 | 2.5116 | 3.6404 | -74.6677 | 74.6677 | -700 | -700 | -700
26.5091 | 0.11 | -100 | 60.11 | 60 |  |  |  | 26.5091 | 22.4308 | 32.4 | 2.9455 | 2.4923 | 3.6 | -74.6677 | 74.6677 | -700 | -700 | -700
26.2703 | 0.111 | -100 | 60.111 | 60 |  |  |  | 26.2703 | 22.2595 | 32.044 | 2.9189 | 2.4733 | 3.5604 | -74.6677 | 74.6677 | -700 | -700 | -700
26.0357 | 0.112 | -100 | 60.112 | 60 |  |  |  | 26.0357 | 22.0909 | 31.6957 | 2.8929 | 2.4545 | 3.5217 | -74.6677 | 74.6677 | -700 | -700 | -700
25.8053 | 0.113 | -100 | 60.113 | 60 |  |  |  | 25.8053 | 21.9248 | 31.3548 | 2.8673 | 2.4361 | 3.4839 | -74.6677 | 74.6677 | -700 | -700 | -700
25.5789 | 0.114 | -100 | 60.114 | 60 |  |  |  | 25.5789 | 21.7612 | 31.0213 | 2.8421 | 2.4179 | 3.4468 | -74.6677 | 74.6677 | -700 | -700 | -700
25.3565 | 0.115 | -100 | 60.115 | 60 |  |  |  | 25.3565 | 21.6 | 30.6947 | 2.8174 | 2.4 | 3.4105 | -74.6677 | 74.6677 | -700 | -700 | -700
25.1379 | 0.116 | -100 | 60.116 | 60 |  |  |  | 25.1379 | 21.4412 | 30.375 | 2.7931 | 2.3824 | 3.375 | -74.6677 | 74.6677 | -700 | -700 | -700
24.9231 | 0.117 | -100 | 60.117 | 60 |  |  |  | 24.9231 | 21.2847 | 30.0619 | 2.7692 | 2.365 | 3.3402 | -74.6677 | 74.6677 | -700 | -700 | -700
24.7119 | 0.118 | -100 | 60.118 | 60 |  |  |  | 24.7119 | 21.1304 | 29.7551 | 2.7458 | 2.3478 | 3.3061 | -74.6677 | 74.6677 | -700 | -700 | -700
24.5042 | 0.119 | -100 | 60.119 | 60 |  |  |  | 24.5042 | 20.9784 | 29.4545 | 2.7227 | 2.3309 | 3.2727 | -74.6677 | 74.6677 | -700 | -700 | -700
24.3 | 0.12 | -100 | 60.12 | 60 |  |  |  | 24.3 | 20.8286 | 29.16 | 2.7 | 2.3143 | 3.24 | -74.6677 | 74.6677 | -700 | -700 | -700
24.0992 | 0.121 | -100 | 60.121 | 60 |  |  |  | 24.0992 | 20.6809 | 28.8713 | 2.6777 | 2.2979 | 3.2079 | -74.6677 | 74.6677 | -700 | -700 | -700
23.9016 | 0.122 | -100 | 60.122 | 60 |  |  |  | 23.9016 | 20.5352 | 28.5882 | 2.6557 | 2.2817 | 3.1765 | -74.6677 | 74.6677 | -700 | -700 | -700
23.7073 | 0.123 | -100 | 60.123 | 60 |  |  |  | 23.7073 | 20.3916 | 28.3107 | 2.6341 | 2.2657 | 3.1456 | -74.6677 | 74.6677 | -700 | -700 | -700
23.5161 | 0.124 | -100 | 60.124 | 60 |  |  |  | 23.5161 | 20.25 | 28.0385 | 2.6129 | 2.25 | 3.1154 | -74.6677 | 74.6677 | -700 | -700 | -700
23.328 | 0.125 | -100 | 60.125 | 60 |  |  |  | 23.328 | 20.1103 | 27.7714 | 2.592 | 2.2345 | 3.0857 | -74.6677 | 74.6677 | -700 | -700 | -700
23.1429 | 0.126 | -100 | 60.126 | 60 |  |  |  | 23.1429 | 19.9726 | 27.5094 | 2.5714 | 2.2192 | 3.0566 | -74.6677 | 74.6677 | -700 | -700 | -700
22.9606 | 0.127 | -100 | 60.127 | 60 |  |  |  | 22.9606 | 19.8367 | 27.2523 | 2.5512 | 2.2041 | 3.028 | -74.6677 | 74.6677 | -700 | -700 | -700
22.7812 | 0.128 | -100 | 60.128 | 60 |  |  |  | 22.7812 | 19.7027 | 27 | 2.5312 | 2.1892 | 3 | -74.6677 | 74.6677 | -700 | -700 | -700
22.6047 | 0.129 | -100 | 60.129 | 60 |  |  |  | 22.6047 | 19.5705 | 26.7523 | 2.5116 | 2.1745 | 2.9725 | -74.6677 | 74.6677 | -700 | -700 | -700
22.4308 | 0.13 | -100 | 60.13 | 60 |  |  |  | 22.4308 | 19.44 | 26.5091 | 2.4923 | 2.16 | 2.9455 | -74.6677 | 74.6677 | -700 | -700 | -700
22.2595 | 0.131 | -100 | 60.131 | 60 |  |  |  | 22.2595 | 19.3113 | 26.2703 | 2.4733 | 2.1457 | 2.9189 | -74.6677 | 74.6677 | -700 | -700 | -700
22.0909 | 0.132 | -100 | 60.132 | 60 |  |  |  | 22.0909 | 19.1842 | 26.0357 | 2.4545 | 2.1316 | 2.8929 | -74.6677 | 74.6677 | -700 | -700 | -700
21.9248 | 0.133 | -100 | 60.133 | 60 |  |  |  | 21.9248 | 19.0588 | 25.8053 | 2.4361 | 2.1176 | 2.8673 | -74.6677 | 74.6677 | -700 | -700 | -700
21.7612 | 0.134 | -100 | 60.134 | 60 |  |  |  | 21.7612 | 18.9351 | 25.5789 | 2.4179 | 2.1039 | 2.8421 | -74.6677 | 74.6677 | -700 | -700 | -700
21.6 | 0.135 | -100 | 60.135 | 60 |  |  |  | 21.6 | 18.8129 | 25.3565 | 2.4 | 2.0903 | 2.8174 | -74.6677 | 74.6677 | -700 | -700 | -700
21.4412 | 0.136 | -100 | 60.136 | 60 |  |  |  | 21.4412 | 18.6923 | 25.1379 | 2.3824 | 2.0769 | 2.7931 | -74.6677 | 74.6677 | -700 | -700 | -700
21.2847 | 0.137 | -100 | 60.137 | 60 |  |  |  | 21.2847 | 18.5732 | 24.9231 | 2.365 | 2.0637 | 2.7692 | -74.6677 | 74.6677 | -700 | -700 | -700
21.1304 | 0.138 | -100 | 60.138 | 60 |  |  |  | 21.1304 | 18.4557 | 24.7119 | 2.3478 | 2.0506 | 2.7458 | -74.6677 | 74.6677 | -700 | -700 | -700
20.9784 | 0.139 | -100 | 60.139 | 60 |  |  |  | 20.9784 | 18.3396 | 24.5042 | 2.3309 | 2.0377 | 2.7227 | -74.6677 | 74.6677 | -700 | -700 | -700
20.8286 | 0.14 | -100 | 60.14 | 60 |  |  |  | 20.8286 | 18.225 | 24.3 | 2.3143 | 2.025 | 2.7 | -74.6677 | 74.6677 | -700 | -700 | -700
20.6809 | 0.141 | -100 | 60.141 | 60 |  |  |  | 20.6809 | 18.1118 | 24.0992 | 2.2979 | 2.0124 | 2.6777 | -74.6677 | 74.6677 | -700 | -700 | -700
20.5352 | 0.142 | -100 | 60.142 | 60 |  |  |  | 20.5352 | 18 | 23.9016 | 2.2817 | 2 | 2.6557 | -74.6677 | 74.6677 | -700 | -700 | -700
20.3916 | 0.143 | -100 | 60.143 | 60 |  |  |  | 20.3916 | 17.8896 | 23.7073 | 2.2657 | 1.9877 | 2.6341 | -74.6677 | 74.6677 | -700 | -700 | -700
20.25 | 0.144 | -100 | 60.144 | 60 |  |  |  | 20.25 | 17.7805 | 23.5161 | 2.25 | 1.9756 | 2.6129 | -74.6677 | 74.6677 | -700 | -700 | -700
20.1103 | 0.145 | -100 | 60.145 | 60 |  |  |  | 20.1103 | 17.6727 | 23.328 | 2.2345 | 1.9636 | 2.592 | -74.6677 | 74.6677 | -700 | -700 | -700
19.9726 | 0.146 | -100 | 60.146 | 60 |  |  |  | 19.9726 | 17.5663 | 23.1429 | 2.2192 | 1.9518 | 2.5714 | -74.6677 | 74.6677 | -700 | -700 | -700
19.8367 | 0.147 | -100 | 60.147 | 60 |  |  |  | 19.8367 | 17.4611 | 22.9606 | 2.2041 | 1.9401 | 2.5512 | -74.6677 | 74.6677 | -700 | -700 | -700
19.7027 | 0.148 | -100 | 60.148 | 60 |  |  |  | 19.7027 | 17.3571 | 22.7812 | 2.1892 | 1.9286 | 2.5312 | -74.6677 | 74.6677 | -700 | -700 | -700
19.5705 | 0.149 | -100 | 60.149 | 60 |  |  |  | 19.5705 | 17.2544 | 22.6047 | 2.1745 | 1.9172 | 2.5116 | -74.6677 | 74.6677 | -700 | -700 | -700
19.44 | 0.15 | -100 | 60.15 | 60 |  |  |  | 19.44 | 17.1529 | 22.4308 | 2.16 | 1.9059 | 2.4923 | -74.6677 | 74.6677 | -700 | -700 | -700
19.3113 | 0.151 | -100 | 60.151 | 60 |  |  |  | 19.3113 | 17.0526 | 22.2595 | 2.1457 | 1.8947 | 2.4733 | -74.6677 | 74.6677 | -700 | -700 | -700
19.1842 | 0.152 | -100 | 60.152 | 60 |  |  |  | 19.1842 | 16.9535 | 22.0909 | 2.1316 | 1.8837 | 2.4545 | -74.6677 | 74.6677 | -700 | -700 | -700
19.0588 | 0.153 | -100 | 60.153 | 60 |  |  |  | 19.0588 | 16.8555 | 21.9248 | 2.1176 | 1.8728 | 2.4361 | -74.6677 | 74.6677 | -700 | -700 | -700
18.9351 | 0.154 | -100 | 60.154 | 60 |  |  |  | 18.9351 | 16.7586 | 21.7612 | 2.1039 | 1.8621 | 2.4179 | -74.6677 | 74.6677 | -700 | -700 | -700
18.8129 | 0.155 | -100 | 60.155 | 60 |  |  |  | 18.8129 | 16.6629 | 21.6 | 2.0903 | 1.8514 | 2.4 | -74.6677 | 74.6677 | -700 | -700 | -700
18.6923 | 0.156 | -100 | 60.156 | 60 |  |  |  | 18.6923 | 16.5682 | 21.4412 | 2.0769 | 1.8409 | 2.3824 | -74.6677 | 74.6677 | -700 | -700 | -700
18.5732 | 0.157 | -100 | 60.157 | 60 |  |  |  | 18.5732 | 16.4746 | 21.2847 | 2.0637 | 1.8305 | 2.365 | -74.6677 | 74.6677 | -700 | -700 | -700
18.4557 | 0.158 | -100 | 60.158 | 60 |  |  |  | 18.4557 | 16.382 | 21.1304 | 2.0506 | 1.8202 | 2.3478 | -74.6677 | 74.6677 | -700 | -700 | -700
18.3396 | 0.159 | -100 | 60.159 | 60 |  |  |  | 18.3396 | 16.2905 | 20.9784 | 2.0377 | 1.8101 | 2.3309 | -74.6677 | 74.6677 | -700 | -700 | -700
18.225 | 0.16 | -100 | 60.16 | 60 |  |  |  | 18.225 | 16.2 | 20.8286 | 2.025 | 1.8 | 2.3143 | -74.6677 | 74.6677 | -700 | -700 | -700
18.1118 | 0.161 | -100 | 60.161 | 60 |  |  |  | 18.1118 | 16.1105 | 20.6809 | 2.0124 | 1.7901 | 2.2979 | -74.6677 | 74.6677 | -700 | -700 | -700
18 | 0.162 | -100 | 60.162 | 60 |  |  |  | 18 | 16.022 | 20.5352 | 2 | 1.7802 | 2.2817 | -74.6677 | 74.6677 | -700 | -700 | -700
17.8896 | 0.163 | -100 | 60.163 | 60 |  |  |  | 17.8896 | 15.9344 | 20.3916 | 1.9877 | 1.7705 | 2.2657 | -74.6677 | 74.6677 | -700 | -700 | -700
17.7805 | 0.164 | -100 | 60.164 | 60 |  |  |  | 17.7805 | 15.8478 | 20.25 | 1.9756 | 1.7609 | 2.25 | -74.6677 | 74.6677 | -700 | -700 | -700
17.6727 | 0.165 | -100 | 60.165 | 60 |  |  |  | 17.6727 | 15.7622 | 20.1103 | 1.9636 | 1.7514 | 2.2345 | -74.6677 | 74.6677 | -700 | -700 | -700
17.5663 | 0.166 | -100 | 60.166 | 60 |  |  |  | 17.5663 | 15.6774 | 19.9726 | 1.9518 | 1.7419 | 2.2192 | -74.6677 | 74.6677 | -700 | -700 | -700
17.4611 | 0.167 | -100 | 60.167 | 60 |  |  |  | 17.4611 | 15.5936 | 19.8367 | 1.9401 | 1.7326 | 2.2041 | -74.6677 | 74.6677 | -700 | -700 | -700
17.3571 | 0.168 | -100 | 60.168 | 60 |  |  |  | 17.3571 | 15.5106 | 19.7027 | 1.9286 | 1.7234 | 2.1892 | -74.6677 | 74.6677 | -700 | -700 | -700
17.2544 | 0.169 | -100 | 60.169 | 60 |  |  |  | 17.2544 | 15.4286 | 19.5705 | 1.9172 | 1.7143 | 2.1745 | -74.6677 | 74.6677 | -700 | -700 | -700
17.1529 | 0.17 | -100 | 60.17 | 60 |  |  |  | 17.1529 | 15.3474 | 19.44 | 1.9059 | 1.7053 | 2.16 | -74.6677 | 74.6677 | -700 | -700 | -700
17.0526 | 0.171 | -100 | 60.171 | 60 |  |  |  | 17.0526 | 15.267 | 19.3113 | 1.8947 | 1.6963 | 2.1457 | -74.6677 | 74.6677 | -700 | -700 | -700
16.9535 | 0.172 | -100 | 60.172 | 60 |  |  |  | 16.9535 | 15.1875 | 19.1842 | 1.8837 | 1.6875 | 2.1316 | -74.6677 | 74.6677 | -700 | -700 | -700
16.8555 | 0.173 | -100 | 60.173 | 60 |  |  |  | 16.8555 | 15.1088 | 19.0588 | 1.8728 | 1.6788 | 2.1176 | -74.6677 | 74.6677 | -700 | -700 | -700
16.7586 | 0.174 | -100 | 60.174 | 60 |  |  |  | 16.7586 | 15.0309 | 18.9351 | 1.8621 | 1.6701 | 2.1039 | -74.6677 | 74.6677 | -700 | -700 | -700
16.6629 | 0.175 | -100 | 60.175 | 60 |  |  |  | 16.6629 | 14.9538 | 18.8129 | 1.8514 | 1.6615 | 2.0903 | -74.6677 | 74.6677 | -700 | -700 | -700
16.5682 | 0.176 | -100 | 60.176 | 60 |  |  |  | 16.5682 | 14.8776 | 18.6923 | 1.8409 | 1.6531 | 2.0769 | -74.6677 | 74.6677 | -700 | -700 | -700
16.4746 | 0.177 | -100 | 60.177 | 60 |  |  |  | 16.4746 | 14.802 | 18.5732 | 1.8305 | 1.6447 | 2.0637 | -74.6677 | 74.6677 | -700 | -700 | -700
16.382 | 0.178 | -100 | 60.178 | 60 |  |  |  | 16.382 | 14.7273 | 18.4557 | 1.8202 | 1.6364 | 2.0506 | -74.6677 | 74.6677 | -700 | -700 | -700
16.2905 | 0.179 | -100 | 60.179 | 60 |  |  |  | 16.2905 | 14.6533 | 18.3396 | 1.8101 | 1.6281 | 2.0377 | -74.6677 | 74.6677 | -700 | -700 | -700
16.2 | 0.18 | -100 | 60.18 | 60 |  |  |  | 16.2 | 14.58 | 18.225 | 1.8 | 1.62 | 2.025 | -74.6677 | 74.6677 | -700 | -700 | -700
16.1105 | 0.181 | -100 | 60.181 | 60 |  |  |  | 16.1105 | 14.5075 | 18.1118 | 1.7901 | 1.6119 | 2.0124 | -74.6677 | 74.6677 | -700 | -700 | -700
16.022 | 0.182 | -100 | 60.182 | 60 |  |  |  | 16.022 | 14.4356 | 18 | 1.7802 | 1.604 | 2 | -74.6677 | 74.6677 | -700 | -700 | -700
15.9344 | 0.183 | -100 | 60.183 | 60 |  |  |  | 15.9344 | 14.3645 | 17.8896 | 1.7705 | 1.5961 | 1.9877 | -74.6677 | 74.6677 | -700 | -700 | -700
15.8478 | 0.184 | -100 | 60.184 | 60 |  |  |  | 15.8478 | 14.2941 | 17.7805 | 1.7609 | 1.5882 | 1.9756 | -74.6677 | 74.6677 | -700 | -700 | -700
15.7622 | 0.185 | -100 | 60.185 | 60 |  |  |  | 15.7622 | 14.2244 | 17.6727 | 1.7514 | 1.5805 | 1.9636 | -74.6677 | 74.6677 | -700 | -700 | -700
15.6774 | 0.186 | -100 | 60.186 | 60 |  |  |  | 15.6774 | 14.1553 | 17.5663 | 1.7419 | 1.5728 | 1.9518 | -74.6677 | 74.6677 | -700 | -700 | -700
15.5936 | 0.187 | -100 | 60.187 | 60 |  |  |  | 15.5936 | 14.087 | 17.4611 | 1.7326 | 1.5652 | 1.9401 | -74.6677 | 74.6677 | -700 | -700 | -700
15.5106 | 0.188 | -100 | 60.188 | 60 |  |  |  | 15.5106 | 14.0192 | 17.3571 | 1.7234 | 1.5577 | 1.9286 | -74.6677 | 74.6677 | -700 | -700 | -700
15.4286 | 0.189 | -100 | 60.189 | 60 |  |  |  | 15.4286 | 13.9522 | 17.2544 | 1.7143 | 1.5502 | 1.9172 | -74.6677 | 74.6677 | -700 | -700 | -700
15.3474 | 0.19 | -100 | 60.19 | 60 |  |  |  | 15.3474 | 13.8857 | 17.1529 | 1.7053 | 1.5429 | 1.9059 | -74.6677 | 74.6677 | -700 | -700 | -700
15.267 | 0.191 | -100 | 60.191 | 60 |  |  |  | 15.267 | 13.8199 | 17.0526 | 1.6963 | 1.5355 | 1.8947 | -74.6677 | 74.6677 | -700 | -700 | -700
15.1875 | 0.192 | -100 | 60.192 | 60 |  |  |  | 15.1875 | 13.7547 | 16.9535 | 1.6875 | 1.5283 | 1.8837 | -74.6677 | 74.6677 | -700 | -700 | -700
15.1088 | 0.193 | -100 | 60.193 | 60 |  |  |  | 15.1088 | 13.6901 | 16.8555 | 1.6788 | 1.5211 | 1.8728 | -74.6677 | 74.6677 | -700 | -700 | -700
15.0309 | 0.194 | -100 | 60.194 | 60 |  |  |  | 15.0309 | 13.6262 | 16.7586 | 1.6701 | 1.514 | 1.8621 | -74.6677 | 74.6677 | -700 | -700 | -700
14.9538 | 0.195 | -100 | 60.195 | 60 |  |  |  | 14.9538 | 13.5628 | 16.6629 | 1.6615 | 1.507 | 1.8514 | -74.6677 | 74.6677 | -700 | -700 | -700
14.8776 | 0.196 | -100 | 60.196 | 60 |  |  |  | 14.8776 | 13.5 | 16.5682 | 1.6531 | 1.5 | 1.8409 | -74.6677 | 74.6677 | -700 | -700 | -700
14.802 | 0.197 | -100 | 60.197 | 60 |  |  |  | 14.802 | 13.4378 | 16.4746 | 1.6447 | 1.4931 | 1.8305 | -74.6677 | 74.6677 | -700 | -700 | -700
14.7273 | 0.198 | -100 | 60.198 | 60 |  |  |  | 14.7273 | 13.3761 | 16.382 | 1.6364 | 1.4862 | 1.8202 | -74.6677 | 74.6677 | -700 | -700 | -700
14.6533 | 0.199 | -100 | 60.199 | 60 |  |  |  | 14.6533 | 13.3151 | 16.2905 | 1.6281 | 1.4795 | 1.8101 | -74.6677 | 74.6677 | -700 | -700 | -700
14.58 | 0.2 | -100 | 60.2 | 60 |  |  |  | 14.58 | 13.2545 | 16.2 | 1.62 | 1.4727 | 1.8 | -74.6677 | 74.6677 | -700 | -700 | -700