## Sheet1
Project 2007-18 Reliability-Based Control Proof-of-Concept Field Trial
Monthly Review of ACE Exceeding the Balancing Authority ACE Limit
On a monthly basis, each Balancing Authority will review its performance for the prior month and identify any periods where the ACE exceeded the low BAAL (“BAALLow”) or the high BAAL (“BAALHigh”) for more than ten consecutive clock-minutes. To help the RBCSDT gain a better understanding of the circumstances that all Balancing Authorities may be faced while operating under BAL-007, each Balancing Authority will provide a brief explanation of the circumstances related to any periods where the duration of consecutive clock-minutes exceeded twenty minutes. In the event that no period exceeded twenty minutes in the prior month, but the longest duration exceeded ten minutes, the Balancing Authority will provide a brief explanation of the circumstances related to that longest-duration event.
Balancing Authority | Clock-minute of ACE exceeding the BAAL (mm/dd/yy hh:mm) | Clock-minute of ACE returning within the BAAL (mm/dd/yy hh:mm) | TimeZone | Total duration of ACE exceeding the BAAL (minutes) | Event associated with a DCS-Reportable Event? (0=No, 1=Yes) | Event associated with a resource loss other than a DCS-Reportable Event? (0=No, 1=Yes) | Brief explanation of circumstances and notable actions taken if applicable
BA-01 | 2009-06-01 23:55 | 2009-06-02 00:14 | EDT | 0:19 | 1 | 0 | Manual actions taken specifically to correct for the BAAL exceedance should be noted, such as instructions to curtail purchases/sales or start CTs.